## Suite Line Capacity
Report generated for: | Room ABN on Floor Ground Floor in Site ABERDEEN
| Quantity | % of all area | Area
Total free sections: | 3/78 | 18 % | 3.452 m²
Total occupied sections: | 75/78 | 82 % | 15.859 m²
Total reserved sections: | 0/78 | 0 % | 0.000 m²
Total Lines Capability |  |  | 19.311 m²
Total Location Capability |  |  | 83.666 m²
Total Location Free Area |  |  | 67.088 m²
Total Location Occupied Area |  |  | 16.579 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Free | 1 | 18 % | 0.384 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A9, Floor Position = A09 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A7, Floor Position = A07 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A8, Floor Position = A08 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A1, Floor Position = A01 | 18 | 42 | 18 | 16 | 42 | 16
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A4, Floor Position = A04 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A2, Floor Position = A02 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A3, Floor Position = A03 | 5 | 47 | 5 | 2 | 47 | 2
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A6, Floor Position = A06 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Occupied | 10 | 82 % | 1.725 m² | Rack A5, Floor Position = A05 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | A | 11 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Free | 2 | 23 % | 0.393 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B7, Floor Position = B7 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B1, Floor Position = B1 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B03, Floor Position = B3 | 24 | 44 | 24 | 22 | 44 | 22
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B2, Floor Position = B2 | 24 | 44 | 24 | 19 | 44 | 19
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B5, Floor Position = B5 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Occupied | 7 | 77 % | 1.326 m² | Rack B6, Floor Position = B6 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Free | 0 | 20 % | 0.399 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | Rack C1, Floor Position = C1 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | ODF C4, Floor Position = C4 | 18 | 46 | 18 | 13 | 46 | 13
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | Rack C02, Floor Position = C2 | 34 | 47 | 34 | 32 | 47 | 32
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | ODF C03A, Floor Position = C3a | 44 | 46 | 44 | 23 | 46 | 23
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Occupied | 8 | 80 % | 1.584 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Free | 0 | 3 % | 0.083 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D4, Floor Position = D04 | 12 | 44 | 12 | 4 | 44 | 4
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | ODF CODF D05, Floor Position = D05 | 38 | 47 | 38 | 14 | 47 | 14
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D2, Floor Position = D02 | 12 | 44 | 12 | 12 | 44 | 12
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D3, Floor Position = D03 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D1, Floor Position = D01 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | ODF D8, Floor Position = D08 | 7 | 47 | 7 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | ODF D9, Floor Position = D09 | 3 | 44 | 3 | 3 | 44 | 3
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D10, Floor Position = D10 | 43 | 46 | 43 | 43 | 46 | 43
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D7, Floor Position = D07 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Occupied | 11 | 97 % | 2.662 m² | Rack D6, Floor Position = D06 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | D | 11 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Free | 0 | 9 % | 0.218 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E4, Floor Position = E04 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E5, Floor Position = E05 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E5a, Floor Position = E5a | 42 | 42 | 42 | 42 | 42 | 42
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E3, Floor Position = E03 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E2, Floor Position = E02 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E3a, Floor Position = E3a | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E1, Floor Position = E01 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E8, Floor Position = E08 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E9, Floor Position = E09 | 41 | 44 | 41 | 41 | 44 | 41
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E7, Floor Position = E07 | 36 | 36 | 36 | 36 | 36 | 36
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Occupied | 12 | 91 % | 2.257 m² | Rack E6, Floor Position = E06 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | E | 12 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | F | 3 | Free | 0 | 23 % | 0.319 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | F | 3 | Occupied | 3 | 77 % | 1.074 m² | Rack F2, Floor Position = F02 | 29 | 32 | 29 | 29 | 32 | 29
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | F | 3 | Occupied | 3 | 77 % | 1.074 m² | Rack F1, Floor Position = F01 | 34 | 37 | 34 | 34 | 37 | 34
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | F | 3 | Occupied | 3 | 77 % | 1.074 m² | Rack F0, Floor Position = F0 | 47 | 47 | 47 | 47 | 47 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | F | 3 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Free | 0 | 2 % | 0.021 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Occupied | 5 | 98 % | 1.320 m² | Rack G1, Floor Position = G1 | 21 | 44 | 21 | 16 | 44 | 16
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Occupied | 5 | 98 % | 1.320 m² | Rack G2, Floor Position = G2 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Occupied | 5 | 98 % | 1.320 m² | Rack G3, Floor Position = G3 | 47 | 50 | 47 | 47 | 50 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Occupied | 5 | 98 % | 1.320 m² | Rack G4, Floor Position = G4 | 47 | 50 | 47 | 47 | 50 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Occupied | 5 | 98 % | 1.320 m² | Rack G5, Floor Position = G5 | 47 | 50 | 47 | 47 | 50 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | G | 5 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Free | 0 | 25 % | 0.341 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Occupied | 5 | 75 % | 1.000 m² | Rack H1, Floor Position = H1 | 21 | 44 | 21 | 16 | 44 | 16
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Occupied | 5 | 75 % | 1.000 m² | Rack G2, Floor Position = G2 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Occupied | 5 | 75 % | 1.000 m² | Rack G3, Floor Position = G3 | 47 | 50 | 47 | 47 | 50 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Occupied | 5 | 75 % | 1.000 m² | Rack G4, Floor Position = G4 | 47 | 50 | 47 | 47 | 50 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Occupied | 5 | 75 % | 1.000 m² | Rack G5, Floor Position = G5 | 47 | 50 | 47 | 47 | 50 | 47
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | H | 5 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | J | 4 | Free | 0 | 28 % | 0.232 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | J | 4 | Occupied | 4 | 72 % | 0.587 m² | Rack J1, Floor Position = J01 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | J | 4 | Occupied | 4 | 72 % | 0.587 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | J | 4 | Occupied | 4 | 72 % | 0.587 m² | Rack JK03, Floor Position = J03 | 15 | 46 | 14 | 4 | 46 | 3
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | J | 4 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | K | 5 | Free | 0 | 35 % | 0.498 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | K | 5 | Occupied | 5 | 65 % | 0.943 m² | Rack J1, Floor Position = J01 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | K | 5 | Occupied | 5 | 65 % | 0.943 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | K | 5 | Occupied | 5 | 65 % | 0.943 m² | Rack JK03, Floor Position = J03 | 15 | 46 | 14 | 4 | 46 | 3
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | K | 5 | Occupied | 5 | 65 % | 0.943 m² | Rack K05, Floor Position = K05 | 38 | 47 | 38 | 18 | 47 | 18
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | K | 5 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | L | 4 | Free | 0 | 25 % | 0.360 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | L | 4 | Occupied | 4 | 75 % | 1.080 m² | Rack L4, Floor Position = L04 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | L | 4 | Occupied | 4 | 75 % | 1.080 m² | Rack L01, Floor Position = L01 | 25 | 47 | 25 | 21 | 47 | 21
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | L | 4 | Occupied | 4 | 75 % | 1.080 m² | Rack L02, Floor Position = L02 | 16 | 47 | 16 | 4 | 47 | 4
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | L | 4 | Occupied | 4 | 75 % | 1.080 m² | Rack L3, Floor Position = L03 | 44 | 47 | 44 | 44 | 47 | 44
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | L | 4 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | M | 1 | Free | 0 | 41 % | 0.205 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | M | 1 | Occupied | 1 | 59 % | 0.300 m² | Rack M1, Floor Position = M01 | 5 | 47 | 5 | 5 | 47 | 5
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | M | 1 | Reserved | 0 | 0 % | 0.000 m²
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | [6 empty] | Rack ABN;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19
Room ABN on Floor Ground Floor in Site ABERDEEN | 28799.00 W | 22500.00 W | 128 % | [6 empty] | Rack DC SYS01, Floor Position = unset | 47 | 47 | 47 | 47 | 47 | 47