## Suite Line Capacity
Report generated for: | Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP
| Quantity | % of all area | Area
Total free sections: | 25/148 | 41 % | 20.215 m²
Total occupied sections: | 123/148 | 59 % | 29.255 m²
Total reserved sections: | 0/148 | 0 % | 0.000 m²
Total Lines Capability |  |  | 49.470 m²
Total Location Capability |  |  | 211.855 m²
Total Location Free Area |  |  | 182.240 m²
Total Location Occupied Area |  |  | 29.615 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Free | 2 | 54 % | 5.520 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A15, Floor Position = A15 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A16, Floor Position = A16 | 38 | 45 | 38 | 36 | 45 | 36
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A14, Floor Position = A14 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A20, Floor Position = A20 | 0 | 45 | 0 | 0 | 45 | 0
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A17, Floor Position = A17 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A18, Floor Position = A18 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A22, Floor Position = A22 | 45 | 45 | 45 | 45 | 45 | 45
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A21, Floor Position = A21 | 0 | 45 | 0 | 0 | 45 | 0
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A8, Floor Position = A8 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A6, Floor Position = A6 | 33 | 40 | 31 | 32 | 33 | 30
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A7, Floor Position = A7 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack B09, Floor Position = A9 | 7 | 45 | 7 | 5 | 45 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A10, Floor Position = A10 | 42 | 47 | 42 | 42 | 47 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack AB11, Floor Position = A11 | 27 | 45 | 27 | 20 | 45 | 20
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A11a, Floor Position = A11a | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A13, Floor Position = A13 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A12, Floor Position = A12 | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A3, Floor Position = A3 | 42 | 47 | 42 | 42 | 47 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | ODF A2, Floor Position = A2 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | ODF A1, Floor Position = A1 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack AB04, Floor Position = A4 | 16 | 26 | 7 | 10 | 10 | 4
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Occupied | 22 | 46 % | 4.650 m² | Rack A5, Floor Position = A5 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | A | 24 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Free | 0 | 11 % | 0.570 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B15, Floor Position = B15 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B14, Floor Position = B14 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A16, Floor Position = A16 | 38 | 45 | 38 | 36 | 45 | 36
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A17, Floor Position = A17 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B18, Floor Position = B18 | 42 | 47 | 42 | 42 | 47 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B19, Floor Position = B19 | 26 | 47 | 26 | 17 | 47 | 17
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | ODF B20, Floor Position = B20 | 19 | 45 | 19 | 15 | 45 | 15
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B22, Floor Position = B22 | 37 | 45 | 37 | 21 | 45 | 21
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B21, Floor Position = B21 | 0 | 45 | 0 | 0 | 45 | 0
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B22a, Floor Position = B22a | 3 | 47 | 3 | 1 | 47 | 1
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A8, Floor Position = A8 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A6, Floor Position = A6 | 33 | 40 | 31 | 32 | 33 | 30
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A7, Floor Position = A7 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B09, Floor Position = A9 | 7 | 45 | 7 | 5 | 45 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A10, Floor Position = A10 | 42 | 47 | 42 | 42 | 47 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack AB11, Floor Position = A11 | 27 | 45 | 27 | 20 | 45 | 20
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B11a, Floor Position = B11a | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B13, Floor Position = B13 | 43 | 45 | 43 | 43 | 45 | 43
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack B12, Floor Position = B12 | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A3, Floor Position = A3 | 42 | 47 | 42 | 42 | 47 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | ODF B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | ODF B1, Floor Position = B1 | 3 | 47 | 3 | 3 | 47 | 3
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack AB04, Floor Position = A4 | 16 | 26 | 7 | 10 | 10 | 4
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Occupied | 24 | 89 % | 4.515 m² | Rack A5, Floor Position = A5 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | B | 24 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Free | 1 | 11 % | 0.585 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | ODF C22, Floor Position = C22 | 11 | 47 | 11 | 11 | 47 | 11
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C20, Floor Position = C20 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | ODF C21, Floor Position = C21 | 27 | 47 | 27 | 27 | 47 | 27
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C16, Floor Position = C16 | 41 | 44 | 41 | 41 | 44 | 41
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack CD18, Floor Position = C18 | 28 | 47 | 28 | 19 | 47 | 19
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C13, Floor Position = C13 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | ODF C14, Floor Position = C14 | 43 | 46 | 43 | 22 | 46 | 22
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C11a, Floor Position = C11a | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C12, Floor Position = C12 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C10, Floor Position = C10 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C11, Floor Position = C11 | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C8, Floor Position = C8 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C9, Floor Position = C9 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Occupied | 20 | 89 % | 4.815 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | C | 21 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Free | 1 | 9 % | 0.495 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | ODF D22, Floor Position = D22 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | ODF D21, Floor Position = D21 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D20, Floor Position = D20 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack C16, Floor Position = C16 | 41 | 44 | 41 | 41 | 44 | 41
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack CD18, Floor Position = C18 | 28 | 47 | 28 | 19 | 47 | 19
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D14, Floor Position = D14 | 14 | 44 | 14 | 8 | 44 | 8
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack C13, Floor Position = C13 | 40 | 45 | 40 | 40 | 45 | 40
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D15, Floor Position = D15 | 11 | 44 | 11 | 7 | 44 | 7
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D3, Floor Position = D3 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D4, Floor Position = D4 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D5, Floor Position = D5 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D2, Floor Position = D2 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D1, Floor Position = D1 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D12, Floor Position = D12 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D11a, Floor Position = D11a | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack C11, Floor Position = C11 | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D10, Floor Position = D10 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D7, Floor Position = D7 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D8, Floor Position = D8 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D9, Floor Position = D9 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Occupied | 21 | 91 % | 4.905 m² | Rack D6, Floor Position = D6 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | D | 22 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Free | 9 | 46 % | 2.490 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | ODF CODF E18, Floor Position = E18 | 17 | 47 | 17 | 8 | 47 | 8
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E17, Floor Position = E17 | 32 | 30 | 22 | 23 | 16 | 6
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E16, Floor Position = E16 | 26 | 39 | 23 | 20 | 27 | 20
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E13, Floor Position = E13 | 37 | 45 | 37 | 17 | 45 | 17
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E12, Floor Position = E12 | 24 | 37 | 19 | 20 | 34 | 12
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E14, Floor Position = E14 | 40 | 46 | 40 | 26 | 46 | 26
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E15, Floor Position = E15 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | ODF E/F 11C, Floor Position = F11c | 32 | 47 | 32 | 22 | 47 | 22
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E11a, Floor Position = E11a | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E/F 05, Floor Position = E5 | 35 | 42 | 35 | 27 | 42 | 27
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E6, Floor Position = E6 | 41 | 44 | 41 | 41 | 44 | 41
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E4, Floor Position = E4 | 37 | 42 | 37 | 37 | 42 | 37
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E10, Floor Position = E10 | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Occupied | 14 | 54 % | 2.880 m² | Rack E7, Floor Position = E7 | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | E | 23 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Free | 3 | 55 % | 8.890 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack F18, Floor Position = F18 | 36 | 47 | 36 | 18 | 47 | 18
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E16, Floor Position = E16 | 26 | 39 | 23 | 20 | 27 | 20
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E17, Floor Position = E17 | 32 | 30 | 22 | 23 | 16 | 6
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E13, Floor Position = E13 | 37 | 45 | 37 | 17 | 45 | 17
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E12, Floor Position = E12 | 24 | 37 | 19 | 20 | 34 | 12
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E14, Floor Position = E14 | 40 | 46 | 40 | 26 | 46 | 26
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E15, Floor Position = E15 | 42 | 45 | 42 | 42 | 45 | 42
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E2, Floor Position = E2 | 45 | 47 | 45 | 45 | 47 | 45
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E3, Floor Position = E3 | 47 | 47 | 47 | 47 | 47 | 47
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E1E, Floor Position = E1e | 20 | 34 | 20 | 20 | 21 | 20
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E11a, Floor Position = E11a | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E/F 11B, Floor Position = E11b | 20 | 43 | 20 | 17 | 40 | 17
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | ODF E/F 11C, Floor Position = F11c | 32 | 47 | 32 | 22 | 47 | 22
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E4, Floor Position = E4 | 37 | 42 | 37 | 37 | 42 | 37
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E/F 05, Floor Position = E5 | 35 | 42 | 35 | 27 | 42 | 27
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack F6, Floor Position = F6 | 44 | 47 | 44 | 44 | 47 | 44
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E9, Floor Position = E9 | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E7, Floor Position = E7 | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E8, Floor Position = E8 | 44 | 47 | 44 | 44 | 47 | 44
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Occupied | 20 | 45 % | 7.220 m² | Rack E10, Floor Position = E10 | 39 | 42 | 39 | 39 | 42 | 39
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | F | 23 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | Z | 11 | Free | 9 | 86 % | 1.665 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | Z | 11 | Occupied | 2 | 14 % | 0.270 m² | Rack Z02, Floor Position = Z2 | 33 | 46 | 33 | 27 | 46 | 27
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | Z | 11 | Occupied | 2 | 14 % | 0.270 m² | Rack Z1a, Floor Position = Z1a | 5 | 47 | 5 | 5 | 47 | 5
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | Z | 11 | Reserved | 0 | 0 % | 0.000 m²
Room ABNTB1 on Floor Ground Floor in Site BRIDGE OF DON TAP | 46020.00 W | 33750.00 W | 136 % | [6 empty] | Rack ABNTB1;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17