## Suite Line Capacity
Report generated for: | Room ACTN01 on Floor Ground Floor in Site ACTON TAN
| Quantity | % of all area | Area
Total free sections: | 217/433 | 60 % | 79.353 m²
Total occupied sections: | 216/433 | 40 % | 52.308 m²
Total reserved sections: | 0/433 | 0 % | 0.000 m²
Total Lines Capability |  |  | 131.661 m²
Total Location Capability |  |  | 1597.188 m²
Total Location Free Area |  |  | 1544.160 m²
Total Location Occupied Area |  |  | 53.028 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AA | 12 | Free | 9 | 80 % | 2.843 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AA | 12 | Occupied | 3 | 20 % | 0.721 m² | Rack AA3, Floor Position = AA3 | 47 | 47 | 47 | 47 | 47 | 47
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AA | 12 | Occupied | 3 | 20 % | 0.721 m² | ODF AA12, Floor Position = AA12 | 3 | 44 | 3 | 3 | 44 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AA | 12 | Occupied | 3 | 20 % | 0.721 m² | ODF AA01, Floor Position = AA1 | 33 | 44 | 33 | 30 | 44 | 30
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AA | 12 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AB | 12 | Free | 9 | 80 % | 2.845 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AB | 12 | Occupied | 3 | 20 % | 0.719 m² | Rack AA3, Floor Position = AA3 | 47 | 47 | 47 | 47 | 47 | 47
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AB | 12 | Occupied | 3 | 20 % | 0.719 m² | ODF AB12, Floor Position = AB12 | 10 | 44 | 10 | 9 | 44 | 9
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AB | 12 | Occupied | 3 | 20 % | 0.719 m² | ODF AB1, Floor Position = AB1 | 2 | 44 | 2 | 1 | 44 | 1
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AB | 12 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Free | 0 | 8 % | 0.274 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC16, Floor Position = AC16 | 38 | 44 | 38 | 38 | 44 | 38
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC17, Floor Position = AC17 | 20 | 44 | 20 | 17 | 44 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC18, Floor Position = AC18 | 22 | 44 | 22 | 20 | 44 | 20
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC14, Floor Position = AC14 | 38 | 44 | 38 | 38 | 44 | 38
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | ODF AC15, Floor Position = AC15 | 39 | 44 | 39 | 39 | 44 | 39
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC/AD10, Floor Position = AC10 | 13 | 31 | 6 | 4 | 29 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC9, Floor Position = AC9 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC/AD11, Floor Position = AC11 | 2 | 46 | 2 | 2 | 24 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC6, Floor Position = AC6 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC5, Floor Position = AC5 | 15 | 33 | 10 | 3 | 16 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC7, Floor Position = AC7 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC19, Floor Position = AC19 | 42 | 42 | 42 | 42 | 42 | 42
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC4, Floor Position = AC4 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC1, Floor Position = AC1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC2, Floor Position = AC2 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Occupied | 16 | 92 % | 3.135 m² | Rack AC03, Floor Position = AC3 | 20 | 44 | 20 | 17 | 44 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AC | 16 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Free | 1 | 41 % | 2.328 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | ODF AD16, Floor Position = AD16 | 44 | 46 | 44 | 24 | 46 | 24
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | ODF AD15, Floor Position = AD15 | 44 | 46 | 44 | 24 | 46 | 24
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | ODF AD14, Floor Position = AD14 | 42 | 46 | 42 | 22 | 46 | 22
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AD17, Floor Position = AD17 | 6 | 44 | 6 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AD18, Floor Position = AD18 | 39 | 44 | 39 | 39 | 44 | 39
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC6, Floor Position = AC6 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC7, Floor Position = AC7 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC5, Floor Position = AC5 | 15 | 33 | 10 | 3 | 16 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC/AD10, Floor Position = AC10 | 13 | 31 | 6 | 4 | 29 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC/AD11, Floor Position = AC11 | 2 | 46 | 2 | 2 | 24 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC9, Floor Position = AC9 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AD19, Floor Position = AD19 | 42 | 42 | 42 | 42 | 42 | 42
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AD03, Floor Position = AD03 | 37 | 44 | 37 | 26 | 44 | 26
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC2, Floor Position = AC2 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Occupied | 15 | 59 % | 3.355 m² | Rack AC1, Floor Position = AC1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AD | 16 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Free | 6 | 37 % | 1.260 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | ODF CODF AE15, Floor Position = AE15 | 33 | 47 | 33 | 14 | 47 | 14
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | ODF CODF AE17, Floor Position = AE17 | 7 | 47 | 7 | 4 | 47 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE18, Floor Position = AE18 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE6, Floor Position = AE6 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE5, Floor Position = AE5 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE7, Floor Position = AE7 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE19, Floor Position = AE19 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE1, Floor Position = AE1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE2, Floor Position = AE2 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE3, Floor Position = AE3 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Occupied | 11 | 63 % | 2.160 m² | Rack AE4, Floor Position = AE4 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AE | 17 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Free | 2 | 33 % | 1.500 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF15, Floor Position = AF15 | 16 | 47 | 16 | 4 | 47 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF12, Floor Position = AF12 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF13, Floor Position = AF13 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF17, Floor Position = AF17 | 9 | 47 | 9 | 4 | 47 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF18, Floor Position = AF18 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF06, Floor Position = AF6 | 12 | 47 | 12 | 3 | 47 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF5, Floor Position = AF5 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF7, Floor Position = AF7 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF09, Floor Position = AF9 | 17 | 47 | 17 | 11 | 47 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF19, Floor Position = AF19 | 42 | 47 | 42 | 42 | 47 | 42
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AE1, Floor Position = AE1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF2, Floor Position = AF2 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF3, Floor Position = AF3 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Occupied | 14 | 67 % | 3.060 m² | Rack AF4, Floor Position = AF4 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AF | 16 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Free | 1 | 15 % | 0.534 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG7, Floor Position = AG7 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG9, Floor Position = AG9 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG8, Floor Position = AG8 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG10, Floor Position = AG10 | 27 | 44 | 27 | 22 | 44 | 22
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG5, Floor Position = AG5 | 39 | 44 | 39 | 39 | 44 | 39
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG4, Floor Position = AG4 | 29 | 27 | 11 | 18 | 11 | 5
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG6, Floor Position = AG6 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG16, Floor Position = AG16 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG15, Floor Position = AG15 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | ODF AG17, Floor Position = AG17 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG13, Floor Position = AG13 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG14, Floor Position = AG14 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG/AH03A, Floor Position = AG3a | 16 | 43 | 15 | 10 | 41 | 10
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG1, Floor Position = AG1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG3, Floor Position = AG3 | 34 | 44 | 34 | 29 | 44 | 29
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Occupied | 16 | 85 % | 3.129 m² | Rack AG2, Floor Position = AG2 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AG | 17 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Free | 1 | 42 % | 2.331 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH7, Floor Position = AH7 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AG9, Floor Position = AG9 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH8, Floor Position = AH8 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AG10, Floor Position = AG10 | 27 | 44 | 27 | 22 | 44 | 22
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH5, Floor Position = AH5 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AG4, Floor Position = AG4 | 29 | 27 | 11 | 18 | 11 | 5
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH6, Floor Position = AH6 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH16, Floor Position = AH16 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH15, Floor Position = AH15 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH17, Floor Position = AH17 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH12, Floor Position = AH12 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH13, Floor Position = AH13 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AH14, Floor Position = AH14 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AG/AH03A, Floor Position = AG3a | 16 | 43 | 15 | 10 | 41 | 10
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AG1, Floor Position = AG1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Occupied | 16 | 58 % | 3.219 m² | Rack AG3, Floor Position = AG3 | 34 | 44 | 34 | 29 | 44 | 29
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AH | 17 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Free | 4 | 21 % | 0.720 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ18, Floor Position = AJ18 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ11, Floor Position = AJ11 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ16, Floor Position = AJ16 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ14, Floor Position = AJ14 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | ODF AJ12, Floor Position = AJ12 | 47 | 47 | 47 | 47 | 47 | 47
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ8, Floor Position = AJ8 | 44 | 46 | 44 | 44 | 46 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | ODF AJ10, Floor Position = AJ10 | 47 | 47 | 47 | 47 | 47 | 47
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ9, Floor Position = AJ9 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ6, Floor Position = AJ6 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ07, Floor Position = AJ7 | 41 | 46 | 41 | 26 | 46 | 26
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ5, Floor Position = AJ5 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ4, Floor Position = AJ4 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ2, Floor Position = AJ2 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Occupied | 14 | 79 % | 2.760 m² | Rack AJ/AK01, Floor Position = AJ1 | 15 | 47 | 15 | 10 | 47 | 10
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AJ | 18 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Free | 0 | 36 % | 2.112 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK17, Floor Position = AK17 | 27 | 46 | 27 | 18 | 46 | 18
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK15, Floor Position = AK15 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK16, Floor Position = AK16 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK14, Floor Position = AK14 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK13, Floor Position = AK13 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK8, Floor Position = AK8 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK9, Floor Position = AK9 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK12, Floor Position = AK12 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK7, Floor Position = AK7 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK6, Floor Position = AK6 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK4, Floor Position = AK4 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK2, Floor Position = AK2 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AK3, Floor Position = AK3 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Occupied | 14 | 64 % | 3.688 m² | Rack AJ/AK01, Floor Position = AJ1 | 15 | 47 | 15 | 10 | 47 | 10
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AK | 14 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Free | 4 | 45 % | 2.040 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL19, Floor Position = AL19 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL12, Floor Position = AL12 | 17 | 46 | 17 | 7 | 46 | 7
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL8, Floor Position = AL8 | 21 | 42 | 19 | 12 | 23 | 12
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL/AM10, Floor Position = AL10 | 11 | 44 | 8 | 5 | 44 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL11, Floor Position = AL11 | 14 | 46 | 14 | 4 | 46 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL5, Floor Position = AL5 | 15 | 46 | 15 | 6 | 46 | 6
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL7, Floor Position = AL7 | 43 | 46 | 43 | 43 | 46 | 43
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL4, Floor Position = AL4 | 15 | 46 | 15 | 4 | 46 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL1, Floor Position = AL1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL02, Floor Position = AL2 | 13 | 46 | 13 | 3 | 46 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Occupied | 11 | 55 % | 2.520 m² | Rack AL3, Floor Position = AL3 | 28 | 37 | 25 | 17 | 29 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AL | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Free | 7 | 61 % | 3.460 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AL19, Floor Position = AL19 | 44 | 47 | 44 | 44 | 47 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AM12, Floor Position = AM12 | 18 | 46 | 18 | 8 | 46 | 8
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AL/AM10, Floor Position = AL10 | 11 | 44 | 8 | 5 | 44 | 4
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AM5, Floor Position = AM5 | 19 | 46 | 19 | 10 | 46 | 10
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AM11, Floor Position = AM11 | 13 | 46 | 13 | 3 | 46 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AL8, Floor Position = AL8 | 21 | 42 | 19 | 12 | 23 | 12
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AL1, Floor Position = AL1 | 2 | 44 | 2 | 2 | 44 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AL3, Floor Position = AL3 | 28 | 37 | 25 | 17 | 29 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Occupied | 9 | 39 % | 2.240 m² | Rack AM4, Floor Position = AM4 | 17 | 46 | 17 | 8 | 46 | 8
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AM | 16 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Free | 1 | 12 % | 0.427 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP16, Floor Position = AP16 | 39 | 44 | 39 | 39 | 44 | 39
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP11, Floor Position = AP11 | 34 | 47 | 34 | 34 | 47 | 34
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP12, Floor Position = AP12 | 32 | 47 | 32 | 32 | 47 | 32
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP14, Floor Position = AP14 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP13, Floor Position = AP13 | 25 | 38 | 21 | 25 | 26 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP15, Floor Position = AP15 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AN7, Floor Position = AN7 | 30 | 35 | 22 | 13 | 35 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP05, Floor Position = AN5 | 30 | 43 | 28 | 19 | 37 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AN4, Floor Position = AN4 | 17 | 44 | 17 | 11 | 44 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AN/AP09, Floor Position = AP9 | 40 | 47 | 40 | 28 | 47 | 28
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AP8, Floor Position = AP8 | 40 | 47 | 40 | 40 | 47 | 40
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AN1, Floor Position = AN1 | 47 | 47 | 47 | 47 | 47 | 47
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | ODF AN02, Floor Position = AN2 | 41 | 46 | 41 | 21 | 46 | 21
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Occupied | 14 | 88 % | 2.993 m² | Rack AN3, Floor Position = AN3 | 20 | 44 | 18 | 19 | 44 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AN | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Free | 2 | 39 % | 2.670 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP16, Floor Position = AP16 | 39 | 44 | 39 | 39 | 44 | 39
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP11, Floor Position = AP11 | 34 | 47 | 34 | 34 | 47 | 34
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP12, Floor Position = AP12 | 32 | 47 | 32 | 32 | 47 | 32
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP13, Floor Position = AP13 | 25 | 38 | 21 | 25 | 26 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP14, Floor Position = AP14 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP15, Floor Position = AP15 | 41 | 44 | 41 | 41 | 44 | 41
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AN7, Floor Position = AN7 | 30 | 35 | 22 | 13 | 35 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP05, Floor Position = AN5 | 30 | 43 | 28 | 19 | 37 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AN4, Floor Position = AN4 | 17 | 44 | 17 | 11 | 44 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AN/AP09, Floor Position = AP9 | 40 | 47 | 40 | 28 | 47 | 28
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP8, Floor Position = AP8 | 40 | 47 | 40 | 40 | 47 | 40
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AP1, Floor Position = AP1 | 47 | 47 | 47 | 47 | 47 | 47
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Occupied | 13 | 61 % | 4.170 m² | Rack AN3, Floor Position = AN3 | 20 | 44 | 18 | 19 | 44 | 17
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AP | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Free | 5 | 31 % | 0.990 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ10, Floor Position = AQ10 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ7, Floor Position = AQ7 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ9, Floor Position = AQ9 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ8, Floor Position = AQ8 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ5, Floor Position = AQ5 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ6, Floor Position = AQ6 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ11, Floor Position = AQ11 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ12, Floor Position = AQ12 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ3, Floor Position = AQ3 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ4, Floor Position = AQ4 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AQ | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Free | 5 | 31 % | 0.990 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ10, Floor Position = AQ10 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ7, Floor Position = AQ7 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ8, Floor Position = AQ8 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ9, Floor Position = AQ9 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ5, Floor Position = AQ5 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ6, Floor Position = AQ6 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ11, Floor Position = AQ11 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ12, Floor Position = AQ12 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ3, Floor Position = AQ3 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Occupied | 10 | 69 % | 2.250 m² | Rack AQ4, Floor Position = AQ4 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AR | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Free | 4 | 30 % | 1.708 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT19, Floor Position = AS19 | 4 | 32 | 2 | 4 | 32 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT11, Floor Position = AS11 | 5 | 35 | 5 | 3 | 35 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT13, Floor Position = AS13 | 4 | 35 | 3 | 3 | 23 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT15, Floor Position = AS15 | 9 | 30 | 6 | 4 | 8 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT12, Floor Position = AS12 | 8 | 35 | 8 | 3 | 35 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT17, Floor Position = AS17 | 17 | 30 | 15 | 6 | 15 | 6
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS16, Floor Position = AS16 | 8 | 35 | 5 | 2 | 23 | 1
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS2, Floor Position = AS2 | 17 | 40 | 17 | 11 | 40 | 11
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AT03, Floor Position = AS3 | 30 | 43 | 28 | 25 | 36 | 23
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS1, Floor Position = AS1 | 0 | 42 | 0 | 0 | 42 | 0
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Occupied | 11 | 70 % | 3.992 m² | Rack AS/AT04, Floor Position = AT4 | 18 | 42 | 16 | 13 | 21 | 13
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AS | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Free | 7 | 48 % | 2.720 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT19, Floor Position = AS19 | 4 | 32 | 2 | 4 | 32 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT11, Floor Position = AS11 | 5 | 35 | 5 | 3 | 35 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT13, Floor Position = AS13 | 4 | 35 | 3 | 3 | 23 | 2
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT15, Floor Position = AS15 | 9 | 30 | 6 | 4 | 8 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT12, Floor Position = AS12 | 8 | 35 | 8 | 3 | 35 | 3
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT17, Floor Position = AS17 | 17 | 30 | 15 | 6 | 15 | 6
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS16, Floor Position = AS16 | 8 | 35 | 5 | 2 | 23 | 1
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Occupied | 8 | 52 % | 2.980 m² | Rack AS/AT04, Floor Position = AT4 | 18 | 42 | 16 | 13 | 21 | 13
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AT | 15 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AU | 14 | Free | 14 | 100 % | 6.600 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AU | 14 | Occupied | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AU | 14 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AV | 14 | Free | 14 | 100 % | 6.600 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AV | 14 | Occupied | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AV | 14 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AW | 14 | Free | 13 | 95 % | 6.240 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AW | 14 | Occupied | 1 | 5 % | 0.360 m² | Rack AW1, Floor Position = AW01 | 0 | 47 | 0 | 0 | 47 | 0
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AW | 14 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AX | 14 | Free | 14 | 100 % | 6.600 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AX | 14 | Occupied | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | AX | 14 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BA | 12 | Free | 11 | 92 % | 3.267 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BA | 12 | Occupied | 1 | 8 % | 0.297 m² | Rack BA12, Floor Position = BA12 | 44 | 44 | 44 | 44 | 44 | 44
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BA | 12 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BB | 12 | Free | 11 | 92 % | 3.294 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BB | 12 | Occupied | 1 | 8 % | 0.270 m² | ODF BB12, Floor Position = BB12 | 21 | 44 | 21 | 21 | 44 | 21
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BB | 12 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BC | 1 | Free | 0 | 20 % | 0.240 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BC | 1 | Occupied | 1 | 80 % | 0.960 m² | Rack BC1, Floor Position = BC1 | 28 | 30 | 28 | 28 | 30 | 28
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | BC | 1 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | CA | 19 | Free | 18 | 93 % | 3.690 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | CA | 19 | Occupied | 1 | 7 % | 0.270 m² | ODF CA19, Floor Position = CA19 | 35 | 44 | 35 | 31 | 44 | 31
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | CA | 19 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | CB | 19 | Free | 18 | 93 % | 3.690 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | CB | 19 | Occupied | 1 | 7 % | 0.270 m² | ODF CB19, Floor Position = CB19 | 29 | 44 | 29 | 25 | 44 | 25
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | CB | 19 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | DA | 19 | Free | 18 | 93 % | 3.690 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | DA | 19 | Occupied | 1 | 7 % | 0.270 m² | ODF DA19, Floor Position = DA19 | 2 | 44 | 2 | 1 | 44 | 1
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | DA | 19 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | DB | 19 | Free | 18 | 93 % | 3.690 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | DB | 19 | Occupied | 1 | 7 % | 0.270 m² | ODF DB19, Floor Position = DB19 | 28 | 44 | 28 | 24 | 44 | 24
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | DB | 19 | Reserved | 0 | 0 % | 0.000 m²
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | [6 empty] | Rack ACTN01;DC SYS01a, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15
Room ACTN01 on Floor Ground Floor in Site ACTON TAN | 183025.00 W | 560250.00 W | 33 % | [6 empty] | Rack ACTN01;DC SYS01b, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15