## Suite Line Capacity
Report generated for: | Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM
| Quantity | % of all area | Area
Total free sections: | 4/20 | 36 % | 1.890 m²
Total occupied sections: | 16/20 | 64 % | 3.405 m²
Total reserved sections: | 0/20 | 0 % | 0.000 m²
Total Lines Capability |  |  | 5.294 m²
Total Location Capability |  |  | 18.000 m²
Total Location Free Area |  |  | 14.595 m²
Total Location Occupied Area |  |  | 3.405 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Free | 1 | 21 % | 0.270 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Occupied | 6 | 79 % | 1.035 m² | Rack A1, Floor Position = A01 | 6 | 47 | 6 | 2 | 47 | 2
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Occupied | 6 | 79 % | 1.035 m² | Rack A2, Floor Position = A02 | 47 | 47 | 47 | 47 | 47 | 47
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Occupied | 6 | 79 % | 1.035 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Occupied | 6 | 79 % | 1.035 m² | ODF A06, Floor Position = A06 | 8 | 47 | 8 | 7 | 47 | 7
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Occupied | 6 | 79 % | 1.035 m² | Rack A3, Floor Position = A03 | 37 | 47 | 37 | 37 | 47 | 37
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Occupied | 6 | 79 % | 1.035 m² | Rack A4, Floor Position = A04 | 47 | 47 | 47 | 47 | 47 | 47
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | B | 3 | Free | 0 | 0 % | 0.000 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | B | 3 | Occupied | 3 | 100 % | 0.600 m² | Rack B3, Floor Position = B3 | 24 | 47 | 24 | 12 | 47 | 12
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | B | 3 | Occupied | 3 | 100 % | 0.600 m² | Rack B4, Floor Position = B4 | 38 | 47 | 38 | 37 | 47 | 37
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | B | 3 | Occupied | 3 | 100 % | 0.600 m² | Rack B5, Floor Position = B5 | 40 | 42 | 40 | 40 | 42 | 40
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | B | 3 | Reserved | 0 | 0 % | 0.000 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | C | 3 | Free | 0 | 0 % | 0.000 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | C | 3 | Occupied | 3 | 100 % | 0.600 m² | Rack B3, Floor Position = B3 | 24 | 47 | 24 | 12 | 47 | 12
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | C | 3 | Occupied | 3 | 100 % | 0.600 m² | Rack B4, Floor Position = B4 | 38 | 47 | 38 | 37 | 47 | 37
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | C | 3 | Occupied | 3 | 100 % | 0.600 m² | Rack B5, Floor Position = B5 | 40 | 42 | 40 | 40 | 42 | 40
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | C | 3 | Reserved | 0 | 0 % | 0.000 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | D | 7 | Free | 3 | 58 % | 1.620 m²
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | D | 7 | Occupied | 4 | 42 % | 1.170 m² | Rack D5, Floor Position = D5 | 21 | 47 | 21 | 8 | 47 | 8
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | D | 7 | Occupied | 4 | 42 % | 1.170 m² | Rack D6, Floor Position = D6 | 47 | 47 | 47 | 47 | 47 | 47
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | D | 7 | Occupied | 4 | 42 % | 1.170 m² | Rack ANSTW1; DC SYS01, Floor Position = Temp Mig | 21 | 46 | 21 | 20 | 25 | 20
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | D | 7 | Occupied | 4 | 42 % | 1.170 m² | Rack D1, Floor Position = D1 | 32 | 32 | 32 | 32 | 32 | 32
Room ANSTW1 on Floor Ground Floor in Site ALNESS EAM | 5773.20 W | 5025.00 W | 115 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²