## Suite Line Capacity
Report generated for: | Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC
| Quantity | % of all area | Area
Total free sections: | 3/63 | 20 % | 2.990 m²
Total occupied sections: | 60/63 | 80 % | 12.054 m²
Total reserved sections: | 0/63 | 0 % | 0.000 m²
Total Lines Capability |  |  | 15.044 m²
Total Location Capability |  |  | 88.129 m²
Total Location Free Area |  |  | 76.075 m²
Total Location Occupied Area |  |  | 12.054 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | Q | 1 | Free | 0 | 22 % | 0.104 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | Q | 1 | Occupied | 1 | 78 % | 0.360 m² | Rack Q1, Floor Position = Q1 | 5 | 47 | 5 | 5 | 47 | 5
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | Q | 1 | Reserved | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Free | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R2, Floor Position = R2 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | ODF R1, Floor Position = R1 | 10 | 47 | 10 | 7 | 47 | 7
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R3, Floor Position = R3 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R4, Floor Position = R4 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R5, Floor Position = R5 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R6, Floor Position = R6 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R7, Floor Position = R7 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R10, Floor Position = R10 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R8, Floor Position = R8 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R9, Floor Position = R9 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack R12, Floor Position = R12 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Occupied | 12 | 100 % | 2.340 m² | Rack RS11, Floor Position = R11 | 26 | 42 | 24 | 10 | 25 | 10
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | R | 12 | Reserved | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Free | 0 | 45 % | 2.106 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S2, Floor Position = S2 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | ODF S1, Floor Position = S1 | 23 | 47 | 23 | 12 | 47 | 12
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S3, Floor Position = S3 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S4, Floor Position = S4 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S5, Floor Position = S5 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S6, Floor Position = S6 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S7, Floor Position = S7 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S10, Floor Position = S10 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S8, Floor Position = S8 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S9, Floor Position = S9 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack S12, Floor Position = S12 | 44 | 44 | 44 | 44 | 44 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Occupied | 12 | 55 % | 2.574 m² | Rack RS11, Floor Position = R11 | 26 | 42 | 24 | 10 | 25 | 10
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | S | 12 | Reserved | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Free | 1 | 14 % | 0.270 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T6, Floor Position = T6 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T4, Floor Position = T04 | 37 | 40 | 37 | 37 | 40 | 37
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T2, Floor Position = T2 | 41 | 44 | 41 | 41 | 44 | 41
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T1, Floor Position = T1 | 41 | 44 | 41 | 41 | 44 | 41
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T3, Floor Position = T03 | 35 | 40 | 35 | 35 | 40 | 35
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T5, Floor Position = T5 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T11, Floor Position = T11 | 5 | 47 | 5 | 5 | 47 | 5
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T8, Floor Position = T8 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Occupied | 9 | 86 % | 1.710 m² | Rack T10, Floor Position = T10 | 19 | 45 | 19 | 18 | 45 | 18
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | T | 10 | Reserved | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Free | 1 | 12 % | 0.240 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T4, Floor Position = T04 | 37 | 40 | 37 | 37 | 40 | 37
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T3, Floor Position = T03 | 35 | 40 | 35 | 35 | 40 | 35
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T2, Floor Position = T2 | 41 | 44 | 41 | 41 | 44 | 41
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T1, Floor Position = T1 | 41 | 44 | 41 | 41 | 44 | 41
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack U6, Floor Position = U6 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack U5, Floor Position = U5 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T11, Floor Position = T11 | 5 | 47 | 5 | 5 | 47 | 5
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T8, Floor Position = T8 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Occupied | 9 | 88 % | 1.740 m² | Rack T10, Floor Position = T10 | 19 | 45 | 19 | 18 | 45 | 18
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | U | 10 | Reserved | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Free | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V4, Floor Position = V4 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V2, Floor Position = V2 | 38 | 32 | 28 | 31 | 25 | 25
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V1, Floor Position = V1 | 37 | 47 | 37 | 32 | 47 | 32
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V3, Floor Position = V3 | 41 | 44 | 41 | 41 | 44 | 41
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V6, Floor Position = V6 | 40 | 47 | 40 | 40 | 47 | 40
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V05, Floor Position = V5 | 9 | 47 | 9 | 4 | 47 | 4
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V8, Floor Position = V8 | 40 | 47 | 40 | 40 | 47 | 40
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V7, Floor Position = V7 | 42 | 47 | 42 | 42 | 47 | 42
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Occupied | 9 | 100 % | 1.800 m² | Rack V10, Floor Position = V10 | 20 | 41 | 18 | 11 | 17 | 11
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | V | 9 | Reserved | 0 | 0 % | 0.000 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Free | 1 | 15 % | 0.270 m²
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack W4, Floor Position = W04 | 19 | 42 | 19 | 16 | 42 | 16
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack V2, Floor Position = V2 | 38 | 32 | 28 | 31 | 25 | 25
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack V1, Floor Position = V1 | 37 | 47 | 37 | 32 | 47 | 32
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack W3, Floor Position = W3 | 44 | 47 | 44 | 44 | 47 | 44
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack W6, Floor Position = W06 | 21 | 42 | 21 | 18 | 42 | 18
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack W05, Floor Position = W5 | 21 | 47 | 21 | 16 | 47 | 16
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | ODF W08, Floor Position = W8 | 44 | 47 | 44 | 31 | 47 | 31
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Occupied | 8 | 85 % | 1.530 m² | Rack V10, Floor Position = V10 | 20 | 41 | 18 | 11 | 17 | 11
Room AZTCD2 on Floor GROUND FLOOR in Site AZTEC | 15960.00 W | 67500.00 W | 24 % | W | 9 | Reserved | 0 | 0 % | 0.000 m²