## Suite Line Capacity
Report generated for: | Room BCT on Floor Ground Floor in Site BESCOTT TAN
| Quantity | % of all area | Area
Total free sections: | 0/0 | 0 % | 0
Total occupied sections: | 0/0 | 0 % | 0
Total reserved sections: | 0/0 | 0 % | 0
Total Lines Capability |  |  | 0.000 m²
Total Location Capability |  |  | 102.212 m²
Total Location Free Area |  |  | 98.652 m²
Total Location Occupied Area |  |  | 3.560 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line |  |  |  |  | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | ODF A01, Floor Position = A1 | 51 | 51 | 51 | 27 | 27 | 27
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | ODF A02, Floor Position = A2 | 45 | 45 | 45 | 37 | 37 | 37
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack AB06, Floor Position = A6 | 45 | 45 | 45 | 40 | 40 | 40
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack AB08, Floor Position = A8 | 45 | 45 | 45 | 23 | 23 | 23
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | ODF CODF B09, Floor Position = B9 | 32 | 32 | 32 | 17 | 17 | 17
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack IJ05, Floor Position = I5 | 38 | 38 | 38 | 32 | 32 | 32
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack IJ4, Floor Position = I4 | 45 | 45 | 45 | 40 | 40 | 40
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack J02, Floor Position = unset | 43 | 44 | 43 | 38 | 44 | 38
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | ODF M02, Floor Position = M2 | 44 | 44 | 44 | 23 | 23 | 23
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack M03, Floor Position = M3 | 45 | 45 | 45 | 27 | 27 | 27
Room BCT on Floor Ground Floor in Site BESCOTT TAN | 460.00 W | 0.00 W | 0 % | [5 empty] | Rack M05, Floor Position = M5 | 38 | 43 | 38 | 23 | 34 | 23