## Suite Line Capacity
Report generated for: | Room BDEN02 on Floor 1st Floor in Site BUDE
| Quantity | % of all area | Area
Total free sections: | 0/0 | 0 % | 0
Total occupied sections: | 0/0 | 0 % | 0
Total reserved sections: | 0/0 | 0 % | 0
Total Lines Capability |  |  | 0.000 m²
Total Location Capability |  |  | 144.051 m²
Total Location Free Area |  |  | 141.891 m²
Total Location Occupied Area |  |  | 2.160 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line |  |  |  |  | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF A04, Floor Position = A4 | 4 | 4 | 4 | 4 | 4 | 4
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | Rack AA02, Floor Position = unset | 43 | 44 | 43 | 38 | 44 | 38
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | Rack AA04, Floor Position = AA4 | 45 | 45 | 45 | 40 | 40 | 40
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF BB2, Floor Position = BB2 | 43 | 43 | 43 | 23 | 23 | 23
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF C04, Floor Position = C4 | 41 | 41 | 41 | 26 | 26 | 26
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF CODF B04, Floor Position = B4 | 30 | 30 | 30 | 22 | 22 | 22
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF G04, Floor Position = G4 | 36 | 36 | 36 | 36 | 36 | 36
Room BDEN02 on Floor 1st Floor in Site BUDE | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF H04, Floor Position = H4 | 35 | 35 | 35 | 32 | 32 | 32