## Suite Line Capacity
Report generated for: | Room BDEN06 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION
| Quantity | % of all area | Area
Total free sections: | 0/0 | 0 % | 0
Total occupied sections: | 0/0 | 0 % | 0
Total reserved sections: | 0/0 | 0 % | 0
Total Lines Capability |  |  | 0.000 m²
Total Location Capability |  |  | 114.710 m²
Total Location Free Area |  |  | 113.900 m²
Total Location Occupied Area |  |  | 0.810 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line |  |  |  |  | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BDEN06 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF J2, Floor Position = J2 | 24 | 24 | 24 | 20 | 20 | 20
Room BDEN06 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF L03, Floor Position = L3 | 39 | 39 | 39 | 39 | 39 | 39
Room BDEN06 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF P3, Floor Position = P3 | 36 | 36 | 36 | 36 | 36 | 36