## Suite Line Capacity
Report generated for: | Room BDEN09 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION
| Quantity | % of all area | Area
Total free sections: | 0/0 | 0 % | 0
Total occupied sections: | 0/0 | 0 % | 0
Total reserved sections: | 0/0 | 0 % | 0
Total Lines Capability |  |  | 0.000 m²
Total Location Capability |  |  | 149.597 m²
Total Location Free Area |  |  | 148.787 m²
Total Location Occupied Area |  |  | 0.810 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line |  |  |  |  | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BDEN09 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION | 0.00 W | 0.00 W | 0 % | [5 empty] | Rack L02, Floor Position = L2 | 41 | 41 | 41 | 21 | 21 | 21
Room BDEN09 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION | 0.00 W | 0.00 W | 0 % | [5 empty] | Rack M02, Floor Position = M2 | 44 | 44 | 44 | 44 | 44 | 44
Room BDEN09 on Floor Ground Floor in Site CREATHORNE FARM - CABLE LANDING STATION | 0.00 W | 0.00 W | 0 % | [5 empty] | ODF TBA, Floor Position = unset | 44 | 44 | 44 | 44 | 44 | 44