## Suite Line Capacity
Report generated for: | Room BDFN02 on Floor Ground Floor in Site BEDFORD
| Quantity | % of all area | Area
Total free sections: | 35/177 | 34 % | 18.123 m²
Total occupied sections: | 142/177 | 66 % | 35.431 m²
Total reserved sections: | 0/177 | 0 % | 0.000 m²
Total Lines Capability |  |  | 53.554 m²
Total Location Capability |  |  | 263.734 m²
Total Location Free Area |  |  | 227.223 m²
Total Location Occupied Area |  |  | 36.511 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Free | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA1, Floor Position = AA1 | 5 | 47 | 5 | 5 | 47 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA2, Floor Position = AA2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA3, Floor Position = AA3 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA4, Floor Position = AA4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA5, Floor Position = AA5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | ODF AA07, Floor Position = AA07 | 4 | 44 | 4 | 3 | 44 | 3
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA6, Floor Position = AA6 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AA | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Free | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AB2, Floor Position = AB2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AB4, Floor Position = AB4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AB3, Floor Position = AB3 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AB5, Floor Position = AB5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AA1, Floor Position = AA1 | 5 | 47 | 5 | 5 | 47 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | ODF AB07, Floor Position = AB7 | 23 | 44 | 23 | 13 | 44 | 13
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Occupied | 7 | 100 % | 1.350 m² | Rack AB6, Floor Position = AB6 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AB | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Free | 0 | 2 % | 0.030 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC2, Floor Position = AC2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC1, Floor Position = AC1 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC4, Floor Position = AC4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC3, Floor Position = AC3 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC5, Floor Position = AC5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC6, Floor Position = AC6 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Occupied | 7 | 98 % | 1.257 m² | Rack AC7, Floor Position = AC7 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AC | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Free | 1 | 14 % | 0.180 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Occupied | 6 | 86 % | 1.107 m² | Rack AD2, Floor Position = AD2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Occupied | 6 | 86 % | 1.107 m² | Rack AD1, Floor Position = AD1 | 39 | 44 | 39 | 39 | 44 | 39
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Occupied | 6 | 86 % | 1.107 m² | Rack AD4, Floor Position = AD4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Occupied | 6 | 86 % | 1.107 m² | Rack AD3, Floor Position = AD3 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Occupied | 6 | 86 % | 1.107 m² | Rack AD5, Floor Position = AD5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Occupied | 6 | 86 % | 1.107 m² | Rack AD7, Floor Position = AD7 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AD | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AE | 6 | Free | 2 | 46 % | 0.870 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AE | 6 | Occupied | 4 | 54 % | 1.020 m² | Rack AE2, Floor Position = AE2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AE | 6 | Occupied | 4 | 54 % | 1.020 m² | Rack AE/AF04, Floor Position = AE4 | 14 | 42 | 14 | 5 | 39 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AE | 6 | Occupied | 4 | 54 % | 1.020 m² | Rack AE/AF05, Floor Position = AE5 | 11 | 41 | 11 | 3 | 38 | 3
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AE | 6 | Occupied | 4 | 54 % | 1.020 m² | Rack AE7, Floor Position = AE7 | 35 | 43 | 35 | 31 | 43 | 31
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AE | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Free | 1 | 35 % | 0.670 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Occupied | 5 | 65 % | 1.220 m² | Rack AF01, Floor Position = AF1 | 21 | 47 | 21 | 6 | 47 | 6
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Occupied | 5 | 65 % | 1.220 m² | Rack AE2, Floor Position = AE2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Occupied | 5 | 65 % | 1.220 m² | Rack AE/AF04, Floor Position = AE4 | 14 | 42 | 14 | 5 | 39 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Occupied | 5 | 65 % | 1.220 m² | Rack AE7, Floor Position = AE7 | 35 | 43 | 35 | 31 | 43 | 31
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Occupied | 5 | 65 % | 1.220 m² | Rack AE/AF05, Floor Position = AE5 | 11 | 41 | 11 | 3 | 38 | 3
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AF | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AG | 4 | Free | 1 | 23 % | 0.238 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AG | 4 | Occupied | 3 | 77 % | 0.784 m² | Rack AGAH03, Floor Position = AG3 | 31 | 42 | 31 | 31 | 42 | 31
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AG | 4 | Occupied | 3 | 77 % | 0.784 m² | Rack AG2, Floor Position = AG2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AG | 4 | Occupied | 3 | 77 % | 0.784 m² | Rack AG1, Floor Position = AG1 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AG | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AH | 4 | Free | 2 | 57 % | 0.787 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AH | 4 | Occupied | 2 | 43 % | 0.602 m² | Rack AGAH03, Floor Position = AG3 | 31 | 42 | 31 | 31 | 42 | 31
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AH | 4 | Occupied | 2 | 43 % | 0.602 m² | Rack AH1, Floor Position = AH1 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AH | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AJ | 6 | Free | 3 | 53 % | 0.960 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AJ | 6 | Occupied | 3 | 47 % | 0.840 m² | Rack AJ1, Floor Position = AJ1 | 0 | 42 | 0 | 0 | 42 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AJ | 6 | Occupied | 3 | 47 % | 0.840 m² | Rack AJ07, Floor Position = AJ7 | 32 | 48 | 32 | 30 | 48 | 30
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AJ | 6 | Occupied | 3 | 47 % | 0.840 m² | Rack AJ06, Floor Position = AJ6 | 27 | 46 | 27 | 16 | 46 | 16
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AJ | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AK | 7 | Free | 3 | 60 % | 1.080 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AK | 7 | Occupied | 4 | 40 % | 0.720 m² | Rack AK02, Floor Position = AK2 | 6 | 44 | 6 | 2 | 44 | 2
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AK | 7 | Occupied | 4 | 40 % | 0.720 m² | Rack AJ1, Floor Position = AJ1 | 0 | 42 | 0 | 0 | 42 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AK | 7 | Occupied | 4 | 40 % | 0.720 m² | Rack AK5, Floor Position = AK5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AK | 7 | Occupied | 4 | 40 % | 0.720 m² | Rack AK03, Floor Position = AK3 | 8 | 44 | 8 | 3 | 44 | 3
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AK | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Free | 0 | 9 % | 0.200 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Occupied | 5 | 91 % | 1.950 m² | Rack AM02, Floor Position = AL2 | 37 | 38 | 31 | 28 | 27 | 24
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Occupied | 5 | 91 % | 1.950 m² | Rack AL/AM04, Floor Position = AL4 | 11 | 43 | 11 | 5 | 43 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Occupied | 5 | 91 % | 1.950 m² | Rack AM01, Floor Position = AL1 | 16 | 47 | 16 | 12 | 47 | 12
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Occupied | 5 | 91 % | 1.950 m² | Rack AL/AM07, Floor Position = AL7 | 29 | 44 | 29 | 29 | 44 | 29
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Occupied | 5 | 91 % | 1.950 m² | Rack AL/AM06, Floor Position = AL6 | 19 | 36 | 15 | 8 | 31 | 7
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AL | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Free | 0 | 24 % | 0.520 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Occupied | 5 | 76 % | 1.630 m² | Rack AL/AM07, Floor Position = AL7 | 29 | 44 | 29 | 29 | 44 | 29
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Occupied | 5 | 76 % | 1.630 m² | Rack AL/AM06, Floor Position = AL6 | 19 | 36 | 15 | 8 | 31 | 7
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Occupied | 5 | 76 % | 1.630 m² | Rack AL/AM04, Floor Position = AL4 | 11 | 43 | 11 | 5 | 43 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Occupied | 5 | 76 % | 1.630 m² | Rack AM02, Floor Position = AL2 | 37 | 38 | 31 | 28 | 27 | 24
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Occupied | 5 | 76 % | 1.630 m² | Rack AM01, Floor Position = AL1 | 16 | 47 | 16 | 12 | 47 | 12
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AM | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AQ | 1 | Free | 0 | 34 % | 0.139 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AQ | 1 | Occupied | 1 | 66 % | 0.270 m² | ODF CODF AQ07, Floor Position = AQ7 | 0 | 47 | 0 | 0 | 47 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AQ | 1 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AR | 1 | Free | 0 | 29 % | 0.111 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AR | 1 | Occupied | 1 | 71 % | 0.270 m² | ODF AR07, Floor Position = AR7 | 17 | 47 | 17 | 10 | 47 | 10
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AR | 1 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Free | 1 | 56 % | 1.416 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Occupied | 5 | 44 % | 1.110 m² | ODF AT08, Floor Position = AT8 | 36 | 44 | 36 | 33 | 44 | 33
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Occupied | 5 | 44 % | 1.110 m² | Rack AT1, Floor Position = AT1 | 1 | 40 | 1 | 1 | 14 | 1
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Occupied | 5 | 44 % | 1.110 m² | Rack AT02, Floor Position = AT2 | 18 | 41 | 17 | 9 | 41 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Occupied | 5 | 44 % | 1.110 m² | Rack AT4, Floor Position = AT4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Occupied | 5 | 44 % | 1.110 m² | Rack AT5, Floor Position = AT5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AT | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Free | 1 | 44 % | 0.791 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Occupied | 5 | 56 % | 0.990 m² | ODF AU08, Floor Position = AU8 | 24 | 44 | 24 | 19 | 44 | 19
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Occupied | 5 | 56 % | 0.990 m² | Rack AU4, Floor Position = AU4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Occupied | 5 | 56 % | 0.990 m² | Rack AT02, Floor Position = AT2 | 18 | 41 | 17 | 9 | 41 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Occupied | 5 | 56 % | 0.990 m² | Rack AT1, Floor Position = AT1 | 1 | 40 | 1 | 1 | 14 | 1
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Occupied | 5 | 56 % | 0.990 m² | Rack AU5, Floor Position = AU5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AU | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AV | 8 | Free | 4 | 50 % | 0.720 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AV | 8 | Occupied | 4 | 50 % | 0.720 m² | Rack AV7, Floor Position = AV7 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AV | 8 | Occupied | 4 | 50 % | 0.720 m² | Rack AV3, Floor Position = AV3 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AV | 8 | Occupied | 4 | 50 % | 0.720 m² | Rack AV1, Floor Position = AV1 | 2 | 44 | 2 | 2 | 44 | 2
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AV | 8 | Occupied | 4 | 50 % | 0.720 m² | Rack AV8, Floor Position = AV8 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AV | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Free | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW4, Floor Position = AW4 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW6, Floor Position = AW6 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW7, Floor Position = AW7 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW5, Floor Position = AW5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW2, Floor Position = AW2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW3, Floor Position = AW3 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AV1, Floor Position = AV1 | 2 | 44 | 2 | 2 | 44 | 2
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Occupied | 8 | 100 % | 1.440 m² | Rack AW8, Floor Position = AW8 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AW | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AX | 6 | Free | 3 | 59 % | 0.867 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AX | 6 | Occupied | 3 | 41 % | 0.603 m² | Rack AX4, Floor Position = AX4 | 47 | 47 | 47 | 47 | 47 | 47
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AX | 6 | Occupied | 3 | 41 % | 0.603 m² | Rack AX1, Floor Position = AX1 | 47 | 47 | 47 | 47 | 47 | 47
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AX | 6 | Occupied | 3 | 41 % | 0.603 m² | Rack AX7, Floor Position = AX7 | 42 | 42 | 42 | 42 | 42 | 42
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AX | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AY | 6 | Free | 4 | 78 % | 1.144 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AY | 6 | Occupied | 2 | 22 % | 0.327 m² | Rack AY1, Floor Position = AY1 | 47 | 47 | 47 | 47 | 47 | 47
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AY | 6 | Occupied | 2 | 22 % | 0.327 m² | Rack AX7, Floor Position = AX7 | 42 | 42 | 42 | 42 | 42 | 42
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AY | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Free | 0 | 10 % | 0.150 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Occupied | 6 | 90 % | 1.290 m² | ODF AZ4, Floor Position = AZ4 | 47 | 47 | 47 | 47 | 47 | 47
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Occupied | 6 | 90 % | 1.290 m² | Rack AZ2, Floor Position = AZ2 | 39 | 44 | 39 | 39 | 44 | 39
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Occupied | 6 | 90 % | 1.290 m² | Rack AZ1, Floor Position = AZ1 | 5 | 47 | 5 | 5 | 47 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Occupied | 6 | 90 % | 1.290 m² | Rack AZ5, Floor Position = AZ5 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Occupied | 6 | 90 % | 1.290 m² | ODF AZ6, Floor Position = AZ6 | 47 | 47 | 47 | 47 | 47 | 47
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Occupied | 6 | 90 % | 1.290 m² | Rack AZ7, Floor Position = AZ7 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | AZ | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Free | 1 | 13 % | 0.193 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Occupied | 5 | 87 % | 1.260 m² | ODF CODF BA03, Floor Position = BA3 | 25 | 47 | 25 | 12 | 47 | 12
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Occupied | 5 | 87 % | 1.260 m² | Rack BA2, Floor Position = BA2 | 41 | 44 | 41 | 41 | 44 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Occupied | 5 | 87 % | 1.260 m² | Rack AZ1, Floor Position = AZ1 | 5 | 47 | 5 | 5 | 47 | 5
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Occupied | 5 | 87 % | 1.260 m² | ODF BA04, Floor Position = BA4 | 35 | 47 | 35 | 19 | 47 | 19
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Occupied | 5 | 87 % | 1.260 m² | ODF BA5, Floor Position = BA5 | 47 | 47 | 47 | 47 | 47 | 47
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BA | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Free | 0 | 24 % | 0.462 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Occupied | 5 | 76 % | 1.458 m² | Rack BB6, Floor Position = BB6 | 44 | 47 | 44 | 44 | 47 | 44
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Occupied | 5 | 76 % | 1.458 m² | ODF BB04, Floor Position = BB4 | 45 | 47 | 45 | 30 | 47 | 30
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Occupied | 5 | 76 % | 1.458 m² | ODF BB05, Floor Position = BB5 | 45 | 47 | 45 | 30 | 47 | 30
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Occupied | 5 | 76 % | 1.458 m² | Rack BB/BC01, Floor Position = BB1 | 16 | 40 | 16 | 4 | 39 | 4
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Occupied | 5 | 76 % | 1.458 m² | Rack BB02, Floor Position = BB2 | 13 | 47 | 13 | 8 | 47 | 8
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BB | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BC | 5 | Free | 1 | 49 % | 1.182 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BC | 5 | Occupied | 4 | 51 % | 1.218 m² | Rack BB6, Floor Position = BB6 | 44 | 47 | 44 | 44 | 47 | 44
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BC | 5 | Occupied | 4 | 51 % | 1.218 m² | ODF BC04, Floor Position = BC4 | 45 | 47 | 45 | 30 | 47 | 30
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BC | 5 | Occupied | 4 | 51 % | 1.218 m² | ODF BC05, Floor Position = BC5 | 42 | 47 | 42 | 26 | 47 | 26
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BC | 5 | Occupied | 4 | 51 % | 1.218 m² | Rack BB/BC01, Floor Position = BB1 | 16 | 40 | 16 | 4 | 39 | 4
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BC | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Free | 1 | 21 % | 0.420 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Occupied | 6 | 79 % | 1.580 m² | Rack BD04, Floor Position = BD4 | 12 | 47 | 12 | 7 | 47 | 7
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Occupied | 6 | 79 % | 1.580 m² | Rack BD02, Floor Position = BD02 | 6 | 44 | 6 | 2 | 44 | 2
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Occupied | 6 | 79 % | 1.580 m² | Rack BD3, Floor Position = BD3 | 9 | 44 | 9 | 7 | 44 | 7
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Occupied | 6 | 79 % | 1.580 m² | Rack BD1, Floor Position = BD1 | 0 | 42 | 0 | 0 | 42 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Occupied | 6 | 79 % | 1.580 m² | Rack BD06, Floor Position = BD6 | 32 | 47 | 32 | 27 | 47 | 27
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Occupied | 6 | 79 % | 1.580 m² | Rack BD/BE 08, Floor Position = BD8 | 21 | 42 | 20 | 9 | 36 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BD | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Free | 0 | 36 % | 1.097 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BD/BE 08, Floor Position = BD8 | 21 | 42 | 20 | 9 | 36 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BE04, Floor Position = BE4 | 32 | 44 | 32 | 25 | 44 | 25
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BE06, Floor Position = BE6 | 20 | 47 | 20 | 17 | 47 | 17
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BE05, Floor Position = BE5 | 26 | 47 | 26 | 20 | 47 | 20
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BE2, Floor Position = BE2 | 6 | 44 | 6 | 1 | 44 | 1
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BE3, Floor Position = BE3 | 23 | 44 | 23 | 20 | 44 | 20
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Occupied | 7 | 64 % | 1.920 m² | Rack BD1, Floor Position = BD1 | 0 | 42 | 0 | 0 | 42 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BE | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Free | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Occupied | 5 | 100 % | 2.400 m² | Rack BG/BF08, Floor Position = BF8 | 4 | 34 | 4 | 4 | 34 | 4
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Occupied | 5 | 100 % | 2.400 m² | Rack BF/BG04, Floor Position = BF4 | 24 | 32 | 21 | 10 | 14 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Occupied | 5 | 100 % | 2.400 m² | Rack BF6, Floor Position = BF6 | 9 | 42 | 9 | 9 | 42 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Occupied | 5 | 100 % | 2.400 m² | Rack BF/BG 5, Floor Position = BF5 | 27 | 31 | 23 | 15 | 13 | 12
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Occupied | 5 | 100 % | 2.400 m² | Rack BF/BG03, Floor Position = BF3 | 27 | 32 | 23 | 15 | 14 | 13
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BF | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Free | 0 | 33 % | 0.800 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Occupied | 5 | 67 % | 1.600 m² | Rack BG/BF08, Floor Position = BF8 | 4 | 34 | 4 | 4 | 34 | 4
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Occupied | 5 | 67 % | 1.600 m² | Rack BF/BG03, Floor Position = BF3 | 27 | 32 | 23 | 15 | 14 | 13
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Occupied | 5 | 67 % | 1.600 m² | Rack BF/BG04, Floor Position = BF4 | 24 | 32 | 21 | 10 | 14 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Occupied | 5 | 67 % | 1.600 m² | Rack BF/BG 5, Floor Position = BF5 | 27 | 31 | 23 | 15 | 13 | 12
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Occupied | 5 | 67 % | 1.600 m² | Rack BF6, Floor Position = BF6 | 9 | 42 | 9 | 9 | 42 | 9
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BG | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BH | 6 | Free | 3 | 62 % | 1.283 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BH | 6 | Occupied | 3 | 38 % | 0.802 m² | Rack BH4, Floor Position = BH4 | 37 | 42 | 37 | 36 | 42 | 36
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BH | 6 | Occupied | 3 | 38 % | 0.802 m² | Rack BH2, Floor Position = BH2 | 0 | 47 | 0 | 0 | 47 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BH | 6 | Occupied | 3 | 38 % | 0.802 m² | Rack BH3, Floor Position = BH3 | 0 | 47 | 0 | 0 | 47 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BH | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BJ | 6 | Free | 3 | 70 % | 1.452 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BJ | 6 | Occupied | 3 | 30 % | 0.633 m² | Rack BH4, Floor Position = BH4 | 37 | 42 | 37 | 36 | 42 | 36
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BJ | 6 | Occupied | 3 | 30 % | 0.633 m² | Rack BH2, Floor Position = BH2 | 0 | 47 | 0 | 0 | 47 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BJ | 6 | Occupied | 3 | 30 % | 0.633 m² | Rack BH3, Floor Position = BH3 | 0 | 47 | 0 | 0 | 47 | 0
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | BJ | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | X | 3 | Free | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | X | 3 | Occupied | 3 | 100 % | 0.690 m² | ODF X01, Floor Position = X1 | 41 | 47 | 41 | 41 | 47 | 41
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | X | 3 | Occupied | 3 | 100 % | 0.690 m² | Rack X3, Floor Position = X3 | 42 | 47 | 42 | 42 | 47 | 42
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | X | 3 | Occupied | 3 | 100 % | 0.690 m² | Rack X2, Floor Position = X2 | 44 | 47 | 44 | 44 | 47 | 44
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | X | 3 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | Y | 3 | Free | 0 | 26 % | 0.360 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | Y | 3 | Occupied | 3 | 74 % | 1.020 m² | Rack Y1, Floor Position = Y1 | 15 | 47 | 15 | 15 | 47 | 15
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | Y | 3 | Occupied | 3 | 74 % | 1.020 m² | Rack X3, Floor Position = X3 | 42 | 47 | 42 | 42 | 47 | 42
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | Y | 3 | Occupied | 3 | 74 % | 1.020 m² | Rack X2, Floor Position = X2 | 44 | 47 | 44 | 44 | 47 | 44
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | Y | 3 | Reserved | 0 | 0 % | 0.000 m²
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | [6 empty] | Rack BDFN02;DC SYS01a, Floor Position = Temp Mig | 16 | 46 | 16 | 16 | 25 | 16
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | [6 empty] | Rack BDFN02;DC SYS01b, Floor Position = Temp Mig | 18 | 46 | 18 | 18 | 25 | 18
Room BDFN02 on Floor Ground Floor in Site BEDFORD | 196514.00 W | 161250.00 W | 122 % | [6 empty] | Rack DC DUMMY LOAD, Floor Position = Temp mig | 43 | 48 | 43 | 32 | 48 | 32