## Suite Line Capacity
Report generated for: | Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH
| Quantity | % of all area | Area
Total free sections: | 15/75 | 42 % | 11.282 m²
Total occupied sections: | 60/75 | 58 % | 15.819 m²
Total reserved sections: | 0/75 | 0 % | 0.000 m²
Total Lines Capability |  |  | 27.101 m²
Total Location Capability |  |  | 163.440 m²
Total Location Free Area |  |  | 147.261 m²
Total Location Occupied Area |  |  | 16.179 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 1 | 4 | Free | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 1 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 1C, Floor Position = 1C | 43 | 46 | 43 | 43 | 46 | 43
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 1 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 1D, Floor Position = 1D | 43 | 46 | 43 | 43 | 46 | 43
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 1 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 1E, Floor Position = 1E | 43 | 46 | 43 | 43 | 46 | 43
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 1 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 1F, Floor Position = 1F | 43 | 46 | 43 | 43 | 46 | 43
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 1 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 2 | 4 | Free | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 2 | 4 | Occupied | 4 | 100 % | 0.720 m² | ODF 2C, Floor Position = 2C | 36 | 46 | 36 | 27 | 46 | 27
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 2 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 2D, Floor Position = 2D | 22 | 44 | 22 | 18 | 44 | 18
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 2 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 2F, Floor Position = 2F | 39 | 46 | 39 | 23 | 46 | 23
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 2 | 4 | Occupied | 4 | 100 % | 0.720 m² | Rack 2E, Floor Position = 2E | 43 | 46 | 43 | 43 | 46 | 43
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 2 | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Free | 0 | 17 % | 0.363 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Occupied | 5 | 83 % | 1.740 m² | Rack 3C, Floor Position = 3C | 48 | 48 | 48 | 48 | 48 | 48
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Occupied | 5 | 83 % | 1.740 m² | Rack 3G, Floor Position = 3G | 13 | 46 | 13 | 6 | 46 | 6
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Occupied | 5 | 83 % | 1.740 m² | Rack 3H, Floor Position = 3H | 45 | 46 | 45 | 45 | 46 | 45
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Occupied | 5 | 83 % | 1.740 m² | Rack 3D, Floor Position = 3D | 48 | 48 | 48 | 48 | 48 | 48
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Occupied | 5 | 83 % | 1.740 m² | Rack 3F, Floor Position = 3F | 11 | 46 | 11 | 4 | 46 | 4
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 3 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Free | 0 | 11 % | 0.180 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Occupied | 5 | 89 % | 1.500 m² | Rack 4C, Floor Position = 4C | 48 | 48 | 48 | 48 | 48 | 48
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Occupied | 5 | 89 % | 1.500 m² | Rack 4D, Floor Position = 4D | 48 | 48 | 48 | 48 | 48 | 48
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Occupied | 5 | 89 % | 1.500 m² | Rack 3F, Floor Position = 3F | 11 | 46 | 11 | 4 | 46 | 4
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Occupied | 5 | 89 % | 1.500 m² | Rack 3G, Floor Position = 3G | 13 | 46 | 13 | 6 | 46 | 6
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Occupied | 5 | 89 % | 1.500 m² | Rack 3H, Floor Position = 3H | 45 | 46 | 45 | 45 | 46 | 45
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 4 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Free | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5C, Floor Position = 5C | 20 | 40 | 18 | 5 | 32 | 4
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5D, Floor Position = 5D | 9 | 32 | 5 | 6 | 23 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5E, Floor Position = 5E | 53 | 58 | 53 | 53 | 58 | 53
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5/6G, Floor Position = 5G | 10 | 46 | 10 | 7 | 46 | 7
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5F, Floor Position = 5F | 53 | 58 | 53 | 53 | 58 | 53
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5J, Floor Position = 5J | 25 | 35 | 20 | 16 | 35 | 16
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5H, Floor Position = 5H | 3 | 45 | 3 | 2 | 44 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 5 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Free | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5C, Floor Position = 5C | 20 | 40 | 18 | 5 | 32 | 4
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5D, Floor Position = 5D | 9 | 32 | 5 | 6 | 23 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5E, Floor Position = 5E | 53 | 58 | 53 | 53 | 58 | 53
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5F, Floor Position = 5F | 53 | 58 | 53 | 53 | 58 | 53
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5/6G, Floor Position = 5G | 10 | 46 | 10 | 7 | 46 | 7
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5J, Floor Position = 5J | 25 | 35 | 20 | 16 | 35 | 16
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Occupied | 7 | 100 % | 1.260 m² | Rack 5H, Floor Position = 5H | 3 | 45 | 3 | 2 | 44 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 6 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Free | 1 | 23 % | 0.271 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Occupied | 5 | 77 % | 0.899 m² | Rack 7G, Floor Position = 7G | 42 | 45 | 42 | 42 | 45 | 42
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Occupied | 5 | 77 % | 0.899 m² | Rack 7F, Floor Position = 7F | 42 | 45 | 42 | 42 | 45 | 42
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Occupied | 5 | 77 % | 0.899 m² | Rack 7E, Floor Position = 7E | 44 | 45 | 44 | 44 | 45 | 44
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Occupied | 5 | 77 % | 0.899 m² | Rack 7J, Floor Position = 7J | 44 | 45 | 44 | 44 | 45 | 44
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Occupied | 5 | 77 % | 0.899 m² | ODF 7H, Floor Position = 7H | 13 | 37 | 13 | 5 | 24 | 5
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 7 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 8 | 2 | Free | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 8 | 2 | Occupied | 2 | 100 % | 0.900 m² | Rack 8B, Floor Position = 8B | 5 | 47 | 5 | 5 | 47 | 5
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 8 | 2 | Occupied | 2 | 100 % | 0.900 m² | Rack 8A, Floor Position = 8A | 5 | 47 | 5 | 5 | 47 | 5
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | 8 | 2 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | B | 8 | Free | 5 | 72 % | 6.129 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | B | 8 | Occupied | 3 | 28 % | 2.400 m² | Rack B9, Floor Position = B9 | 20 | 32 | 15 | 8 | 17 | 6
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | B | 8 | Occupied | 3 | 28 % | 2.400 m² | Rack B8, Floor Position = B8 | 43 | 47 | 43 | 41 | 47 | 41
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | B | 8 | Occupied | 3 | 28 % | 2.400 m² | Rack B11, Floor Position = B11 | 37 | 45 | 37 | 33 | 45 | 33
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Free | 2 | 37 % | 1.140 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack C09, Floor Position = C9 | 0 | 31 | 0 | 0 | 28 | 0
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack C10, Floor Position = C10 | 5 | 47 | 5 | 5 | 47 | 5
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack C05, Floor Position = C5 | 11 | 47 | 11 | 4 | 47 | 4
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack CC06, Floor Position = C6 | 9 | 41 | 9 | 6 | 41 | 6
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack C07, Floor Position = C7 | 37 | 43 | 37 | 37 | 43 | 37
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack CC/C04, Floor Position = CC4 | 6 | 33 | 5 | 4 | 32 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack CC/C03, Floor Position = CC3 | 8 | 38 | 8 | 2 | 38 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Occupied | 8 | 63 % | 1.980 m² | Rack C2, Floor Position = C2 | 15 | 24 | 11 | 10 | 24 | 10
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Free | 2 | 39 % | 1.220 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack C10, Floor Position = C10 | 5 | 47 | 5 | 5 | 47 | 5
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack C09, Floor Position = C9 | 0 | 31 | 0 | 0 | 28 | 0
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack CC06, Floor Position = C6 | 9 | 41 | 9 | 6 | 41 | 6
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack CC7, Floor Position = CC7 | 20 | 43 | 20 | 20 | 43 | 20
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack CC05, Floor Position = CC5 | 23 | 47 | 23 | 12 | 47 | 12
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack CC/C04, Floor Position = CC4 | 6 | 33 | 5 | 4 | 32 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack CC/C03, Floor Position = CC3 | 8 | 38 | 8 | 2 | 38 | 2
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Occupied | 8 | 61 % | 1.900 m² | Rack C2, Floor Position = C2 | 15 | 24 | 11 | 10 | 24 | 10
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | CC | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | E | 7 | Free | 5 | 79 % | 1.980 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | E | 7 | Occupied | 2 | 21 % | 0.540 m² | ODF CODF E09, Floor Position = E9 | 15 | 47 | 15 | 8 | 47 | 8
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | E | 7 | Occupied | 2 | 21 % | 0.540 m² | ODF E10, Floor Position = E10 | 40 | 47 | 40 | 23 | 47 | 23
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BFEC01 on Floor 1st Floor in Site BELFAST EAST CENTRAL SWITCH | 61300.00 W | 54000.00 W | 114 % | [6 empty] | Rack BFEC01;DC SYS01, Floor Position = Temp Mig | 23 | 46 | 23 | 23 | 25 | 23