## Suite Line Capacity
Report generated for: | Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET
| Quantity | % of all area | Area
Total free sections: | 42/210 | 49 % | 39.645 m²
Total occupied sections: | 168/210 | 51 % | 41.923 m²
Total reserved sections: | 0/210 | 0 % | 0.000 m²
Total Lines Capability |  |  | 81.567 m²
Total Location Capability |  |  | 368.826 m²
Total Location Free Area |  |  | 326.183 m²
Total Location Occupied Area |  |  | 42.643 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Free | 7 | 59 % | 10.715 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A23, Floor Position = A23 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A23a, Floor Position = A23a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A22, Floor Position = A22 | 43 | 36 | 33 | 43 | 33 | 30
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A21, Floor Position = A21 | 41 | 47 | 41 | 41 | 47 | 41
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A17, Floor Position = A17 | 19 | 47 | 19 | 16 | 47 | 16
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A15, Floor Position = A15 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A16, Floor Position = A16 | 43 | 43 | 41 | 43 | 35 | 35
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A14, Floor Position = A14 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A19, Floor Position = A19 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A20, Floor Position = A20 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A18, Floor Position = A18 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | ODF A11, Floor Position = A11 | 1 | 45 | 1 | 1 | 45 | 1
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A12, Floor Position = A12 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | ODF A10, Floor Position = A10 | 5 | 7 | 5 | 4 | 7 | 4
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A13, Floor Position = A13 | 45 | 47 | 45 | 45 | 47 | 45
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A9a, Floor Position = A9a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A9, Floor Position = A9 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A8, Floor Position = A8 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A10a, Floor Position = A10a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A5, Floor Position = A5 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack AB04, Floor Position = A4 | 31 | 47 | 31 | 17 | 47 | 17
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A3, Floor Position = A3 | 24 | 35 | 17 | 13 | 35 | 9
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack AB01, Floor Position = A1 | 6 | 33 | 5 | 4 | 32 | 2
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Occupied | 26 | 41 % | 7.429 m² | Rack A2, Floor Position = A2 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | A | 33 | Reserved | 0 | 0 % | 0.000 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Free | 8 | 44 % | 3.975 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A23, Floor Position = A23 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack B23a, Floor Position = B23a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A21, Floor Position = A21 | 41 | 47 | 41 | 41 | 47 | 41
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A22, Floor Position = A22 | 43 | 36 | 33 | 43 | 33 | 30
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack B17, Floor Position = B17 | 19 | 47 | 19 | 16 | 47 | 16
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack B15, Floor Position = B15 | 45 | 47 | 45 | 45 | 47 | 45
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A16, Floor Position = A16 | 43 | 43 | 41 | 43 | 35 | 35
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A14, Floor Position = A14 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A19, Floor Position = A19 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A20, Floor Position = A20 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A18, Floor Position = A18 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | ODF B11, Floor Position = B11 | 42 | 45 | 42 | 42 | 45 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A12, Floor Position = A12 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | ODF B10, Floor Position = B10 | 0 | 0 | 0 | 0 | 0 | 0
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack B13, Floor Position = B13 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A9a, Floor Position = A9a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A9, Floor Position = A9 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A8, Floor Position = A8 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A10a, Floor Position = A10a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A5, Floor Position = A5 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack AB04, Floor Position = A4 | 31 | 47 | 31 | 17 | 47 | 17
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A3, Floor Position = A3 | 24 | 35 | 17 | 13 | 35 | 9
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Occupied | 25 | 56 % | 5.025 m² | Rack A2, Floor Position = A2 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | B | 33 | Reserved | 0 | 0 % | 0.000 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Free | 2 | 53 % | 9.594 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C31, Floor Position = C31 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C30, Floor Position = C30 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C16, Floor Position = C16 | 26 | 47 | 26 | 20 | 47 | 20
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C15, Floor Position = C15 | 38 | 47 | 38 | 28 | 47 | 28
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C17b, Floor Position = C17b | 37 | 40 | 37 | 37 | 40 | 37
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C18, Floor Position = C18 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C19, Floor Position = C19 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C20, Floor Position = C20 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C21, Floor Position = C21 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C21a, Floor Position = C21a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C26, Floor Position = C26 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C24, Floor Position = C24 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C22, Floor Position = C22 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C23, Floor Position = C23 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C25, Floor Position = C25 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C27, Floor Position = C27 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C28, Floor Position = C28 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C29, Floor Position = C29 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C1, Floor Position = C1 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C2, Floor Position = C2 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C9, Floor Position = C9 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C10a, Floor Position = C10a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C10, Floor Position = C10 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C11, Floor Position = C11 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C12, Floor Position = C12 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C13, Floor Position = C13 | 33 | 47 | 33 | 21 | 47 | 21
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Occupied | 31 | 47 % | 8.550 m² | Rack C14, Floor Position = C14 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | C | 33 | Reserved | 0 | 0 % | 0.000 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Free | 2 | 21 % | 1.920 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D31, Floor Position = D31 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D30, Floor Position = D30 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D16, Floor Position = D16 | 41 | 46 | 41 | 41 | 46 | 41
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C15, Floor Position = C15 | 38 | 47 | 38 | 28 | 47 | 28
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | ODF D17, Floor Position = D17 | 0 | 47 | 0 | 0 | 47 | 0
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C17b, Floor Position = C17b | 37 | 40 | 37 | 37 | 40 | 37
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C18, Floor Position = C18 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C19, Floor Position = C19 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C20, Floor Position = C20 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C21, Floor Position = C21 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D21a, Floor Position = D21a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D26, Floor Position = D26 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D24, Floor Position = D24 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D22, Floor Position = D22 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D23, Floor Position = D23 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D25, Floor Position = D25 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D27, Floor Position = D27 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D28, Floor Position = D28 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D29, Floor Position = D29 | 44 | 44 | 44 | 44 | 44 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C1, Floor Position = C1 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C2, Floor Position = C2 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C9, Floor Position = C9 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack D10a, Floor Position = D10a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C11, Floor Position = C11 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C10, Floor Position = C10 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C13, Floor Position = C13 | 33 | 47 | 33 | 21 | 47 | 21
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C12, Floor Position = C12 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Occupied | 32 | 79 % | 7.080 m² | Rack C14, Floor Position = C14 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | D | 34 | Reserved | 0 | 0 % | 0.000 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Free | 20 | 73 % | 10.655 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | ODF E35, Floor Position = E35 | 0 | 47 | 0 | 0 | 47 | 0
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | ODF E34, Floor Position = E34 | 1 | 47 | 1 | 1 | 47 | 1
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | ODF E16, Floor Position = E16 | 43 | 46 | 43 | 22 | 46 | 22
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E15, Floor Position = E15 | 43 | 46 | 43 | 43 | 46 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E19, Floor Position = E19 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E24a, Floor Position = E24a | 3 | 47 | 3 | 1 | 47 | 1
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E25a, Floor Position = E25a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E27, Floor Position = E27 | 45 | 47 | 45 | 45 | 47 | 45
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E26, Floor Position = E26 | 45 | 47 | 45 | 45 | 47 | 45
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E2, Floor Position = E2 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E3, Floor Position = E3 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E6, Floor Position = E6 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E7, Floor Position = E7 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E8, Floor Position = E8 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E9, Floor Position = E9 | 38 | 47 | 38 | 38 | 47 | 38
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Occupied | 18 | 27 % | 3.851 m² | Rack E9a, Floor Position = E9a | 5 | 42 | 5 | 5 | 42 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | E | 38 | Reserved | 0 | 0 % | 0.000 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Free | 3 | 22 % | 2.785 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | ODF E35, Floor Position = E35 | 0 | 47 | 0 | 0 | 47 | 0
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | ODF F35, Floor Position = F35 | 0 | 47 | 0 | 0 | 47 | 0
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | ODF E34, Floor Position = E34 | 1 | 47 | 1 | 1 | 47 | 1
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | ODF F34, Floor Position = F34 | 0 | 47 | 0 | 0 | 47 | 0
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E20, Floor Position = E20 | 26 | 47 | 26 | 18 | 47 | 18
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F19, Floor Position = F19 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E19, Floor Position = E19 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack EF21, Floor Position = E21 | 39 | 43 | 36 | 22 | 31 | 22
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F16, Floor Position = F16 | 43 | 46 | 43 | 43 | 46 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | ODF E16, Floor Position = E16 | 43 | 46 | 43 | 22 | 46 | 22
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E15, Floor Position = E15 | 43 | 46 | 43 | 43 | 46 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F15, Floor Position = F15 | 41 | 46 | 41 | 41 | 46 | 41
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | ODF CODF F17, Floor Position = F17 | 26 | 47 | 26 | 11 | 47 | 11
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F25a, Floor Position = F25a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E25a, Floor Position = E25a | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E22, Floor Position = E22 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E23, Floor Position = E23 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E24, Floor Position = E24 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E24a, Floor Position = E24a | 3 | 47 | 3 | 1 | 47 | 1
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F24a, Floor Position = F24a | 3 | 47 | 3 | 1 | 47 | 1
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E27, Floor Position = E27 | 45 | 47 | 45 | 45 | 47 | 45
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F27, Floor Position = F27 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E28, Floor Position = E28 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E29, Floor Position = E29 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E26, Floor Position = E26 | 45 | 47 | 45 | 45 | 47 | 45
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F26, Floor Position = F26 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E25, Floor Position = E25 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E33, Floor Position = E33 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E31, Floor Position = E31 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E30, Floor Position = E30 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E32, Floor Position = E32 | 43 | 47 | 43 | 43 | 47 | 43
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E2, Floor Position = E2 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E6, Floor Position = E6 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E7, Floor Position = E7 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E3, Floor Position = E3 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E8, Floor Position = E8 | 42 | 47 | 42 | 42 | 47 | 42
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E9, Floor Position = E9 | 38 | 47 | 38 | 38 | 47 | 38
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack F9a, Floor Position = F9a | 5 | 42 | 5 | 5 | 42 | 5
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E14, Floor Position = E14 | 41 | 44 | 41 | 41 | 44 | 41
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E10, Floor Position = E10 | 39 | 44 | 39 | 39 | 44 | 39
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E11, Floor Position = E11 | 39 | 44 | 39 | 39 | 44 | 39
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E12, Floor Position = E12 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Occupied | 36 | 78 % | 9.989 m² | Rack E13, Floor Position = E13 | 44 | 47 | 44 | 44 | 47 | 44
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | F | 39 | Reserved | 0 | 0 % | 0.000 m²
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | [6 empty] | Rack BHMTF1;DC SYS A, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15
Room BHMTF1 on Floor Ground Floor in Site BIRMINGHAM FREETH STREET | 57410.00 W | 90000.00 W | 64 % | [6 empty] | Rack BHMTF1;DC SYS B, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15