## Suite Line Capacity
Report generated for: | Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1
| Quantity | % of all area | Area
Total free sections: | 0/20 | 25 % | 1.463 m²
Total occupied sections: | 20/20 | 75 % | 4.500 m²
Total reserved sections: | 0/20 | 0 % | 0.000 m²
Total Lines Capability |  |  | 5.963 m²
Total Location Capability |  |  | 18.000 m²
Total Location Free Area |  |  | 13.500 m²
Total Location Occupied Area |  |  | 4.500 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Free | 0 | 0 % | 0.000 m²
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A2, Floor Position = A2 | 41 | 44 | 41 | 41 | 44 | 41
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A1, Floor Position = A1 | 44 | 44 | 44 | 44 | 44 | 44
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A3, Floor Position = A3 | 41 | 44 | 41 | 41 | 44 | 41
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A4, Floor Position = A4 | 41 | 44 | 41 | 41 | 44 | 41
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A2a, Floor Position = A2a | 47 | 47 | 47 | 47 | 47 | 47
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A6, Floor Position = A6 | 15 | 45 | 13 | 9 | 41 | 8
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A5, Floor Position = A5 | 14 | 44 | 14 | 7 | 25 | 7
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Free | 0 | 0 % | 0.000 m²
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack B2, Floor Position = B2 | 26 | 45 | 26 | 18 | 45 | 18
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | ODF B01, Floor Position = B1 | 21 | 47 | 21 | 20 | 47 | 20
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack B3, Floor Position = B3 | 44 | 44 | 44 | 44 | 44 | 44
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack B4, Floor Position = B4 | 44 | 44 | 44 | 44 | 44 | 44
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack B2a, Floor Position = B2a | 47 | 47 | 47 | 47 | 47 | 47
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A6, Floor Position = A6 | 15 | 45 | 13 | 9 | 41 | 8
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Occupied | 7 | 100 % | 1.305 m² | Rack A5, Floor Position = A5 | 14 | 44 | 14 | 7 | 25 | 7
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Free | 0 | 44 % | 1.463 m²
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Occupied | 6 | 56 % | 1.890 m² | Rack C01, Floor Position = C01 | 41 | 45 | 41 | 27 | 45 | 27
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Occupied | 6 | 56 % | 1.890 m² | Rack C3, Floor Position = C03 | 37 | 44 | 36 | 33 | 37 | 33
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Occupied | 6 | 56 % | 1.890 m² | ODF C06, Floor Position = C06 | 43 | 45 | 43 | 27 | 45 | 27
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Occupied | 6 | 56 % | 1.890 m² | Rack C7, Floor Position = C07 | 6 | 44 | 6 | 1 | 44 | 1
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Occupied | 6 | 56 % | 1.890 m² | Rack C8, Floor Position = C08 | 5 | 47 | 5 | 5 | 47 | 5
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Occupied | 6 | 56 % | 1.890 m² | Rack BIFTS1; DC SYS01, Floor Position = C09 | 25 | 46 | 25 | 25 | 25 | 25
Room BIFTS1 on Floor Ground Floor in Site BARROW POP 1 | 10967.00 W | 3750.00 W | 292 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²