## Suite Line Capacity
Report generated for: | Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE
| Quantity | % of all area | Area
Total free sections: | 13/126 | 13 % | 14.580 m²
Total occupied sections: | 113/126 | 87 % | 94.260 m²
Total reserved sections: | 0/126 | 0 % | 0.000 m²
Total Lines Capability |  |  | 108.840 m²
Total Location Capability |  |  | 491.447 m²
Total Location Free Area |  |  | 397.187 m²
Total Location Occupied Area |  |  | 94.260 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DA | 2 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DA | 2 | Occupied | 2 | 100 % | 0.540 m² | ODF DA01, Floor Position = DA1 | 45 | 47 | 45 | 40 | 47 | 40
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DA | 2 | Occupied | 2 | 100 % | 0.540 m² | ODF DA02, Floor Position = DA2 | 43 | 47 | 43 | 38 | 47 | 38
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DA | 2 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB1, Floor Position = DB01 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB2, Floor Position = DB02 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB10, Floor Position = DB10 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB6, Floor Position = DB06 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB8, Floor Position = DB08 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB9, Floor Position = DB09 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB4, Floor Position = DB04 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DB5, Floor Position = DB05 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DB | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC10, Floor Position = DC10 | 41 | 48 | 41 | 41 | 48 | 41
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC6, Floor Position = DC6 | 40 | 48 | 40 | 40 | 48 | 40
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC4, Floor Position = DC4 | 43 | 48 | 43 | 43 | 48 | 43
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC5, Floor Position = DC5 | 46 | 48 | 46 | 46 | 48 | 46
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC8, Floor Position = DC8 | 36 | 48 | 36 | 36 | 48 | 36
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC9, Floor Position = DC9 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC1, Floor Position = DC1 | 43 | 48 | 43 | 43 | 48 | 43
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DC2, Floor Position = DC2 | 43 | 48 | 43 | 43 | 48 | 43
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DC | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD09, Floor Position = DD9 | 35 | 44 | 34 | 27 | 42 | 26
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD8, Floor Position = DD8 | 28 | 45 | 27 | 25 | 43 | 25
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD6, Floor Position = DD6 | 28 | 45 | 27 | 26 | 43 | 26
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD2, Floor Position = DD2 | 10 | 38 | 6 | 7 | 34 | 3
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD4, Floor Position = DD4 | 21 | 47 | 20 | 14 | 47 | 14
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD5, Floor Position = DD5 | 40 | 48 | 40 | 40 | 48 | 40
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DD1, Floor Position = DD1 | 12 | 42 | 11 | 10 | 33 | 10
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DD | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE9, Floor Position = DE09 | 45 | 48 | 45 | 45 | 48 | 45
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE8, Floor Position = DE08 | 36 | 45 | 34 | 30 | 43 | 29
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE6, Floor Position = DE06 | 27 | 45 | 26 | 26 | 43 | 26
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE2, Floor Position = DE02 | 18 | 41 | 15 | 17 | 36 | 12
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE4, Floor Position = DE04 | 27 | 45 | 26 | 21 | 43 | 21
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE5, Floor Position = DE05 | 26 | 45 | 26 | 25 | 43 | 25
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Occupied | 7 | 100 % | 6.720 m² | Rack DE1, Floor Position = DE01 | 46 | 48 | 46 | 46 | 48 | 46
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DE | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF09, Floor Position = DF9 | 14 | 45 | 11 | 9 | 44 | 9
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF10, Floor Position = DF10 | 27 | 37 | 21 | 12 | 36 | 12
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF08, Floor Position = DF8 | 5 | 34 | 1 | 2 | 28 | 1
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF06, Floor Position = DF6 | 45 | 48 | 45 | 43 | 48 | 43
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF02, Floor Position = DF2 | 44 | 48 | 44 | 43 | 48 | 43
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF04, Floor Position = DF4 | 44 | 48 | 44 | 43 | 48 | 43
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF05, Floor Position = DF5 | 46 | 48 | 46 | 44 | 48 | 44
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DF01, Floor Position = DF1 | 33 | 47 | 32 | 16 | 43 | 16
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DF | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG09, Floor Position = DG09 | 12 | 39 | 9 | 6 | 39 | 6
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG10, Floor Position = DG10 | 43 | 48 | 43 | 42 | 48 | 42
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG06, Floor Position = DG06 | 22 | 38 | 13 | 11 | 30 | 7
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG08, Floor Position = DG08 | 11 | 39 | 8 | 6 | 39 | 6
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG2, Floor Position = DG02 | 2 | 47 | 1 | 2 | 47 | 1
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG4, Floor Position = DG04 | 27 | 38 | 18 | 10 | 30 | 6
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG05, Floor Position = DG05 | 26 | 38 | 16 | 10 | 30 | 6
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Occupied | 8 | 100 % | 7.680 m² | Rack DG1, Floor Position = DG01 | 7 | 38 | 5 | 3 | 34 | 3
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DG | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH12, Floor Position = DH12 | 19 | 34 | 7 | 7 | 16 | 1
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH6, Floor Position = DH6 | 48 | 48 | 48 | 48 | 48 | 48
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH8, Floor Position = DH8 | 48 | 48 | 48 | 48 | 48 | 48
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH9, Floor Position = DH9 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH10, Floor Position = DH10 | 28 | 48 | 28 | 15 | 48 | 15
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH4, Floor Position = DH4 | 22 | 28 | 7 | 15 | 26 | 4
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH5, Floor Position = DH5 | 34 | 35 | 23 | 31 | 31 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH01, Floor Position = DH1 | 38 | 37 | 27 | 22 | 26 | 10
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DH2, Floor Position = DH2 | 43 | 38 | 33 | 22 | 26 | 20
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DH | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ9, Floor Position = DJ09 | 46 | 48 | 46 | 46 | 48 | 46
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ10, Floor Position = DJ10 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ12, Floor Position = DJ12 | 19 | 33 | 7 | 7 | 16 | 1
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ6, Floor Position = DJ06 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ8, Floor Position = DJ08 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ2, Floor Position = DJ02 | 22 | 39 | 17 | 8 | 36 | 8
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ4, Floor Position = DJ04 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ5, Floor Position = DJ05 | 48 | 48 | 48 | 48 | 48 | 48
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Occupied | 9 | 100 % | 8.640 m² | Rack DJ1, Floor Position = DJ01 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DJ | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Free | 3 | 38 % | 2.880 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Occupied | 5 | 62 % | 4.800 m² | Rack DK6, Floor Position = DK6 | 23 | 34 | 10 | 15 | 8 | 4
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Occupied | 5 | 62 % | 4.800 m² | Rack DK4, Floor Position = DK4 | 19 | 28 | 4 | 10 | 7 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Occupied | 5 | 62 % | 4.800 m² | Rack DK5, Floor Position = DK5 | 19 | 28 | 4 | 10 | 7 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Occupied | 5 | 62 % | 4.800 m² | Rack DK1, Floor Position = DK1 | 19 | 29 | 5 | 10 | 12 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Occupied | 5 | 62 % | 4.800 m² | Rack DK2, Floor Position = DK2 | 19 | 29 | 5 | 10 | 12 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DK | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Free | 2 | 25 % | 1.920 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Occupied | 6 | 75 % | 5.760 m² | Rack DL6, Floor Position = DL06 | 23 | 34 | 10 | 15 | 8 | 4
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Occupied | 6 | 75 % | 5.760 m² | Rack DL8, Floor Position = DL08 | 28 | 27 | 11 | 15 | 16 | 5
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Occupied | 6 | 75 % | 5.760 m² | Rack DL5, Floor Position = DL05 | 19 | 28 | 4 | 10 | 7 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Occupied | 6 | 75 % | 5.760 m² | Rack DL4, Floor Position = DL04 | 19 | 28 | 4 | 10 | 7 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Occupied | 6 | 75 % | 5.760 m² | Rack DL1, Floor Position = DL01 | 19 | 29 | 5 | 10 | 12 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Occupied | 6 | 75 % | 5.760 m² | Rack DL2, Floor Position = DL02 | 19 | 29 | 5 | 10 | 12 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DL | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Free | 4 | 44 % | 3.840 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Occupied | 5 | 56 % | 4.800 m² | Rack DM12, Floor Position = DM12 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Occupied | 5 | 56 % | 4.800 m² | Rack DM4, Floor Position = DM4 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Occupied | 5 | 56 % | 4.800 m² | Rack DM9, Floor Position = DM9 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Occupied | 5 | 56 % | 4.800 m² | Rack DM6, Floor Position = DM6 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Occupied | 5 | 56 % | 4.800 m² | Rack DM1, Floor Position = DM1 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DM | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Free | 2 | 33 % | 2.880 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Occupied | 7 | 67 % | 5.760 m² | Rack DN12, Floor Position = DN12 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Occupied | 7 | 67 % | 5.760 m² | Rack DN6, Floor Position = DN06 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Occupied | 7 | 67 % | 5.760 m² | Rack DN9, Floor Position = DN09 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Occupied | 7 | 67 % | 5.760 m² | Rack DN4, Floor Position = DN04 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Occupied | 7 | 67 % | 5.760 m² | Rack DN1, Floor Position = DN01 | 34 | 35 | 23 | 31 | 30 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Occupied | 7 | 67 % | 5.760 m² | Rack DN2, Floor Position = DN02 | 22 | 27 | 5 | 14 | 10 | 2
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | DN | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Free | 1 | 29 % | 1.440 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EA9, Floor Position = EA9 | 0 | 47 | 0 | 0 | 47 | 0
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EA11, Floor Position = EA11 | 0 | 47 | 0 | 0 | 47 | 0
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EA3, Floor Position = EA03 | 8 | 47 | 8 | 5 | 47 | 5
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EA1, Floor Position = EA01 | 8 | 47 | 8 | 5 | 47 | 5
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EA13, Floor Position = EA13 | 0 | 47 | 0 | 0 | 47 | 0
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EA | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Free | 1 | 29 % | 1.440 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EB13, Floor Position = EB13 | 0 | 47 | 0 | 0 | 47 | 0
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EB3, Floor Position = EB3 | 8 | 47 | 8 | 5 | 47 | 5
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EB1, Floor Position = EB1 | 8 | 47 | 8 | 5 | 47 | 5
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EB9, Floor Position = EB9 | 0 | 47 | 0 | 0 | 47 | 0
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Occupied | 5 | 71 % | 3.600 m² | Rack EB11, Floor Position = EB11 | 0 | 47 | 0 | 0 | 47 | 0
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EB | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Free | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC11, Floor Position = EC11 | 25 | 47 | 25 | 15 | 47 | 15
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC5, Floor Position = EC5 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC02, Floor Position = EC2 | 28 | 47 | 28 | 21 | 47 | 21
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC4, Floor Position = EC4 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC7, Floor Position = EC7 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC8, Floor Position = EC8 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Occupied | 7 | 100 % | 2.070 m² | ODF EC10, Floor Position = EC10 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | EC | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Free | 0 | 9 % | 0.180 m²
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | ODF ED11, Floor Position = ED11 | 38 | 47 | 38 | 18 | 47 | 18
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | Rack ED05, Floor Position = ED5 | 31 | 47 | 31 | 17 | 47 | 17
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | ODF ED2, Floor Position = ED2 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | ODF CODF ED04, Floor Position = ED4 | 8 | 47 | 8 | 6 | 47 | 6
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | Rack ED7, Floor Position = ED7 | 39 | 47 | 39 | 28 | 47 | 28
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | ODF CODF ED08, Floor Position = ED8 | 7 | 47 | 7 | 5 | 47 | 5
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Occupied | 7 | 91 % | 1.890 m² | ODF ED10, Floor Position = ED10 | 47 | 47 | 47 | 47 | 47 | 47
Room BKLN05 EXT on Floor Ground Floor in Site BRACKNELL STERLING CENTRE | 345416.00 W | 498000.00 W | 69 % | ED | 7 | Reserved | 0 | 0 % | 0.000 m²