## Suite Line Capacity
Report generated for: | Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK
| Quantity | % of all area | Area
Total free sections: | 0/0 | 0 % | 0
Total occupied sections: | 0/0 | 0 % | 0
Total reserved sections: | 0/0 | 0 % | 0
Total Lines Capability |  |  | 0.000 m²
Total Location Capability |  |  | 234.070 m²
Total Location Free Area |  |  | 229.960 m²
Total Location Occupied Area |  |  | 4.110 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line |  |  |  |  | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 10Q, Floor Position = 10Q | 44 | 44 | 44 | 23 | 23 | 23
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 10S, Floor Position = 10S | 43 | 43 | 43 | 24 | 24 | 24
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 11V, Floor Position = 11V | 27 | 27 | 27 | 21 | 21 | 21
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 12C, Floor Position = 12C | 36 | 36 | 36 | 36 | 36 | 36
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 12V, Floor Position = 12V | 52 | 52 | 52 | 27 | 27 | 27
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 6/7P, Floor Position = 6P | 43 | 43 | 43 | 35 | 35 | 35
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 7V, Floor Position = 7V | 7 | 7 | 7 | 4 | 4 | 4
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 8H, Floor Position = 8H | 44 | 44 | 44 | 27 | 27 | 27
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 8R, Floor Position = 8R | 40 | 43 | 40 | 28 | 35 | 28
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 8S, Floor Position = 8S | 45 | 45 | 45 | 36 | 36 | 36
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF 9C, Floor Position = 9C | 20 | 20 | 20 | 16 | 16 | 16
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 9E, Floor Position = 9E | 45 | 45 | 45 | 29 | 29 | 29
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | Rack 9Q, Floor Position = 8Q | 44 | 44 | 44 | 27 | 27 | 27
Room BMGV03 on Floor Ground Floor in Site BIRMINGHAM GRAVELLY PARK | 400.00 W | 0.00 W | 0 % | [5 empty] | ODF CODF 8V, Floor Position = 8V | 22 | 22 | 22 | 14 | 14 | 14