## Suite Line Capacity
Report generated for: | Room BSG on Floor Ground Floor in Site BASINGSTOKE
| Quantity | % of all area | Area
Total free sections: | 62/152 | 55 % | 20.727 m²
Total occupied sections: | 90/152 | 45 % | 16.827 m²
Total reserved sections: | 0/152 | 0 % | 0.000 m²
Total Lines Capability |  |  | 37.554 m²
Total Location Capability |  |  | 107.533 m²
Total Location Free Area |  |  | 90.346 m²
Total Location Occupied Area |  |  | 17.187 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Free | 8 | 64 % | 2.089 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A1, Floor Position = A1 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A3a, Floor Position = A3a | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A2, Floor Position = A2 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A3, Floor Position = A3 | 42 | 56 | 42 | 42 | 56 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A5, Floor Position = A5 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A4, Floor Position = A4 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Occupied | 7 | 36 % | 1.170 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | A | 15 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Free | 3 | 37 % | 1.663 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B4, Floor Position = B4 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B2, Floor Position = B2 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B3, Floor Position = B3 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B05, Floor Position = B5 | 32 | 46 | 32 | 24 | 46 | 24
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B06, Floor Position = B06 | 12 | 47 | 12 | 4 | 47 | 4
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B1, Floor Position = B1 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B16, Floor Position = B16 | 12 | 44 | 12 | 4 | 44 | 4
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B15, Floor Position = B15 | 42 | 44 | 42 | 42 | 44 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B17, Floor Position = B17 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | ODF CODF B7, Floor Position = B7 | 18 | 47 | 18 | 10 | 47 | 10
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Occupied | 12 | 63 % | 2.774 m² | Rack B14, Floor Position = B14 | 25 | 47 | 25 | 20 | 47 | 20
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | B | 15 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Free | 6 | 43 % | 1.428 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C4, Floor Position = C4 | 30 | 56 | 30 | 30 | 56 | 30
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C2, Floor Position = C2 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C3, Floor Position = C3 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C5, Floor Position = C5 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C7, Floor Position = C7 | 43 | 46 | 43 | 43 | 46 | 43
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C1, Floor Position = C1 | 51 | 56 | 51 | 51 | 56 | 51
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C16, Floor Position = C16 | 21 | 44 | 21 | 15 | 44 | 15
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack B17, Floor Position = B17 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C9, Floor Position = C9 | 43 | 46 | 43 | 43 | 46 | 43
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Occupied | 11 | 57 % | 1.905 m² | Rack C8, Floor Position = C8 | 43 | 46 | 43 | 43 | 46 | 43
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | C | 17 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Free | 3 | 48 % | 2.580 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | ODF D01, Floor Position = D1 | 9 | 56 | 9 | 9 | 56 | 9
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D5, Floor Position = D5 | 54 | 56 | 54 | 54 | 56 | 54
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D6, Floor Position = D6 | 26 | 46 | 26 | 17 | 46 | 17
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D7, Floor Position = D7 | 41 | 44 | 41 | 41 | 44 | 41
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D8, Floor Position = D8 | 41 | 44 | 41 | 41 | 44 | 41
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D3, Floor Position = D3 | 54 | 56 | 54 | 54 | 56 | 54
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D4, Floor Position = D4 | 52 | 56 | 52 | 52 | 56 | 52
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D2, Floor Position = D2 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | ODF D15, Floor Position = D15 | 41 | 46 | 41 | 30 | 46 | 30
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D11, Floor Position = D11 | 43 | 46 | 43 | 43 | 46 | 43
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack DE10, Floor Position = D10 | 19 | 41 | 18 | 7 | 25 | 6
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D17, Floor Position = D17 | 18 | 37 | 15 | 13 | 35 | 9
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Occupied | 14 | 52 % | 2.745 m² | Rack D16, Floor Position = D16 | 11 | 39 | 11 | 3 | 39 | 3
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | D | 17 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Free | 2 | 37 % | 1.560 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | ODF E1, Floor Position = E1 | 19 | 56 | 19 | 16 | 56 | 16
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E4, Floor Position = E4 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E5, Floor Position = E5 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E7, Floor Position = E7 | 42 | 45 | 42 | 42 | 45 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E6, Floor Position = E6 | 42 | 45 | 42 | 42 | 45 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | ODF E2, Floor Position = E2 | 25 | 56 | 25 | 19 | 56 | 19
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E3, Floor Position = E3 | 53 | 56 | 53 | 53 | 56 | 53
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | ODF E15, Floor Position = E15 | 25 | 46 | 25 | 22 | 46 | 22
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E11, Floor Position = E11 | 31 | 45 | 31 | 25 | 45 | 25
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack E9, Floor Position = E9 | 42 | 45 | 42 | 42 | 45 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack DE10, Floor Position = D10 | 19 | 41 | 18 | 7 | 25 | 6
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack D16, Floor Position = D16 | 11 | 39 | 11 | 3 | 39 | 3
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Occupied | 14 | 63 % | 2.700 m² | Rack D17, Floor Position = D17 | 18 | 37 | 15 | 13 | 35 | 9
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | E | 16 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Free | 8 | 55 % | 1.524 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F1, Floor Position = F1 | 42 | 42 | 42 | 42 | 42 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F5, Floor Position = F5 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F4, Floor Position = F4 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F3, Floor Position = F3 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F2, Floor Position = F2 | 42 | 42 | 42 | 42 | 42 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F7, Floor Position = F7 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F6, Floor Position = F6 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F17, Floor Position = F17 | 27 | 46 | 27 | 22 | 46 | 22
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Occupied | 9 | 45 % | 1.243 m² | Rack F/G16, Floor Position = F16 | 14 | 42 | 14 | 7 | 41 | 7
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | F | 17 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Free | 6 | 52 % | 1.872 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack F1, Floor Position = F1 | 42 | 42 | 42 | 42 | 42 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack G4, Floor Position = G4 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack G5, Floor Position = G5 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack G3, Floor Position = G3 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack F2, Floor Position = F2 | 42 | 42 | 42 | 42 | 42 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack G7, Floor Position = G7 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack G6, Floor Position = G6 | 50 | 50 | 50 | 50 | 50 | 50
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack F/G15, Floor Position = F15 | 7 | 37 | 7 | 4 | 37 | 4
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack F13, Floor Position = F13 | 20 | 24 | 14 | 14 | 19 | 14
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack F17, Floor Position = F17 | 27 | 46 | 27 | 22 | 46 | 22
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Occupied | 11 | 48 % | 1.745 m² | Rack F/G16, Floor Position = F16 | 14 | 42 | 14 | 7 | 41 | 7
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | G | 17 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Free | 7 | 60 % | 2.726 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H1, Floor Position = H1 | 42 | 44 | 42 | 42 | 44 | 42
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H4, Floor Position = H4 | 44 | 47 | 44 | 44 | 47 | 44
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H/J03, Floor Position = H3 | 24 | 36 | 20 | 17 | 36 | 17
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H6, Floor Position = H6 | 29 | 45 | 29 | 27 | 31 | 27
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H5, Floor Position = H5 | 7 | 20 | 6 | 4 | 20 | 4
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H/J07, Floor Position = H7 | 30 | 46 | 30 | 22 | 46 | 22
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H16, Floor Position = H16 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Occupied | 8 | 40 % | 1.825 m² | Rack H15, Floor Position = H15 | 22 | 44 | 22 | 17 | 44 | 17
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | H | 15 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | J | 15 | Free | 11 | 77 % | 2.406 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | J | 15 | Occupied | 4 | 23 % | 0.720 m² | Rack H16, Floor Position = H16 | 5 | 47 | 5 | 5 | 47 | 5
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | J | 15 | Occupied | 4 | 23 % | 0.720 m² | Rack J15, Floor Position = J15 | 21 | 44 | 21 | 8 | 44 | 8
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | J | 15 | Occupied | 4 | 23 % | 0.720 m² | Rack H/J07, Floor Position = H7 | 30 | 46 | 30 | 22 | 46 | 22
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | J | 15 | Occupied | 4 | 23 % | 0.720 m² | Rack H6, Floor Position = H6 | 29 | 45 | 29 | 27 | 31 | 27
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | J | 15 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | K | 8 | Free | 8 | 100 % | 2.880 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | K | 8 | Occupied | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BSG on Floor Ground Floor in Site BASINGSTOKE | 50297.00 W | 33000.00 W | 152 % | [6 empty] | Rack BSG;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 20 | 25 | 20