## Suite Line Capacity
Report generated for: | Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN
| Quantity | % of all area | Area
Total free sections: | 3/19 | 27 % | 3.360 m²
Total occupied sections: | 16/19 | 73 % | 9.308 m²
Total reserved sections: | 0/19 | 0 % | 0.000 m²
Total Lines Capability |  |  | 12.668 m²
Total Location Capability |  |  | 42.736 m²
Total Location Free Area |  |  | 33.428 m²
Total Location Occupied Area |  |  | 9.308 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Free | 3 | 37 % | 2.160 m²
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A6, Floor Position = A06 | 37 | 37 | 37 | 37 | 37 | 37
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A7, Floor Position = A07 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A9, Floor Position = A09 | 42 | 42 | 42 | 42 | 42 | 42
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A2, Floor Position = A02 | 22 | 22 | 22 | 22 | 22 | 22
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A3, Floor Position = A03 | 37 | 37 | 37 | 37 | 37 | 37
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A4, Floor Position = A04 | 45 | 45 | 45 | 45 | 45 | 45
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Occupied | 7 | 63 % | 3.708 m² | Rack A5, Floor Position = A05 | 32 | 32 | 32 | 32 | 32 | 32
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | A | 10 | Reserved | 0 | 0 % | 0.000 m²
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Free | 0 | 18 % | 1.200 m²
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B5, Floor Position = B05 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B06, Floor Position = B06 | 41 | 44 | 41 | 27 | 44 | 27
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B7, Floor Position = B07 | 42 | 42 | 42 | 42 | 42 | 42
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B8, Floor Position = B08 | 42 | 42 | 42 | 42 | 42 | 42
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B9, Floor Position = B09 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B1, Floor Position = B01 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B2, Floor Position = B02 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B3, Floor Position = B03 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Occupied | 9 | 82 % | 5.600 m² | Rack B4, Floor Position = B04 | 44 | 44 | 44 | 44 | 44 | 44
Room COMPUTER AREA 4 on Floor 1st Floor in Site SMALL HEATH TAN | 0.00 W | 0.00 W | 0 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²