## Suite Line Capacity
Report generated for: | Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN
| Quantity | % of all area | Area
Total free sections: | 19/111 | 28 % | 8.561 m²
Total occupied sections: | 92/111 | 72 % | 22.155 m²
Total reserved sections: | 0/111 | 0 % | 0.000 m²
Total Lines Capability |  |  | 30.715 m²
Total Location Capability |  |  | 166.826 m²
Total Location Free Area |  |  | 143.351 m²
Total Location Occupied Area |  |  | 23.475 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CA | 4 | Free | 0 | 38 % | 0.568 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CA | 4 | Occupied | 4 | 62 % | 0.932 m² | Rack CA1, Floor Position = CA01 | 3 | 45 | 3 | 3 | 45 | 3
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CA | 4 | Occupied | 4 | 62 % | 0.932 m² | ODF CA02, Floor Position = CA02 | 6 | 47 | 6 | 4 | 47 | 4
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CA | 4 | Occupied | 4 | 62 % | 0.932 m² | Rack CA03, Floor Position = CA3 | 12 | 41 | 12 | 5 | 35 | 5
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CA | 4 | Occupied | 4 | 62 % | 0.932 m² | Rack CA/CB04, Floor Position = CA04 | 16 | 41 | 16 | 2 | 38 | 2
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CA | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CB | 4 | Free | 0 | 11 % | 0.095 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CB | 4 | Occupied | 4 | 89 % | 0.804 m² | ODF CB02, Floor Position = CB02 | 3 | 45 | 3 | 3 | 45 | 3
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CB | 4 | Occupied | 4 | 89 % | 0.804 m² | Rack CA1, Floor Position = CA01 | 3 | 45 | 3 | 3 | 45 | 3
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CB | 4 | Occupied | 4 | 89 % | 0.804 m² | Rack CA03, Floor Position = CA3 | 12 | 41 | 12 | 5 | 35 | 5
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CB | 4 | Occupied | 4 | 89 % | 0.804 m² | Rack CA/CB04, Floor Position = CA04 | 16 | 41 | 16 | 2 | 38 | 2
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CB | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Free | 1 | 17 % | 0.180 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Occupied | 5 | 83 % | 0.900 m² | Rack CC1, Floor Position = CC1 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Occupied | 5 | 83 % | 0.900 m² | Rack CC6, Floor Position = CC6 | 39 | 42 | 39 | 39 | 42 | 39
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Occupied | 5 | 83 % | 0.900 m² | Rack CC4, Floor Position = CC4 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Occupied | 5 | 83 % | 0.900 m² | Rack CC3, Floor Position = CC3 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Occupied | 5 | 83 % | 0.900 m² | Rack CC5, Floor Position = CC5 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CC | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CD | 6 | Free | 2 | 33 % | 0.360 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CD | 6 | Occupied | 4 | 67 % | 0.720 m² | Rack CD6, Floor Position = CD06 | 40 | 42 | 40 | 40 | 42 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CD | 6 | Occupied | 4 | 67 % | 0.720 m² | Rack CD4, Floor Position = CD04 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CD | 6 | Occupied | 4 | 67 % | 0.720 m² | Rack CD3, Floor Position = CD03 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CD | 6 | Occupied | 4 | 67 % | 0.720 m² | Rack CD5, Floor Position = CD05 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CD | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CE | 4 | Free | 1 | 36 % | 0.597 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CE | 4 | Occupied | 3 | 64 % | 1.054 m² | Rack CE02, Floor Position = CE02 | 15 | 43 | 15 | 13 | 43 | 13
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CE | 4 | Occupied | 3 | 64 % | 1.054 m² | Rack CE/CF03, Floor Position = CE03 | 10 | 27 | 4 | 5 | 20 | 2
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CE | 4 | Occupied | 3 | 64 % | 1.054 m² | Rack CE5, Floor Position = CE05 | 40 | 47 | 40 | 40 | 47 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CE | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CF | 4 | Free | 2 | 63 % | 1.044 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CF | 4 | Occupied | 2 | 37 % | 0.607 m² | Rack CE/CF03, Floor Position = CE03 | 10 | 27 | 4 | 5 | 20 | 2
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CF | 4 | Occupied | 2 | 37 % | 0.607 m² | Rack CE5, Floor Position = CE05 | 40 | 47 | 40 | 40 | 47 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CF | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CG | 5 | Free | 1 | 24 % | 0.293 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CG | 5 | Occupied | 4 | 76 % | 0.924 m² | Rack CG2, Floor Position = CG2 | 40 | 45 | 40 | 40 | 45 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CG | 5 | Occupied | 4 | 76 % | 0.924 m² | Rack CG1, Floor Position = CG1 | 38 | 45 | 38 | 38 | 45 | 38
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CG | 5 | Occupied | 4 | 76 % | 0.924 m² | Rack CG3, Floor Position = CG3 | 38 | 45 | 38 | 38 | 45 | 38
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CG | 5 | Occupied | 4 | 76 % | 0.924 m² | Rack CG4, Floor Position = CG4 | 36 | 45 | 36 | 36 | 45 | 36
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CG | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CH | 5 | Free | 2 | 45 % | 0.673 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CH | 5 | Occupied | 3 | 55 % | 0.828 m² | Rack CH1, Floor Position = CH1 | 39 | 45 | 39 | 39 | 45 | 39
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CH | 5 | Occupied | 3 | 55 % | 0.828 m² | Rack CH5, Floor Position = CH05 | 42 | 42 | 42 | 42 | 42 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CH | 5 | Occupied | 3 | 55 % | 0.828 m² | ODF CH04, Floor Position = CH4 | 2 | 45 | 2 | 2 | 45 | 2
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CH | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Free | 1 | 21 % | 0.270 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Occupied | 5 | 79 % | 0.990 m² | Rack CJ2, Floor Position = CJ2 | 0 | 42 | 0 | 0 | 42 | 0
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Occupied | 5 | 79 % | 0.990 m² | Rack CJ6, Floor Position = CJ6 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Occupied | 5 | 79 % | 0.990 m² | Rack CJ4, Floor Position = CJ4 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Occupied | 5 | 79 % | 0.990 m² | Rack CJ03, Floor Position = CJ3 | 39 | 45 | 39 | 20 | 45 | 20
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Occupied | 5 | 79 % | 0.990 m² | Rack CJ5, Floor Position = CJ5 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CJ | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Free | 1 | 14 % | 0.180 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack CJ2, Floor Position = CJ2 | 0 | 42 | 0 | 0 | 42 | 0
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack CK4, Floor Position = CK4 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack CK3, Floor Position = CK3 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack CK5, Floor Position = CK5 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack CK6, Floor Position = CK6 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CK | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CL | 4 | Free | 0 | 12 % | 0.141 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CL | 4 | Occupied | 4 | 88 % | 1.029 m² | Rack CL2, Floor Position = CL2 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CL | 4 | Occupied | 4 | 88 % | 1.029 m² | Rack CL1, Floor Position = CL1 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CL | 4 | Occupied | 4 | 88 % | 1.029 m² | Rack CL4, Floor Position = CL4 | 42 | 42 | 42 | 42 | 42 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CL | 4 | Occupied | 4 | 88 % | 1.029 m² | ODF CL03, Floor Position = CL3 | 0 | 45 | 0 | 0 | 45 | 0
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CL | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CM | 4 | Free | 0 | 20 % | 0.231 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CM | 4 | Occupied | 4 | 80 % | 0.939 m² | Rack CM1, Floor Position = CM1 | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CM | 4 | Occupied | 4 | 80 % | 0.939 m² | ODF CM5, Floor Position = CM5 | 42 | 42 | 42 | 42 | 42 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CM | 4 | Occupied | 4 | 80 % | 0.939 m² | ODF CM03, Floor Position = CM3 | 17 | 45 | 17 | 11 | 45 | 11
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CM | 4 | Occupied | 4 | 80 % | 0.939 m² | Rack CM04, Floor Position = CM4 | 38 | 45 | 38 | 37 | 45 | 37
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CM | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Free | 0 | 8 % | 0.102 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Occupied | 6 | 92 % | 1.248 m² | Rack CN1, Floor Position = CN01 | 40 | 45 | 40 | 40 | 45 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Occupied | 6 | 92 % | 1.248 m² | ODF CN2, Floor Position = CN02 | 44 | 44 | 44 | 44 | 44 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Occupied | 6 | 92 % | 1.248 m² | Rack CN05, Floor Position = CN5 | 38 | 45 | 38 | 36 | 45 | 36
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Occupied | 6 | 92 % | 1.248 m² | Rack CN3, Floor Position = CN03 | 39 | 44 | 39 | 39 | 44 | 39
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Occupied | 6 | 92 % | 1.248 m² | ODF CN4, Floor Position = CN04 | 45 | 45 | 45 | 45 | 45 | 45
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Occupied | 6 | 92 % | 1.248 m² | Rack CN06, Floor Position = CN6 | 8 | 45 | 8 | 5 | 45 | 5
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CN | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Free | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Occupied | 6 | 100 % | 1.350 m² | Rack CP2, Floor Position = CP2 | 43 | 45 | 43 | 43 | 45 | 43
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Occupied | 6 | 100 % | 1.350 m² | Rack CP01, Floor Position = CP1 | 43 | 45 | 43 | 41 | 45 | 41
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Occupied | 6 | 100 % | 1.350 m² | ODF CP03, Floor Position = CP3 | 42 | 45 | 42 | 21 | 45 | 21
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Occupied | 6 | 100 % | 1.350 m² | ODF CP04, Floor Position = CP4 | 42 | 45 | 42 | 21 | 45 | 21
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Occupied | 6 | 100 % | 1.350 m² | Rack CP05, Floor Position = CP5 | 39 | 45 | 39 | 37 | 45 | 37
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Occupied | 6 | 100 % | 1.350 m² | Rack CP06, Floor Position = CP6 | 36 | 45 | 36 | 26 | 45 | 26
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CP | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Free | 1 | 18 % | 0.330 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Occupied | 5 | 82 % | 1.470 m² | Rack CR02, Floor Position = CR02 | 10 | 47 | 10 | 6 | 47 | 6
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Occupied | 5 | 82 % | 1.470 m² | Rack CR01, Floor Position = CR01 | 18 | 47 | 18 | 9 | 47 | 9
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Occupied | 5 | 82 % | 1.470 m² | ODF CODF CR06, Floor Position = CR06 | 0 | 47 | 0 | 0 | 47 | 0
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Occupied | 5 | 82 % | 1.470 m² | ODF CODF CR05, Floor Position = CR05 | 25 | 47 | 25 | 10 | 47 | 10
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Occupied | 5 | 82 % | 1.470 m² | ODF CR07, Floor Position = CR07 | 31 | 44 | 31 | 21 | 44 | 21
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CR | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CS | 6 | Free | 3 | 60 % | 1.080 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CS | 6 | Occupied | 3 | 40 % | 0.720 m² | Rack CS1, Floor Position = CS01 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CS | 6 | Occupied | 3 | 40 % | 0.720 m² | Rack CS2, Floor Position = CS02 | 34 | 45 | 34 | 34 | 45 | 34
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CS | 6 | Occupied | 3 | 40 % | 0.720 m² | Rack CS07, Floor Position = CS07 | 34 | 47 | 34 | 34 | 47 | 34
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CS | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Free | 0 | 5 % | 0.102 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Occupied | 6 | 95 % | 2.098 m² | Rack CT1, Floor Position = CT01 | 0 | 42 | 0 | 0 | 42 | 0
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Occupied | 6 | 95 % | 2.098 m² | Rack CT2, Floor Position = CT02 | 28 | 44 | 28 | 13 | 30 | 13
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Occupied | 6 | 95 % | 2.098 m² | Rack CT/CU06, Floor Position = CT06 | 16 | 32 | 13 | 8 | 25 | 7
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Occupied | 6 | 95 % | 2.098 m² | Rack CT/CU04, Floor Position = CT04 | 18 | 37 | 18 | 4 | 37 | 4
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Occupied | 6 | 95 % | 2.098 m² | Rack CT/CU03, Floor Position = CT03 | 27 | 43 | 27 | 18 | 43 | 18
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Occupied | 6 | 95 % | 2.098 m² | Rack CT/CU07, Floor Position = CT07 | 19 | 42 | 17 | 9 | 38 | 9
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CT | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Free | 1 | 43 % | 0.943 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Occupied | 5 | 57 % | 1.257 m² | Rack CT2, Floor Position = CT02 | 28 | 44 | 28 | 13 | 30 | 13
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Occupied | 5 | 57 % | 1.257 m² | Rack CT/CU06, Floor Position = CT06 | 16 | 32 | 13 | 8 | 25 | 7
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Occupied | 5 | 57 % | 1.257 m² | Rack CT/CU03, Floor Position = CT03 | 27 | 43 | 27 | 18 | 43 | 18
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Occupied | 5 | 57 % | 1.257 m² | Rack CT/CU04, Floor Position = CT04 | 18 | 37 | 18 | 4 | 37 | 4
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Occupied | 5 | 57 % | 1.257 m² | Rack CT/CU07, Floor Position = CT07 | 19 | 42 | 17 | 9 | 38 | 9
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | CU | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DA | 3 | Free | 0 | 30 % | 0.300 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DA | 3 | Occupied | 3 | 70 % | 0.690 m² | ODF DA01, Floor Position = DA1 | 35 | 45 | 35 | 26 | 45 | 26
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DA | 3 | Occupied | 3 | 70 % | 0.690 m² | Rack DA2, Floor Position = unset | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DA | 3 | Occupied | 3 | 70 % | 0.690 m² | Rack DA3, Floor Position = unset | 40 | 45 | 40 | 40 | 45 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DA | 3 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DB | 3 | Free | 0 | 27 % | 0.321 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DB | 3 | Occupied | 3 | 73 % | 0.880 m² | Rack DB1, Floor Position = DB1 | 13 | 45 | 13 | 13 | 45 | 13
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DB | 3 | Occupied | 3 | 73 % | 0.880 m² | Rack DA2, Floor Position = unset | 42 | 45 | 42 | 42 | 45 | 42
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DB | 3 | Occupied | 3 | 73 % | 0.880 m² | Rack DA3, Floor Position = unset | 40 | 45 | 40 | 40 | 45 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DB | 3 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DC | 4 | Free | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DC | 4 | Occupied | 4 | 100 % | 0.900 m² | Rack DC2, Floor Position = DC02 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DC | 4 | Occupied | 4 | 100 % | 0.900 m² | Rack DC01, Floor Position = DC01 | 42 | 47 | 42 | 40 | 47 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DC | 4 | Occupied | 4 | 100 % | 0.900 m² | Rack DC3, Floor Position = DC03 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DC | 4 | Occupied | 4 | 100 % | 0.900 m² | Rack DC4, Floor Position = DC04 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DC | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DD | 4 | Free | 3 | 80 % | 0.720 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DD | 4 | Occupied | 1 | 20 % | 0.180 m² | Rack DC01, Floor Position = DC01 | 42 | 47 | 42 | 40 | 47 | 40
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DD | 4 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DE | 1 | Free | 0 | 13 % | 0.030 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DE | 1 | Occupied | 1 | 87 % | 0.195 m² | Rack DE1, Floor Position = DE01 | 44 | 47 | 44 | 44 | 47 | 44
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DE | 1 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DF | 2 | Free | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DF | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack DF1, Floor Position = DF1 | 5 | 47 | 5 | 5 | 47 | 5
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DF | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack DF2, Floor Position = DF2 | 5 | 47 | 5 | 5 | 47 | 5
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | DF | 2 | Reserved | 0 | 0 % | 0.000 m²
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | [6 empty] | Rack BTLN08;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15
Room BTLN08 on Floor Ground Floor in Site BRISTOL CDN | 71786.00 W | 94500.00 W | 76 % | [6 empty] | Rack SECURITY CAB, Floor Position = unset | 42 | 42 | 42 | 42 | 42 | 42