## Suite Line Capacity
Report generated for: | Room BTN on Floor Ground Floor in Site BRIGHTON
| Quantity | % of all area | Area
Total free sections: | 67/197 | 39 % | 17.791 m²
Total occupied sections: | 129/197 | 61 % | 27.430 m²
Total reserved sections: | 1/197 | 0 % | 0.003 m²
Total Lines Capability |  |  | 45.224 m²
Total Location Capability |  |  | 193.319 m²
Total Location Free Area |  |  | 165.529 m²
Total Location Occupied Area |  |  | 27.790 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Free | 3 | 38 % | 0.523 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Occupied | 6 | 62 % | 0.871 m² | Rack A06, Floor Position = A6 | 44 | 52 | 44 | 44 | 52 | 44
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Occupied | 6 | 62 % | 0.871 m² | Rack A8, Floor Position = A8 | 30 | 30 | 30 | 30 | 30 | 30
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Occupied | 6 | 62 % | 0.871 m² | Rack A7, Floor Position = A7 | 49 | 53 | 49 | 49 | 53 | 49
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Occupied | 6 | 62 % | 0.871 m² | Rack A4, Floor Position = A4 | 42 | 45 | 42 | 42 | 45 | 42
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Occupied | 6 | 62 % | 0.871 m² | ODF A1, Floor Position = A1 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Occupied | 6 | 62 % | 0.871 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AA | 6 | Free | 4 | 67 % | 0.960 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AA | 6 | Occupied | 2 | 33 % | 0.480 m² | Rack AA5, Floor Position = AA5 | 40 | 43 | 40 | 40 | 43 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AA | 6 | Occupied | 2 | 33 % | 0.480 m² | Rack AA4, Floor Position = AA4 | 40 | 43 | 40 | 40 | 43 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AA | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AB | 6 | Free | 4 | 83 % | 1.200 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AB | 6 | Occupied | 2 | 17 % | 0.240 m² | Rack AA5, Floor Position = AA5 | 40 | 43 | 40 | 40 | 43 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AB | 6 | Occupied | 2 | 17 % | 0.240 m² | Rack AA4, Floor Position = AA4 | 40 | 43 | 40 | 40 | 43 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AB | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AC | 6 | Free | 6 | 100 % | 1.080 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AC | 6 | Occupied | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AC | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Free | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Occupied | 5 | 100 % | 2.700 m² | Rack AD2, Floor Position = AD2 | 45 | 47 | 45 | 45 | 47 | 45
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Occupied | 5 | 100 % | 2.700 m² | Rack AD4, Floor Position = AD4 | 45 | 47 | 45 | 45 | 47 | 45
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Occupied | 5 | 100 % | 2.700 m² | Rack AD5, Floor Position = AD5 | 45 | 47 | 45 | 45 | 47 | 45
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Occupied | 5 | 100 % | 2.700 m² | Rack AD3, Floor Position = AD3 | 45 | 47 | 45 | 45 | 47 | 45
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Occupied | 5 | 100 % | 2.700 m² | Rack AD1, Floor Position = AD1 | 45 | 47 | 45 | 45 | 47 | 45
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AD | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AE | 1 | Free | 0 | 33 % | 0.090 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AE | 1 | Occupied | 1 | 67 % | 0.180 m² | Rack AE1, Floor Position = AE1 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | AE | 1 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Free | 1 | 37 % | 0.819 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack B6, Floor Position = B6 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack A8, Floor Position = A8 | 30 | 30 | 30 | 30 | 30 | 30
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack B3, Floor Position = B3 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack B4, Floor Position = B4 | 51 | 53 | 51 | 51 | 53 | 51
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack B5, Floor Position = B5 | 51 | 53 | 51 | 51 | 53 | 51
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | ODF B01, Floor Position = B1 | 21 | 53 | 21 | 14 | 53 | 14
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack B2, Floor Position = B2 | 51 | 53 | 51 | 51 | 53 | 51
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Occupied | 8 | 63 % | 1.385 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Free | 2 | 23 % | 0.359 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Occupied | 6 | 77 % | 1.215 m² | Rack C5, Floor Position = C5 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Occupied | 6 | 77 % | 1.215 m² | Rack C3, Floor Position = C3 | 51 | 53 | 51 | 51 | 53 | 51
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Occupied | 6 | 77 % | 1.215 m² | Rack C4, Floor Position = C4 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Occupied | 6 | 77 % | 1.215 m² | Rack C1, Floor Position = C1 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Occupied | 6 | 77 % | 1.215 m² | Rack C2, Floor Position = C2 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Occupied | 6 | 77 % | 1.215 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | D | 8 | Free | 4 | 40 % | 0.629 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | D | 8 | Occupied | 4 | 60 % | 0.945 m² | Rack D3, Floor Position = D3 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | D | 8 | Occupied | 4 | 60 % | 0.945 m² | Rack D4, Floor Position = D4 | 32 | 53 | 32 | 22 | 53 | 22
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | D | 8 | Occupied | 4 | 60 % | 0.945 m² | Rack D2a, Floor Position = D2a | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | D | 8 | Occupied | 4 | 60 % | 0.945 m² | ODF D01, Floor Position = D1 | 9 | 53 | 9 | 5 | 53 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | D | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Free | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E6, Floor Position = E6 | 42 | 45 | 42 | 42 | 45 | 42
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E8, Floor Position = E8 | 17 | 46 | 17 | 10 | 46 | 10
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E9, Floor Position = E9 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E07, Floor Position = E7 | 38 | 44 | 38 | 22 | 44 | 22
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E4, Floor Position = E4 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E5, Floor Position = E5 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E3, Floor Position = E3 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E1, Floor Position = E1 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E2, Floor Position = E2 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Occupied | 10 | 100 % | 1.665 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Free | 0 | 12 % | 0.198 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F5, Floor Position = F5 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack E9, Floor Position = E9 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F06, Floor Position = F6 | 43 | 47 | 43 | 29 | 47 | 29
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F3, Floor Position = F3 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F4, Floor Position = F4 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F1, Floor Position = F1 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F2, Floor Position = F2 | 41 | 46 | 41 | 41 | 46 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Occupied | 8 | 88 % | 1.485 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | F | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Free | 0 | 11 % | 0.178 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G6, Floor Position = G6 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G8, Floor Position = G8 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G7, Floor Position = G7 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G4, Floor Position = G4 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G5, Floor Position = G5 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G3, Floor Position = G3 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G1, Floor Position = G1 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Occupied | 8 | 89 % | 1.440 m² | Rack G2, Floor Position = G2 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | G | 9 | Reserved | 1 | 0 % | 0.003 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Free | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H6, Floor Position = H6 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H8, Floor Position = H8 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H9, Floor Position = H9 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H7, Floor Position = H7 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H4, Floor Position = H4 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H5, Floor Position = H5 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H3, Floor Position = H3 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H1, Floor Position = H1 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Occupied | 9 | 100 % | 1.620 m² | Rack H2, Floor Position = H2 | 53 | 53 | 53 | 53 | 53 | 53
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | H | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Free | 2 | 31 % | 0.585 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Occupied | 6 | 69 % | 1.278 m² | Rack J5, Floor Position = J5 | 42 | 42 | 42 | 42 | 42 | 42
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Occupied | 6 | 69 % | 1.278 m² | Rack JK06, Floor Position = J6 | 25 | 42 | 22 | 17 | 28 | 17
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Occupied | 6 | 69 % | 1.278 m² | Rack J3, Floor Position = J3 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Occupied | 6 | 69 % | 1.278 m² | Rack J1, Floor Position = J1 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Occupied | 6 | 69 % | 1.278 m² | Rack J2, Floor Position = J2 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Occupied | 6 | 69 % | 1.278 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Free | 0 | 38 % | 0.958 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K7, Floor Position = K07 | 5 | 42 | 5 | 5 | 42 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K5, Floor Position = K5 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack JK06, Floor Position = J6 | 25 | 42 | 22 | 17 | 28 | 17
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K3, Floor Position = K3 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K4, Floor Position = K4 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K1, Floor Position = K1 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K2, Floor Position = K2 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Occupied | 8 | 62 % | 1.560 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Free | 0 | 33 % | 0.550 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L6, Floor Position = L6 | 40 | 40 | 40 | 40 | 40 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L8, Floor Position = L8 | 40 | 40 | 40 | 40 | 40 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L7, Floor Position = L7 | 40 | 40 | 40 | 40 | 40 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L4, Floor Position = L4 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L03, Floor Position = L3 | 48 | 53 | 48 | 26 | 53 | 26
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L1, Floor Position = L1 | 50 | 53 | 50 | 50 | 53 | 50
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L2, Floor Position = L2 | 41 | 46 | 41 | 41 | 46 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Occupied | 8 | 67 % | 1.110 m² | Rack L0, Floor Position = L0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | L | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Free | 1 | 42 % | 0.859 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack L6, Floor Position = L6 | 40 | 40 | 40 | 40 | 40 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack L8, Floor Position = L8 | 40 | 40 | 40 | 40 | 40 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack L7, Floor Position = L7 | 40 | 40 | 40 | 40 | 40 | 40
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack L4, Floor Position = L4 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack L03, Floor Position = L3 | 48 | 53 | 48 | 26 | 53 | 26
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack M01, Floor Position = M1 | 40 | 47 | 40 | 26 | 47 | 26
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Occupied | 7 | 58 % | 1.184 m² | Rack L2, Floor Position = L2 | 41 | 46 | 41 | 41 | 46 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | M | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Free | 0 | 25 % | 0.395 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack N6, Floor Position = N6 | 39 | 42 | 39 | 39 | 42 | 39
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack NP08, Floor Position = N8 | 11 | 44 | 9 | 4 | 43 | 2
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack N7, Floor Position = N7 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack N4, Floor Position = N4 | 35 | 45 | 35 | 26 | 45 | 26
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack N5, Floor Position = N5 | 11 | 19 | 4 | 6 | 10 | 3
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack N2, Floor Position = N2 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Occupied | 7 | 75 % | 1.163 m² | Rack N01, Floor Position = N1 | 35 | 46 | 35 | 27 | 46 | 27
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | N | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Free | 1 | 19 % | 0.297 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Occupied | 6 | 81 % | 1.260 m² | Rack N6, Floor Position = N6 | 39 | 42 | 39 | 39 | 42 | 39
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Occupied | 6 | 81 % | 1.260 m² | Rack NP08, Floor Position = N8 | 11 | 44 | 9 | 4 | 43 | 2
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Occupied | 6 | 81 % | 1.260 m² | Rack N7, Floor Position = N7 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Occupied | 6 | 81 % | 1.260 m² | Rack N4, Floor Position = N4 | 35 | 45 | 35 | 26 | 45 | 26
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Occupied | 6 | 81 % | 1.260 m² | Rack N5, Floor Position = N5 | 11 | 19 | 4 | 6 | 10 | 3
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Occupied | 6 | 81 % | 1.260 m² | Rack N2, Floor Position = N2 | 43 | 46 | 43 | 43 | 46 | 43
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | P | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Q | 8 | Free | 5 | 61 % | 0.900 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Q | 8 | Occupied | 3 | 39 % | 0.585 m² | ODF Q06, Floor Position = Q6 | 44 | 46 | 44 | 23 | 46 | 23
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Q | 8 | Occupied | 3 | 39 % | 0.585 m² | ODF CODF Q08, Floor Position = Q8 | 20 | 47 | 20 | 10 | 47 | 10
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Q | 8 | Occupied | 3 | 39 % | 0.585 m² | Rack Q0, Floor Position = Q0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Q | 8 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | R | 9 | Free | 5 | 61 % | 1.215 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | R | 9 | Occupied | 4 | 39 % | 0.765 m² | Rack R06, Floor Position = R6 | 38 | 44 | 38 | 37 | 44 | 37
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | R | 9 | Occupied | 4 | 39 % | 0.765 m² | Rack R8, Floor Position = R8 | 39 | 44 | 39 | 39 | 44 | 39
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | R | 9 | Occupied | 4 | 39 % | 0.765 m² | Rack R05, Floor Position = R5 | 24 | 47 | 24 | 20 | 47 | 20
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | R | 9 | Occupied | 4 | 39 % | 0.765 m² | Rack R0, Floor Position = R0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | R | 9 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | S | 2 | Free | 0 | 15 % | 0.153 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | S | 2 | Occupied | 2 | 85 % | 0.855 m² | Rack T2, Floor Position = T2 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | S | 2 | Occupied | 2 | 85 % | 0.855 m² | Rack T1, Floor Position = T1 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | S | 2 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | T | 2 | Free | 0 | 6 % | 0.063 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | T | 2 | Occupied | 2 | 94 % | 0.945 m² | Rack T2, Floor Position = T2 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | T | 2 | Occupied | 2 | 94 % | 0.945 m² | Rack T1, Floor Position = T1 | 41 | 44 | 41 | 41 | 44 | 41
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | T | 2 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | U | 7 | Free | 7 | 100 % | 1.260 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | U | 7 | Occupied | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | U | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | V | 7 | Free | 7 | 100 % | 1.260 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | V | 7 | Occupied | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | V | 7 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | W | 6 | Free | 6 | 100 % | 1.080 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | W | 6 | Occupied | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | W | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | X | 6 | Free | 6 | 100 % | 1.080 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | X | 6 | Occupied | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | X | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Y | 5 | Free | 2 | 39 % | 0.700 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Y | 5 | Occupied | 3 | 61 % | 1.100 m² | Rack YZ04, Floor Position = Y4 | 25 | 42 | 25 | 16 | 42 | 16
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Y | 5 | Occupied | 3 | 61 % | 1.100 m² | Rack Y5, Floor Position = Y5 | 18 | 24 | 14 | 14 | 19 | 14
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Y | 5 | Occupied | 3 | 61 % | 1.100 m² | Rack YZ02, Floor Position = Y2 | 6 | 32 | 4 | 4 | 32 | 2
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Y | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Z | 5 | Free | 1 | 22 % | 0.400 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Z | 5 | Occupied | 4 | 78 % | 1.400 m² | Rack YZ04, Floor Position = Y4 | 25 | 42 | 25 | 16 | 42 | 16
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Z | 5 | Occupied | 4 | 78 % | 1.400 m² | Rack Y5, Floor Position = Y5 | 18 | 24 | 14 | 14 | 19 | 14
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Z | 5 | Occupied | 4 | 78 % | 1.400 m² | Rack YZ02, Floor Position = Y2 | 6 | 32 | 4 | 4 | 32 | 2
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Z | 5 | Occupied | 4 | 78 % | 1.400 m² | Rack Y1, Floor Position = Y1 | 5 | 47 | 5 | 5 | 47 | 5
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | Z | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BTN on Floor Ground Floor in Site BRIGHTON | 52514.00 W | 60000.00 W | 88 % | [6 empty] | Rack BTN-DCSYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15