## Suite Line Capacity
Report generated for: | Room BTNW01 on Floor Ground Floor in Site BARTON EAM
| Quantity | % of all area | Area
Total free sections: | 1/25 | 10 % | 0.579 m²
Total occupied sections: | 24/25 | 90 % | 4.955 m²
Total reserved sections: | 0/25 | 0 % | 0.000 m²
Total Lines Capability |  |  | 5.534 m²
Total Location Capability |  |  | 21.600 m²
Total Location Free Area |  |  | 16.645 m²
Total Location Occupied Area |  |  | 4.955 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Free | 0 | 7 % | 0.090 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Occupied | 5 | 93 % | 1.170 m² | Rack 1C, Floor Position = 1C | 44 | 46 | 44 | 44 | 46 | 44
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Occupied | 5 | 93 % | 1.170 m² | ODF 1D, Floor Position = 1D | 42 | 45 | 42 | 37 | 45 | 37
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Occupied | 5 | 93 % | 1.170 m² | ODF 1F, Floor Position = 1F | 45 | 45 | 45 | 45 | 45 | 45
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Occupied | 5 | 93 % | 1.170 m² | Rack 1J, Floor Position = 1J | 43 | 45 | 43 | 43 | 45 | 43
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Occupied | 5 | 93 % | 1.170 m² | Rack 1G, Floor Position = 1G | 47 | 47 | 47 | 47 | 47 | 47
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 1 | 5 | Reserved | 0 | 0 % | 0.000 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Free | 0 | 0 % | 0.000 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2H, Floor Position = 2H | 46 | 46 | 46 | 46 | 46 | 46
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2G, Floor Position = 2G | 46 | 46 | 46 | 46 | 46 | 46
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2C, Floor Position = 2C | 4 | 44 | 4 | 1 | 44 | 1
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2E, Floor Position = 2E | 27 | 41 | 27 | 23 | 40 | 23
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2F, Floor Position = 2F | 5 | 44 | 5 | 2 | 44 | 2
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2D, Floor Position = 2D | 5 | 47 | 5 | 5 | 47 | 5
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 2 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Free | 0 | 0 % | 0.000 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 3H, Floor Position = 3H | 21 | 46 | 21 | 12 | 46 | 12
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 3G, Floor Position = 3G | 43 | 45 | 43 | 43 | 45 | 43
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 3C, Floor Position = 3C | 10 | 44 | 10 | 4 | 44 | 4
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 2E, Floor Position = 2E | 27 | 41 | 27 | 23 | 40 | 23
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 3F, Floor Position = 3F | 20 | 42 | 20 | 18 | 42 | 18
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Occupied | 6 | 100 % | 1.080 m² | Rack 3D, Floor Position = 3D | 5 | 47 | 5 | 5 | 47 | 5
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 3 | 6 | Reserved | 0 | 0 % | 0.000 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Free | 1 | 23 % | 0.489 m²
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | Rack BTNW01;DC SYS01, Floor Position = 4H | 24 | 46 | 24 | 24 | 25 | 24
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | Rack 4J, Floor Position = 4J | 47 | 47 | 47 | 47 | 47 | 47
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | Rack 4C, Floor Position = 4C | 46 | 46 | 46 | 46 | 46 | 46
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | Rack 4D, Floor Position = 4D | 46 | 46 | 46 | 46 | 46 | 46
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | Rack 4E, Floor Position = 4E | 47 | 47 | 47 | 47 | 47 | 47
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | Rack 4F, Floor Position = 4F | 13 | 46 | 13 | 3 | 46 | 3
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Occupied | 7 | 77 % | 1.625 m² | ODF 4B, Floor Position = 4B | 28 | 47 | 28 | 23 | 47 | 23
Room BTNW01 on Floor Ground Floor in Site BARTON EAM | 19715.00 W | 7125.00 W | 277 % | 4 | 8 | Reserved | 0 | 0 % | 0.000 m²