## Suite Line Capacity
Report generated for: | Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP
| Quantity | % of all area | Area
Total free sections: | 12/144 | 26 % | 13.018 m²
Total occupied sections: | 132/144 | 74 % | 37.727 m²
Total reserved sections: | 0/144 | 0 % | 0.000 m²
Total Lines Capability |  |  | 50.745 m²
Total Location Capability |  |  | 234.270 m²
Total Location Free Area |  |  | 196.183 m²
Total Location Occupied Area |  |  | 38.087 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Free | 0 | 0 % | -0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A1, Floor Position = A1 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A3, Floor Position = A3 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A2, Floor Position = A2 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A4, Floor Position = A4 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A8, Floor Position = A8 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A6, Floor Position = A6 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A5, Floor Position = A5 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A10, Floor Position = A10 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A9, Floor Position = A9 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A11, Floor Position = A11 | 30 | 33 | 18 | 16 | 27 | 6
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A13, Floor Position = A13 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A12, Floor Position = A12 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A14, Floor Position = A14 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A15, Floor Position = A15 | 27 | 46 | 26 | 7 | 42 | 7
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Occupied | 16 | 100 % | 7.680 m² | Rack A16, Floor Position = A16 | 44 | 47 | 44 | 44 | 47 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | A | 16 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Free | 1 | 11 % | 0.270 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B1, Floor Position = B1 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B3, Floor Position = B3 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B2, Floor Position = B2 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B7, Floor Position = B7 | 35 | 48 | 35 | 31 | 48 | 31
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B04, Floor Position = B4 | 39 | 48 | 39 | 34 | 48 | 34
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B5, Floor Position = B5 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B6, Floor Position = B6 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B10, Floor Position = B10 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B08, Floor Position = B8 | 19 | 48 | 19 | 17 | 48 | 17
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | Rack B09, Floor Position = B9 | 18 | 48 | 18 | 17 | 48 | 17
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Occupied | 12 | 89 % | 2.115 m² | ODF B12, Floor Position = B12 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | B | 13 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Free | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack C2, Floor Position = C2 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack B1, Floor Position = B1 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack C3, Floor Position = C3 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack B7, Floor Position = B7 | 35 | 48 | 35 | 31 | 48 | 31
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack C5, Floor Position = C5 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack C4, Floor Position = C4 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack C6, Floor Position = C6 | 44 | 46 | 44 | 44 | 46 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack B09, Floor Position = B9 | 18 | 48 | 18 | 17 | 48 | 17
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack B08, Floor Position = B8 | 19 | 48 | 19 | 17 | 48 | 17
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | Rack B10, Floor Position = B10 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | ODF CODF C11, Floor Position = C11 | 31 | 47 | 31 | 12 | 47 | 12
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Occupied | 13 | 100 % | 2.385 m² | ODF C12, Floor Position = C12 | 2 | 47 | 2 | 1 | 47 | 1
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | C | 13 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Free | 0 | 23 % | 1.300 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E3, Floor Position = E3 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E1, Floor Position = E1 | 23 | 26 | 9 | 22 | 15 | 3
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E7, Floor Position = E7 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E4, Floor Position = E4 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E6, Floor Position = E6 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E8, Floor Position = E8 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E9, Floor Position = E9 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E10, Floor Position = E10 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Occupied | 10 | 77 % | 4.265 m² | Rack E11, Floor Position = E11 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | D | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | E | 10 | Free | 6 | 63 % | 1.500 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | E | 10 | Occupied | 4 | 37 % | 0.885 m² | Rack E3, Floor Position = E3 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | E | 10 | Occupied | 4 | 37 % | 0.885 m² | Rack E1, Floor Position = E1 | 23 | 26 | 9 | 22 | 15 | 3
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | E | 10 | Occupied | 4 | 37 % | 0.885 m² | Rack E0, Floor Position = E0 | 5 | 42 | 5 | 5 | 42 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | E | 10 | Occupied | 4 | 37 % | 0.885 m² | Rack E4, Floor Position = E4 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Free | 0 | 28 % | 0.945 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack F02, Floor Position = F2 | 44 | 48 | 44 | 44 | 48 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack G1, Floor Position = G1 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack G3, Floor Position = G3 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack F6, Floor Position = F6 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack F05, Floor Position = F5 | 32 | 46 | 32 | 24 | 46 | 24
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | ODF F04, Floor Position = F4 | 36 | 46 | 36 | 20 | 46 | 20
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack F7, Floor Position = F7 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack G12, Floor Position = G12 | 12 | 46 | 12 | 4 | 46 | 4
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack G10, Floor Position = G10 | 32 | 46 | 32 | 25 | 46 | 25
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Occupied | 11 | 72 % | 2.475 m² | Rack F11, Floor Position = G11 | 29 | 46 | 29 | 25 | 46 | 25
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Free | 0 | 12 % | 0.300 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G3, Floor Position = G3 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G02, Floor Position = G2 | 42 | 46 | 42 | 42 | 46 | 42
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G1, Floor Position = G1 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G6, Floor Position = G6 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G4, Floor Position = G4 | 33 | 46 | 33 | 17 | 46 | 17
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G5, Floor Position = G5 | 22 | 46 | 22 | 20 | 46 | 20
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G7, Floor Position = G7 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G12, Floor Position = G12 | 12 | 46 | 12 | 4 | 46 | 4
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack F11, Floor Position = G11 | 29 | 46 | 29 | 25 | 46 | 25
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Occupied | 11 | 88 % | 2.265 m² | Rack G10, Floor Position = G10 | 32 | 46 | 32 | 25 | 46 | 25
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Free | 1 | 20 % | 0.585 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | ODF H01, Floor Position = J1 | 5 | 47 | 5 | 4 | 47 | 4
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | ODF H02, Floor Position = J2 | 1 | 47 | 1 | 1 | 47 | 1
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack J4, Floor Position = J4 | 46 | 46 | 46 | 46 | 46 | 46
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack J03, Floor Position = J3 | 18 | 47 | 18 | 15 | 47 | 15
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack J7, Floor Position = J7 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack J10, Floor Position = J10 | 42 | 47 | 42 | 34 | 47 | 34
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack J9, Floor Position = J9 | 35 | 47 | 35 | 30 | 47 | 30
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack J8, Floor Position = J8 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Occupied | 9 | 80 % | 2.355 m² | Rack H11, Floor Position = H11 | 5 | 47 | 5 | 5 | 47 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Free | 0 | 32 % | 0.938 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | ODF H01, Floor Position = J1 | 5 | 47 | 5 | 4 | 47 | 4
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | ODF H02, Floor Position = J2 | 1 | 47 | 1 | 1 | 47 | 1
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J05, Floor Position = J5 | 42 | 47 | 42 | 27 | 47 | 27
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J4, Floor Position = J4 | 46 | 46 | 46 | 46 | 46 | 46
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J03, Floor Position = J3 | 18 | 47 | 18 | 15 | 47 | 15
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J7, Floor Position = J7 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J10, Floor Position = J10 | 42 | 47 | 42 | 34 | 47 | 34
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J9, Floor Position = J9 | 35 | 47 | 35 | 30 | 47 | 30
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J8, Floor Position = J8 | 47 | 47 | 47 | 47 | 47 | 47
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Occupied | 10 | 68 % | 2.002 m² | Rack J11, Floor Position = J11 | 5 | 42 | 5 | 5 | 42 | 5
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | J | 10 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Free | 0 | 4 % | 0.090 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack K1, Floor Position = K1 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack K2, Floor Position = K2 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L7, Floor Position = L7 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack K3, Floor Position = K3 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L6, Floor Position = L6 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L9, Floor Position = L9 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L8, Floor Position = L8 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L10, Floor Position = L10 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L12, Floor Position = L12 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L11, Floor Position = L11 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L13, Floor Position = L13 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Occupied | 12 | 96 % | 2.430 m² | Rack L14, Floor Position = L14 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | K | 12 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Free | 0 | 40 % | 2.370 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L1, Floor Position = L1 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L2, Floor Position = L2 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L7, Floor Position = L7 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L3, Floor Position = L3 | 48 | 48 | 48 | 48 | 48 | 48
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L6, Floor Position = L6 | 41 | 44 | 41 | 41 | 44 | 41
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L9, Floor Position = L9 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L8, Floor Position = L8 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L10, Floor Position = L10 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L12, Floor Position = L12 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L11, Floor Position = L11 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L13, Floor Position = L13 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Occupied | 12 | 60 % | 3.510 m² | Rack L14, Floor Position = L14 | 45 | 48 | 45 | 45 | 48 | 45
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | L | 12 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Free | 4 | 50 % | 4.720 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N7, Floor Position = N7 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N8, Floor Position = N8 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N10, Floor Position = N10 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N9, Floor Position = N9 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N11, Floor Position = N11 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N13, Floor Position = N13 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N12, Floor Position = N12 | 43 | 46 | 43 | 43 | 46 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N14, Floor Position = N14 | 44 | 44 | 44 | 44 | 44 | 44
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Occupied | 9 | 50 % | 4.640 m² | Rack N15, Floor Position = N15 | 43 | 44 | 43 | 43 | 44 | 43
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | N | 13 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | Z | 3 | Free | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | Z | 3 | Occupied | 3 | 100 % | 0.720 m² | Rack Z1, Floor Position = Z1 | 46 | 46 | 46 | 46 | 46 | 46
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | Z | 3 | Occupied | 3 | 100 % | 0.720 m² | Rack Z2, Floor Position = Z2 | 46 | 46 | 46 | 46 | 46 | 46
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | Z | 3 | Occupied | 3 | 100 % | 0.720 m² | Rack Z3, Floor Position = Z3 | 46 | 46 | 46 | 46 | 46 | 46
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | Z | 3 | Reserved | 0 | 0 % | 0.000 m²
Room BTRTP1 on Floor Ground Floor in Site BLANTYRE TAP | 38995.00 W | 67500.00 W | 58 % | [6 empty] | Rack BTRTP1;DC SYS01, Floor Position = Temp Mig | 17 | 46 | 17 | 17 | 25 | 17