## Suite Line Capacity
Report generated for: | Room CBY on Floor Ground Floor in Site CANTERBURY
| Quantity | % of all area | Area
Total free sections: | 15/79 | 32 % | 5.994 m²
Total occupied sections: | 64/79 | 68 % | 12.708 m²
Total reserved sections: | 0/79 | 0 % | 0.000 m²
Total Lines Capability |  |  | 18.703 m²
Total Location Capability |  |  | 96.043 m²
Total Location Free Area |  |  | 83.335 m²
Total Location Occupied Area |  |  | 12.708 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Free | 0 | 10 % | 0.181 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A3, Floor Position = A3 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A07, Floor Position = A7 | 28 | 47 | 28 | 28 | 47 | 28
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A6, Floor Position = A6 | 41 | 43 | 41 | 41 | 43 | 41
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A4, Floor Position = A4 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A5, Floor Position = A5 | 41 | 43 | 41 | 41 | 43 | 41
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A2, Floor Position = A2 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A1, Floor Position = A1 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Occupied | 8 | 90 % | 1.545 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Free | 0 | 10 % | 0.180 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack B3, Floor Position = B3 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack A07, Floor Position = A7 | 28 | 47 | 28 | 28 | 47 | 28
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack A6, Floor Position = A6 | 41 | 43 | 41 | 41 | 43 | 41
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack B4, Floor Position = B4 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack A5, Floor Position = A5 | 41 | 43 | 41 | 41 | 43 | 41
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack B2, Floor Position = B2 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack B1, Floor Position = B1 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Occupied | 8 | 90 % | 1.544 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Free | 2 | 42 % | 0.688 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Occupied | 5 | 58 % | 0.963 m² | Rack C5, Floor Position = C5 | 54 | 54 | 54 | 54 | 54 | 54
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Occupied | 5 | 58 % | 0.963 m² | Rack C4, Floor Position = C4 | 54 | 54 | 54 | 54 | 54 | 54
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Occupied | 5 | 58 % | 0.963 m² | Rack C3, Floor Position = C3 | 54 | 54 | 54 | 54 | 54 | 54
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Occupied | 5 | 58 % | 0.963 m² | Rack C1, Floor Position = C1 | 35 | 35 | 35 | 35 | 35 | 35
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Occupied | 5 | 58 % | 0.963 m² | Rack C2, Floor Position = C2 | 35 | 35 | 35 | 35 | 35 | 35
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | D | 7 | Free | 4 | 75 % | 1.235 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | D | 7 | Occupied | 3 | 25 % | 0.417 m² | Rack D3, Floor Position = D3 | 54 | 54 | 54 | 54 | 54 | 54
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | D | 7 | Occupied | 3 | 25 % | 0.417 m² | Rack C1, Floor Position = C1 | 35 | 35 | 35 | 35 | 35 | 35
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | D | 7 | Occupied | 3 | 25 % | 0.417 m² | Rack C2, Floor Position = C2 | 35 | 35 | 35 | 35 | 35 | 35
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Free | 0 | 5 % | 0.089 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E3, Floor Position = E3 | 50 | 54 | 50 | 50 | 54 | 50
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E5, Floor Position = E5 | 14 | 45 | 14 | 8 | 45 | 8
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E4, Floor Position = E4 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E6, Floor Position = E6 | 49 | 54 | 49 | 49 | 54 | 49
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E7, Floor Position = E7 | 23 | 44 | 23 | 20 | 44 | 20
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E8, Floor Position = E8 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | ODF E02, Floor Position = E2 | 38 | 54 | 38 | 27 | 54 | 27
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Occupied | 9 | 95 % | 1.571 m² | ODF E01, Floor Position = E1 | 20 | 54 | 20 | 10 | 54 | 10
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | E | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Free | 0 | 12 % | 0.208 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack F03, Floor Position = F3 | 13 | 44 | 13 | 9 | 44 | 9
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack F2, Floor Position = F2 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack F1, Floor Position = F1 | 53 | 54 | 53 | 53 | 54 | 53
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | ODF F07, Floor Position = F7 | 44 | 46 | 44 | 23 | 46 | 23
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack E5, Floor Position = E5 | 14 | 45 | 14 | 8 | 45 | 8
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack F06, Floor Position = F6 | 22 | 44 | 22 | 20 | 44 | 20
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Occupied | 8 | 88 % | 1.461 m² | Rack F4, Floor Position = F4 | 54 | 54 | 54 | 54 | 54 | 54
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | F | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Free | 2 | 29 % | 0.452 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack G2, Floor Position = G2 | 43 | 46 | 43 | 43 | 46 | 43
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack G1, Floor Position = G1 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack G3, Floor Position = G3 | 43 | 46 | 43 | 43 | 46 | 43
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Occupied | 5 | 71 % | 1.080 m² | ODF CODF G06, Floor Position = G6 | 41 | 47 | 41 | 27 | 47 | 27
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack G5, Floor Position = G5 | 43 | 46 | 43 | 43 | 46 | 43
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | G | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | H | 7 | Free | 3 | 50 % | 1.022 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | H | 7 | Occupied | 4 | 50 % | 1.020 m² | Rack H2, Floor Position = H2 | 43 | 46 | 43 | 43 | 46 | 43
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | H | 7 | Occupied | 4 | 50 % | 1.020 m² | Rack H1, Floor Position = H1 | 51 | 54 | 51 | 51 | 54 | 51
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | H | 7 | Occupied | 4 | 50 % | 1.020 m² | Rack H3, Floor Position = H3 | 43 | 43 | 43 | 43 | 43 | 43
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | H | 7 | Occupied | 4 | 50 % | 1.020 m² | Rack H05, Floor Position = H5 | 29 | 45 | 29 | 28 | 45 | 28
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | H | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Free | 1 | 26 % | 0.662 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack J2, Floor Position = J2 | 40 | 42 | 40 | 40 | 42 | 40
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack J1, Floor Position = J1 | 52 | 54 | 52 | 52 | 54 | 52
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack J5, Floor Position = J5 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack J6, Floor Position = J6 | 26 | 36 | 20 | 8 | 29 | 7
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack J4, Floor Position = J4 | 36 | 39 | 36 | 36 | 39 | 36
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack JK08, Floor Position = J8 | 29 | 35 | 29 | 29 | 35 | 29
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Occupied | 8 | 74 % | 1.861 m² | Rack JK07, Floor Position = J7 | 24 | 39 | 21 | 15 | 39 | 15
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | J | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Free | 3 | 51 % | 1.277 m²
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Occupied | 6 | 49 % | 1.246 m² | Rack JK08, Floor Position = J8 | 29 | 35 | 29 | 29 | 35 | 29
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Occupied | 6 | 49 % | 1.246 m² | Rack JK07, Floor Position = J7 | 24 | 39 | 21 | 15 | 39 | 15
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Occupied | 6 | 49 % | 1.246 m² | Rack J5, Floor Position = J5 | 5 | 47 | 5 | 5 | 47 | 5
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Occupied | 6 | 49 % | 1.246 m² | Rack J6, Floor Position = J6 | 26 | 36 | 20 | 8 | 29 | 7
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Occupied | 6 | 49 % | 1.246 m² | Rack J4, Floor Position = J4 | 36 | 39 | 36 | 36 | 39 | 36
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Occupied | 6 | 49 % | 1.246 m² | Rack J2, Floor Position = J2 | 40 | 42 | 40 | 40 | 42 | 40
Room CBY on Floor Ground Floor in Site CANTERBURY | 10721.00 W | 16875.00 W | 64 % | K | 9 | Reserved | 0 | 0 % | 0.000 m²