## Suite Line Capacity
Report generated for: | Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN
| Quantity | % of all area | Area
Total free sections: | 23/95 | 45 % | 12.935 m²
Total occupied sections: | 72/95 | 55 % | 15.830 m²
Total reserved sections: | 0/95 | 0 % | 0.000 m²
Total Lines Capability |  |  | 28.766 m²
Total Location Capability |  |  | 108.267 m²
Total Location Free Area |  |  | 91.668 m²
Total Location Occupied Area |  |  | 16.600 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Free | 7 | 58 % | 1.811 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | Rack A10, Floor Position = A10 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | Rack A7, Floor Position = A7 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | Rack A5, Floor Position = A5 | 5 | 47 | 5 | 5 | 47 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | Rack A6, Floor Position = A6 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | Rack A4, Floor Position = A4 | 24 | 37 | 22 | 12 | 21 | 12
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | ODF A01, Floor Position = A1 | 5 | 44 | 5 | 2 | 44 | 2
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Occupied | 7 | 42 % | 1.305 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | A | 14 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Free | 2 | 25 % | 0.825 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | ODF CODF B13, Floor Position = B13 | 25 | 47 | 25 | 10 | 47 | 10
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B10, Floor Position = B10 | 37 | 44 | 37 | 37 | 44 | 37
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B11, Floor Position = B11 | 39 | 44 | 39 | 39 | 44 | 39
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B12, Floor Position = B12 | 37 | 44 | 37 | 37 | 44 | 37
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B7, Floor Position = B7 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack A5, Floor Position = A5 | 5 | 47 | 5 | 5 | 47 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B06, Floor Position = B6 | 41 | 46 | 41 | 32 | 46 | 32
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack A4, Floor Position = A4 | 24 | 37 | 22 | 12 | 21 | 12
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B2, Floor Position = B2 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B3, Floor Position = B3 | 30 | 46 | 30 | 29 | 46 | 29
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | ODF B01, Floor Position = B1 | 4 | 44 | 4 | 3 | 44 | 3
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Occupied | 12 | 75 % | 2.430 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | B | 14 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Free | 1 | 42 % | 1.834 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack CD15, Floor Position = D15 | 24 | 32 | 12 | 7 | 29 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack CD14, Floor Position = C14 | 16 | 40 | 16 | 5 | 23 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C10, Floor Position = C10 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack CD09, Floor Position = D09 | 4 | 37 | 4 | 1 | 15 | 1
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C11, Floor Position = C11 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack CD13, Floor Position = C13 | 18 | 43 | 14 | 9 | 32 | 7
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C8, Floor Position = C08 | 19 | 23 | 11 | 4 | 17 | 3
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C6, Floor Position = C06 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C4, Floor Position = C4 | 42 | 45 | 42 | 42 | 45 | 42
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C2, Floor Position = C2 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C3, Floor Position = C3 | 42 | 45 | 42 | 42 | 45 | 42
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C1, Floor Position = C1 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Occupied | 14 | 58 % | 2.553 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | C | 15 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Free | 0 | 42 % | 2.070 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack CD15, Floor Position = D15 | 24 | 32 | 12 | 7 | 29 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack CD14, Floor Position = C14 | 16 | 40 | 16 | 5 | 23 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack C10, Floor Position = C10 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack CD09, Floor Position = D09 | 4 | 37 | 4 | 1 | 15 | 1
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D11, Floor Position = D11 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack CD13, Floor Position = C13 | 18 | 43 | 14 | 9 | 32 | 7
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack C8, Floor Position = C08 | 19 | 23 | 11 | 4 | 17 | 3
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D7, Floor Position = D07 | 40 | 44 | 40 | 40 | 44 | 40
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D6, Floor Position = D06 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D5, Floor Position = D05 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D4, Floor Position = D04 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D02, Floor Position = D02 | 18 | 45 | 18 | 13 | 45 | 13
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D1, Floor Position = D01 | 44 | 44 | 44 | 44 | 44 | 44
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D3, Floor Position = D03 | 43 | 46 | 43 | 43 | 46 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Occupied | 14 | 58 % | 2.805 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | D | 14 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Free | 4 | 39 % | 1.179 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E/F16, Floor Position = F16 | 12 | 46 | 12 | 5 | 42 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E/F15, Floor Position = F15 | 41 | 21 | 18 | 36 | 16 | 9
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E7, Floor Position = unset | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E14, Floor Position = E14 | 37 | 42 | 37 | 37 | 42 | 37
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E6, Floor Position = F06 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E3, Floor Position = E3 | 47 | 47 | 47 | 47 | 47 | 47
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Occupied | 7 | 61 % | 1.881 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | E | 11 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Free | 4 | 56 % | 2.874 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack E/F16, Floor Position = F16 | 12 | 46 | 12 | 5 | 42 | 5
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack E/F15, Floor Position = F15 | 41 | 21 | 18 | 36 | 16 | 9
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack E7, Floor Position = unset | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack E14, Floor Position = E14 | 37 | 42 | 37 | 37 | 42 | 37
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack E6, Floor Position = F06 | 41 | 44 | 41 | 41 | 44 | 41
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack F3, Floor Position = F3 | 47 | 47 | 47 | 47 | 47 | 47
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Occupied | 7 | 44 % | 2.226 m² | Rack F1, Floor Position = F1 | 47 | 47 | 47 | 47 | 47 | 47
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Free | 3 | 44 % | 0.765 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Occupied | 5 | 56 % | 0.990 m² | Rack G9, Floor Position = G9 | 9 | 44 | 9 | 2 | 44 | 2
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Occupied | 5 | 56 % | 0.990 m² | Rack G8, Floor Position = G8 | 2 | 44 | 2 | 2 | 44 | 2
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Occupied | 5 | 56 % | 0.990 m² | Rack H6, Floor Position = H6 | 0 | 42 | 0 | 0 | 42 | 0
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Occupied | 5 | 56 % | 0.990 m² | ODF G07, Floor Position = G7 | 44 | 46 | 44 | 23 | 46 | 23
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Occupied | 5 | 56 % | 0.990 m² | Rack G1, Floor Position = G1 | 24 | 42 | 24 | 11 | 42 | 11
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | G | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Free | 2 | 49 % | 1.578 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Occupied | 6 | 51 % | 1.640 m² | Rack H09, Floor Position = H9 | 13 | 47 | 13 | 3 | 47 | 3
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Occupied | 6 | 51 % | 1.640 m² | Rack H08, Floor Position = H8 | 23 | 47 | 23 | 19 | 47 | 19
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Occupied | 6 | 51 % | 1.640 m² | Rack H6, Floor Position = H6 | 0 | 42 | 0 | 0 | 42 | 0
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Occupied | 6 | 51 % | 1.640 m² | Rack H07, Floor Position = H7 | 23 | 46 | 23 | 20 | 46 | 20
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Occupied | 6 | 51 % | 1.640 m² | Rack GH05, Floor Position = G5 | 10 | 37 | 8 | 3 | 37 | 3
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Occupied | 6 | 51 % | 1.640 m² | Rack G1, Floor Position = G1 | 24 | 42 | 24 | 11 | 42 | 11
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | H | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | [6 empty] | Rack CDFN02; TEMP AC, Floor Position = unset | 43 | 47 | 43 | 43 | 47 | 43
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | [6 empty] | Rack CDFN02;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18
Room CDFN02 on Floor Ground Floor in Site CARDIFF TAN | 50038.00 W | 22500.00 W | 222 % | [6 empty] | Rack TEMP AC DIST BOARD, Floor Position = unset | 0 | 4 | 0 | 0 | 4 | 0