## Suite Line Capacity
Report generated for: | Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD
| Quantity | % of all area | Area
Total free sections: | 1/37 | 10 % | 0.752 m²
Total occupied sections: | 36/37 | 90 % | 6.462 m²
Total reserved sections: | 0/37 | 0 % | 0.000 m²
Total Lines Capability |  |  | 7.214 m²
Total Location Capability |  |  | 30.149 m²
Total Location Free Area |  |  | 23.327 m²
Total Location Occupied Area |  |  | 6.822 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Free | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Occupied | 6 | 100 % | 1.215 m² | ODF A1, Floor Position = A1 | 20 | 55 | 20 | 9 | 55 | 9
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Occupied | 6 | 100 % | 1.215 m² | Rack A2, Floor Position = A2 | 53 | 55 | 53 | 53 | 55 | 53
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Occupied | 6 | 100 % | 1.215 m² | Rack A3, Floor Position = A3 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Occupied | 6 | 100 % | 1.215 m² | Rack A4, Floor Position = A4 | 40 | 43 | 40 | 40 | 43 | 40
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Occupied | 6 | 100 % | 1.215 m² | Rack A05, Floor Position = A5 | 8 | 43 | 8 | 3 | 43 | 3
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Occupied | 6 | 100 % | 1.215 m² | Rack A06, Floor Position = A6 | 40 | 46 | 40 | 34 | 46 | 34
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | A | 6 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Free | 0 | 11 % | 0.114 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Occupied | 5 | 89 % | 0.921 m² | ODF CODF B1, Floor Position = B1 | 37 | 55 | 37 | 26 | 55 | 26
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Occupied | 5 | 89 % | 0.921 m² | Rack C4, Floor Position = B4 | 47 | 55 | 47 | 26 | 55 | 26
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Occupied | 5 | 89 % | 0.921 m² | Rack B2, Floor Position = B2 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Occupied | 5 | 89 % | 0.921 m² | Rack B3, Floor Position = B3 | 16 | 46 | 16 | 4 | 46 | 4
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Occupied | 5 | 89 % | 0.921 m² | Rack B6, Floor Position = B6 | 5 | 47 | 5 | 5 | 47 | 5
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | B | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Free | 0 | 3 % | 0.030 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Occupied | 6 | 97 % | 0.832 m² | Rack C1, Floor Position = C1 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Occupied | 6 | 97 % | 0.832 m² | Rack C5, Floor Position = C5 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Occupied | 6 | 97 % | 0.832 m² | Rack C2a, Floor Position = C2a | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Occupied | 6 | 97 % | 0.832 m² | Rack C2, Floor Position = C2 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Occupied | 6 | 97 % | 0.832 m² | Rack B3, Floor Position = B3 | 16 | 46 | 16 | 4 | 46 | 4
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Occupied | 6 | 97 % | 0.832 m² | Rack C6, Floor Position = C6 | 5 | 47 | 5 | 5 | 47 | 5
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Free | 0 | 11 % | 0.117 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Occupied | 5 | 89 % | 0.918 m² | Rack D1, Floor Position = D1 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Occupied | 5 | 89 % | 0.918 m² | Rack D2, Floor Position = D2 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Occupied | 5 | 89 % | 0.918 m² | Rack D3, Floor Position = D3 | 45 | 47 | 45 | 45 | 47 | 45
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Occupied | 5 | 89 % | 0.918 m² | Rack D4, Floor Position = D4 | 43 | 46 | 43 | 43 | 46 | 43
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Occupied | 5 | 89 % | 0.918 m² | Rack D5, Floor Position = D5 | 5 | 47 | 5 | 5 | 47 | 5
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | D | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Free | 0 | 13 % | 0.117 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Occupied | 5 | 87 % | 0.780 m² | Rack E1, Floor Position = E1 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Occupied | 5 | 87 % | 0.780 m² | Rack E2, Floor Position = E2 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Occupied | 5 | 87 % | 0.780 m² | Rack D3, Floor Position = D3 | 45 | 47 | 45 | 45 | 47 | 45
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Occupied | 5 | 87 % | 0.780 m² | Rack E4, Floor Position = E4 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Occupied | 5 | 87 % | 0.780 m² | Rack E5, Floor Position = E5 | 54 | 54 | 54 | 54 | 54 | 54
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | E | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Free | 0 | 4 % | 0.033 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Occupied | 5 | 96 % | 0.862 m² | Rack F1, Floor Position = F1 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Occupied | 5 | 96 % | 0.862 m² | Rack F4, Floor Position = F4 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Occupied | 5 | 96 % | 0.862 m² | Rack F2, Floor Position = F2 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Occupied | 5 | 96 % | 0.862 m² | Rack F3, Floor Position = F3 | 52 | 55 | 52 | 52 | 55 | 52
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Occupied | 5 | 96 % | 0.862 m² | Rack F5, Floor Position = F05 | 5 | 47 | 5 | 5 | 47 | 5
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | G | 5 | Free | 1 | 27 % | 0.341 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | G | 5 | Occupied | 4 | 73 % | 0.933 m² | Rack G1, Floor Position = G1 | 50 | 55 | 50 | 50 | 55 | 50
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | G | 5 | Occupied | 4 | 73 % | 0.933 m² | ODF G4, Floor Position = G4 | 44 | 46 | 44 | 23 | 46 | 23
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | G | 5 | Occupied | 4 | 73 % | 0.933 m² | Rack G2, Floor Position = G2 | 42 | 42 | 42 | 42 | 42 | 42
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | G | 5 | Occupied | 4 | 73 % | 0.933 m² | Rack G03, Floor Position = G3 | 7 | 44 | 7 | 1 | 44 | 1
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | G | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHDCD1 on Floor Ground Floor in Site CHESTERFIELD | 12159.00 W | 6000.00 W | 203 % | [6 empty] | Rack CHDCD1;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19