## Suite Line Capacity
Report generated for: | Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21
| Quantity | % of all area | Area
Total free sections: | 26/41 | 58 % | 5.120 m²
Total occupied sections: | 15/41 | 42 % | 3.760 m²
Total reserved sections: | 0/41 | 0 % | 0.000 m²
Total Lines Capability |  |  | 8.880 m²
Total Location Capability |  |  | 67.175 m²
Total Location Free Area |  |  | 63.055 m²
Total Location Occupied Area |  |  | 4.120 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | A | 4 | Free | 4 | 100 % | 0.720 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | A | 4 | Occupied | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | B | 7 | Free | 4 | 52 % | 0.880 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | B | 7 | Occupied | 3 | 48 % | 0.800 m² | Rack BC05, Floor Position = C5 | 16 | 47 | 16 | 5 | 47 | 5
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | B | 7 | Occupied | 3 | 48 % | 0.800 m² | Rack C7, Floor Position = C7 | 45 | 36 | 34 | 36 | 35 | 24
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | B | 7 | Occupied | 3 | 48 % | 0.800 m² | Rack B/C06, Floor Position = C6 | 15 | 38 | 15 | 10 | 36 | 10
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | C | 7 | Free | 4 | 52 % | 0.880 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | C | 7 | Occupied | 3 | 48 % | 0.800 m² | Rack BC05, Floor Position = C5 | 16 | 47 | 16 | 5 | 47 | 5
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | C | 7 | Occupied | 3 | 48 % | 0.800 m² | Rack C7, Floor Position = C7 | 45 | 36 | 34 | 36 | 35 | 24
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | C | 7 | Occupied | 3 | 48 % | 0.800 m² | Rack B/C06, Floor Position = C6 | 15 | 38 | 15 | 10 | 36 | 10
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | C | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | D | 6 | Free | 2 | 29 % | 0.360 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | D | 6 | Occupied | 4 | 71 % | 0.900 m² | Rack D05, Floor Position = D5 | 36 | 46 | 36 | 33 | 46 | 33
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | D | 6 | Occupied | 4 | 71 % | 0.900 m² | ODF D03, Floor Position = D3 | 44 | 46 | 44 | 23 | 46 | 23
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | D | 6 | Occupied | 4 | 71 % | 0.900 m² | Rack D4, Floor Position = D4 | 22 | 44 | 22 | 20 | 44 | 20
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | D | 6 | Occupied | 4 | 71 % | 0.900 m² | ODF D01, Floor Position = D1 | 41 | 46 | 41 | 40 | 46 | 40
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | E | 6 | Free | 2 | 29 % | 0.360 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | E | 6 | Occupied | 4 | 71 % | 0.900 m² | Rack E5, Floor Position = E5 | 29 | 46 | 29 | 28 | 46 | 28
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | E | 6 | Occupied | 4 | 71 % | 0.900 m² | ODF CODF E03, Floor Position = E3 | 24 | 47 | 24 | 15 | 47 | 15
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | E | 6 | Occupied | 4 | 71 % | 0.900 m² | Rack E4, Floor Position = E4 | 22 | 44 | 22 | 20 | 44 | 20
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | E | 6 | Occupied | 4 | 71 % | 0.900 m² | ODF E01, Floor Position = E1 | 27 | 46 | 27 | 24 | 46 | 24
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | F | 5 | Free | 5 | 100 % | 0.900 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | F | 5 | Occupied | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | G | 5 | Free | 5 | 100 % | 0.900 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | G | 5 | Occupied | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | G | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | H | 1 | Free | 0 | 25 % | 0.120 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | H | 1 | Occupied | 1 | 75 % | 0.360 m² | Rack H1, Floor Position = H1 | 5 | 47 | 5 | 5 | 47 | 5
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | H | 1 | Reserved | 0 | 0 % | 0.000 m²
Room CHMN21 on Floor Ground Floor in Site CHELTENHAM N21 | 14500.50 W | 11250.00 W | 129 % | [6 empty] | Rack CHMN21;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18