## Suite Line Capacity
Report generated for: | Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER
| Quantity | % of all area | Area
Total free sections: | 32/86 | 55 % | 17.708 m²
Total occupied sections: | 54/86 | 45 % | 14.604 m²
Total reserved sections: | 0/86 | 0 % | 0.000 m²
Total Lines Capability |  |  | 32.313 m²
Total Location Capability |  |  | 467.360 m²
Total Location Free Area |  |  | 452.755 m²
Total Location Occupied Area |  |  | 14.604 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Free | 4 | 41 % | 0.825 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | Rack A3, Floor Position = A3 | 42 | 42 | 42 | 42 | 42 | 42
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | ODF CODF A01, Floor Position = A1 | 30 | 44 | 30 | 25 | 44 | 25
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | Rack A2, Floor Position = A2 | 41 | 44 | 41 | 41 | 44 | 41
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | Rack A4, Floor Position = A4 | 28 | 41 | 26 | 24 | 27 | 23
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | Rack A5, Floor Position = A5 | 43 | 46 | 43 | 43 | 46 | 43
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Occupied | 7 | 59 % | 1.200 m² | Rack A6, Floor Position = A6 | 41 | 44 | 41 | 41 | 44 | 41
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | A | 11 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | B | 11 | Free | 8 | 79 % | 1.590 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | B | 11 | Occupied | 3 | 21 % | 0.435 m² | Rack A3, Floor Position = A3 | 42 | 42 | 42 | 42 | 42 | 42
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | B | 11 | Occupied | 3 | 21 % | 0.435 m² | Rack A4, Floor Position = A4 | 28 | 41 | 26 | 24 | 27 | 23
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | B | 11 | Occupied | 3 | 21 % | 0.435 m² | Rack B5, Floor Position = B5 | 42 | 44 | 42 | 42 | 44 | 42
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | B | 11 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Free | 2 | 20 % | 0.570 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | ODF C2, Floor Position = C2 | 44 | 44 | 44 | 44 | 44 | 44
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C3, Floor Position = C3 | 31 | 46 | 31 | 27 | 46 | 27
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C6, Floor Position = C6 | 43 | 46 | 43 | 43 | 46 | 43
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C5, Floor Position = C5 | 16 | 42 | 16 | 13 | 42 | 13
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C7, Floor Position = C7 | 43 | 46 | 43 | 43 | 46 | 43
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C12, Floor Position = C12 | 22 | 44 | 22 | 21 | 44 | 21
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C8, Floor Position = C8 | 20 | 44 | 20 | 19 | 44 | 19
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C10, Floor Position = C10 | 18 | 44 | 18 | 17 | 44 | 17
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C9, Floor Position = C09 | 20 | 42 | 20 | 18 | 42 | 18
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C11, Floor Position = C11 | 39 | 44 | 39 | 34 | 44 | 34
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Occupied | 12 | 80 % | 2.310 m² | Rack C13, Floor Position = C13 | 27 | 44 | 27 | 24 | 44 | 24
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | C | 14 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Free | 2 | 49 % | 2.330 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | ODF D2, Floor Position = D2 | 44 | 44 | 44 | 44 | 44 | 44
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack C3, Floor Position = C3 | 31 | 46 | 31 | 27 | 46 | 27
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack D6, Floor Position = D6 | 44 | 46 | 44 | 44 | 46 | 44
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack C5, Floor Position = C5 | 16 | 42 | 16 | 13 | 42 | 13
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack D7, Floor Position = D7 | 36 | 47 | 36 | 34 | 47 | 34
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack D12, Floor Position = D12 | 16 | 45 | 16 | 16 | 45 | 16
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | Rack D8, Floor Position = D8 | 13 | 46 | 13 | 6 | 46 | 6
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | ODF D10, Floor Position = D10 | 43 | 46 | 43 | 22 | 46 | 22
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Occupied | 10 | 51 % | 2.470 m² | ODF D09, Floor Position = D9 | 43 | 46 | 43 | 22 | 46 | 22
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | D | 12 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Free | 4 | 50 % | 2.160 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack E3, Floor Position = E3 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack E1, Floor Position = E1 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack E2, Floor Position = E2 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack E5, Floor Position = E05 | 27 | 42 | 27 | 26 | 42 | 26
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack E4, Floor Position = E4 | 39 | 47 | 39 | 36 | 47 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack E6, Floor Position = E6 | 39 | 47 | 39 | 36 | 47 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Free | 4 | 50 % | 2.160 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack F3, Floor Position = F3 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack F1, Floor Position = F1 | 39 | 47 | 39 | 36 | 47 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack F2, Floor Position = F2 | 29 | 42 | 29 | 28 | 42 | 28
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack F5, Floor Position = F5 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack F4, Floor Position = F4 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Occupied | 6 | 50 % | 2.160 m² | Rack F6, Floor Position = F6 | 36 | 42 | 36 | 36 | 42 | 36
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | F | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | G | 1 | Free | 0 | 11 % | 0.033 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | G | 1 | Occupied | 1 | 89 % | 0.270 m² | ODF Amitie ODF-CKNN03, Floor Position = G1 | 28 | 47 | 28 | 20 | 47 | 20
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | G | 1 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | H | 10 | Free | 8 | 88 % | 8.040 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | H | 10 | Occupied | 2 | 12 % | 1.080 m² | Rack H9, Floor Position = H9 | 0 | 47 | 0 | 0 | 47 | 0
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | H | 10 | Occupied | 2 | 12 % | 1.080 m² | Rack H9a, Floor Position = H9a | 0 | 47 | 0 | 0 | 47 | 0
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | H | 10 | Occupied | 2 | 12 % | 1.080 m² | Rack H13, Floor Position = H13 | 43 | 46 | 43 | 43 | 46 | 43
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Free | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Occupied | 5 | 100 % | 1.800 m² | Rack J5, Floor Position = J5 | 47 | 47 | 47 | 47 | 47 | 47
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Occupied | 5 | 100 % | 1.800 m² | Rack J4, Floor Position = J4 | 47 | 47 | 47 | 47 | 47 | 47
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Occupied | 5 | 100 % | 1.800 m² | Rack J2, Floor Position = J2 | 44 | 44 | 44 | 44 | 44 | 44
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Occupied | 5 | 100 % | 1.800 m² | Rack J3, Floor Position = J3 | 44 | 44 | 44 | 44 | 44 | 44
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Occupied | 5 | 100 % | 1.800 m² | Rack CKNN03-DCSYS01a, Floor Position = J1 | 16 | 46 | 16 | 15 | 25 | 15
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | J | 5 | Reserved | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | K | 2 | Free | 0 | 0 % | 0.000 m²
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | K | 2 | Occupied | 2 | 100 % | 0.720 m² | Rack CKNN03-DCSYS01b, Floor Position = K1 | 19 | 46 | 19 | 18 | 25 | 18
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | K | 2 | Occupied | 2 | 100 % | 0.720 m² | Rack K2, Floor Position = K2 | 42 | 42 | 42 | 42 | 42 | 42
Room CKNN03 on Floor Ground Floor in Site CREWKERNE REPEATER | 34686.00 W | 112500.00 W | 31 % | K | 2 | Reserved | 0 | 0 % | 0.000 m²