## Suite Line Capacity
Report generated for: | Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2
| Quantity | % of all area | Area
Total free sections: | 7/31 | 30 % | 1.917 m²
Total occupied sections: | 24/31 | 70 % | 4.503 m²
Total reserved sections: | 0/31 | 0 % | 0.000 m²
Total Lines Capability |  |  | 6.420 m²
Total Location Capability |  |  | 21.595 m²
Total Location Free Area |  |  | 17.092 m²
Total Location Occupied Area |  |  | 4.503 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Free | 0 | 25 % | 0.540 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack 1A, Floor Position = 1A | 5 | 47 | 5 | 5 | 47 | 5
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack 1C, Floor Position = 1C | 47 | 47 | 47 | 47 | 47 | 47
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack COWL02;DC SYS01, Floor Position = 1B | 21 | 46 | 21 | 20 | 25 | 20
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack 1E, Floor Position = 1E | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack 1F, Floor Position = 1F | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack 1H, Floor Position = 1H | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | ODF 1J, Floor Position = 1J | 22 | 24 | 22 | 18 | 20 | 18
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Occupied | 8 | 75 % | 1.620 m² | Rack 1G, Floor Position = 1G | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 1 | 8 | Reserved | 0 | 0 % | 0.000 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Free | 2 | 29 % | 0.360 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack 2C, Floor Position = 2C | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack 2D, Floor Position = 2D | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack 2/3B, Floor Position = 2B | 22 | 47 | 22 | 6 | 47 | 6
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack 2H, Floor Position = 2H | 8 | 44 | 8 | 5 | 44 | 5
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Occupied | 5 | 71 % | 0.900 m² | Rack 2G, Floor Position = 2G | 24 | 47 | 24 | 14 | 47 | 14
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 2 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 3 | 7 | Free | 3 | 43 % | 0.540 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 3 | 7 | Occupied | 4 | 57 % | 0.720 m² | Rack 3C, Floor Position = 3C | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 3 | 7 | Occupied | 4 | 57 % | 0.720 m² | Rack 2/3B, Floor Position = 2B | 22 | 47 | 22 | 6 | 47 | 6
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 3 | 7 | Occupied | 4 | 57 % | 0.720 m² | Rack 3H, Floor Position = 3H | 47 | 47 | 47 | 47 | 47 | 47
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 3 | 7 | Occupied | 4 | 57 % | 0.720 m² | Rack 3G, Floor Position = 3G | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 3 | 7 | Reserved | 0 | 0 % | 0.000 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Free | 2 | 27 % | 0.477 m²
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | Rack 4A, Floor Position = 4A | 5 | 47 | 5 | 5 | 47 | 5
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | Rack 4K, Floor Position = 4K | 35 | 35 | 35 | 35 | 35 | 35
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | Rack 4J, Floor Position = 4J | 25 | 47 | 25 | 12 | 47 | 12
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | ODF CODF 4B, Floor Position = 4B | 34 | 47 | 34 | 18 | 47 | 18
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | Rack 4E, Floor Position = 4E | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | Rack 4D, Floor Position = 4D | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Occupied | 7 | 73 % | 1.263 m² | Rack 4F, Floor Position = 4F | 44 | 47 | 44 | 44 | 47 | 44
Room COWL02 on Floor Ground Floor in Site COWLEY EAM 2 | 11502.50 W | 10500.00 W | 110 % | 4 | 9 | Reserved | 0 | 0 % | 0.000 m²