## Suite Line Capacity
Report generated for: | Room CSLN13 on Floor Ground Floor in Site CARLISLE
| Quantity | % of all area | Area
Total free sections: | 10/31 | 41 % | 3.379 m²
Total occupied sections: | 21/31 | 59 % | 4.798 m²
Total reserved sections: | 0/31 | 0 % | 0.000 m²
Total Lines Capability |  |  | 8.177 m²
Total Location Capability |  |  | 34.617 m²
Total Location Free Area |  |  | 29.458 m²
Total Location Occupied Area |  |  | 5.158 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Free | 1 | 33 % | 0.780 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | ODF CODF A06, Floor Position = A6 | 41 | 47 | 41 | 30 | 47 | 30
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | Rack A07, Floor Position = A7 | 31 | 46 | 31 | 22 | 46 | 22
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | Rack A8, Floor Position = A8 | 43 | 46 | 43 | 43 | 46 | 43
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | Rack A9, Floor Position = A9 | 27 | 46 | 27 | 17 | 46 | 17
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | Rack A4, Floor Position = A4 | 25 | 44 | 25 | 23 | 44 | 23
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | Rack A5, Floor Position = A5 | 9 | 44 | 9 | 5 | 44 | 5
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Occupied | 7 | 67 % | 1.560 m² | ODF A01, Floor Position = A1 | 12 | 46 | 12 | 11 | 46 | 11
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | B | 8 | Free | 4 | 61 % | 1.312 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | B | 8 | Occupied | 4 | 39 % | 0.842 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | B | 8 | Occupied | 4 | 39 % | 0.842 m² | Rack B1, Floor Position = B1 | 23 | 47 | 23 | 23 | 47 | 23
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | B | 8 | Occupied | 4 | 39 % | 0.842 m² | Rack BC03, Floor Position = B3 | 40 | 39 | 32 | 28 | 31 | 21
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | B | 8 | Occupied | 4 | 39 % | 0.842 m² | Rack BC02, Floor Position = B2 | 37 | 39 | 30 | 24 | 31 | 24
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Free | 3 | 39 % | 0.837 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Occupied | 5 | 61 % | 1.317 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Occupied | 5 | 61 % | 1.317 m² | Rack B1, Floor Position = B1 | 23 | 47 | 23 | 23 | 47 | 23
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Occupied | 5 | 61 % | 1.317 m² | Rack BC03, Floor Position = B3 | 40 | 39 | 32 | 28 | 31 | 21
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Occupied | 5 | 61 % | 1.317 m² | Rack C04, Floor Position = C4 | 35 | 47 | 35 | 17 | 47 | 17
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Occupied | 5 | 61 % | 1.317 m² | Rack BC02, Floor Position = B2 | 37 | 39 | 30 | 24 | 31 | 24
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | C | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Free | 2 | 29 % | 0.450 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Occupied | 5 | 71 % | 1.080 m² | ODF D01, Floor Position = D01 | 15 | 46 | 15 | 15 | 46 | 15
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Occupied | 5 | 71 % | 1.080 m² | ODF D06, Floor Position = D06 | 43 | 46 | 43 | 30 | 46 | 30
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack D07, Floor Position = D07 | 35 | 46 | 35 | 26 | 46 | 26
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack D4, Floor Position = D04 | 23 | 44 | 23 | 20 | 44 | 20
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Occupied | 5 | 71 % | 1.080 m² | Rack D5, Floor Position = D05 | 8 | 44 | 8 | 6 | 44 | 6
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room CSLN13 on Floor Ground Floor in Site CARLISLE | 25216.50 W | 30000.00 W | 84 % | [6 empty] | Rack CSLN13;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19