## Suite Line Capacity
Report generated for: | Room CTRTK1 on Floor Ground Floor in Site CHESTER
| Quantity | % of all area | Area
Total free sections: | 6/56 | 21 % | 2.694 m²
Total occupied sections: | 50/56 | 79 % | 10.068 m²
Total reserved sections: | 0/56 | 0 % | 0.000 m²
Total Lines Capability |  |  | 12.762 m²
Total Location Capability |  |  | 70.050 m²
Total Location Free Area |  |  | 59.622 m²
Total Location Occupied Area |  |  | 10.428 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Free | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A1, Floor Position = A1 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A5, Floor Position = A5 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A6, Floor Position = A6 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A7, Floor Position = A7 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A8, Floor Position = A8 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A3, Floor Position = A3 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A2, Floor Position = A2 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Occupied | 8 | 100 % | 1.872 m² | Rack A4, Floor Position = A4 | 47 | 47 | 47 | 47 | 47 | 47
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Free | 1 | 15 % | 0.300 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack B0, Floor Position = B0 | 0 | 42 | 0 | 0 | 42 | 0
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack B2, Floor Position = B2 | 45 | 45 | 45 | 45 | 45 | 45
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack B04, Floor Position = B4 | 21 | 44 | 21 | 17 | 44 | 17
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack B5, Floor Position = B5 | 23 | 44 | 23 | 20 | 44 | 20
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack B3, Floor Position = B3 | 39 | 45 | 39 | 39 | 45 | 39
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack B1, Floor Position = B1 | 45 | 45 | 45 | 45 | 45 | 45
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack C06, Floor Position = B6 | 39 | 45 | 39 | 27 | 45 | 27
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Occupied | 8 | 85 % | 1.740 m² | Rack BC07, Floor Position = B7 | 32 | 47 | 32 | 28 | 47 | 28
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Free | 0 | 30 % | 0.920 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack B0, Floor Position = B0 | 0 | 42 | 0 | 0 | 42 | 0
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack C2, Floor Position = C2 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack B3, Floor Position = B3 | 39 | 45 | 39 | 39 | 45 | 39
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | ODF CODF C04, Floor Position = C4 | 44 | 46 | 44 | 30 | 46 | 30
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack C1, Floor Position = C1 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack B8, Floor Position = B8 | 38 | 47 | 38 | 36 | 47 | 36
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack C5, Floor Position = C5 | 35 | 46 | 35 | 29 | 46 | 29
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack C06, Floor Position = B6 | 39 | 45 | 39 | 27 | 45 | 27
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Occupied | 9 | 70 % | 2.140 m² | Rack BC07, Floor Position = B7 | 32 | 47 | 32 | 28 | 47 | 28
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Free | 0 | 2 % | 0.030 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D1, Floor Position = D1 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D2, Floor Position = D2 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D6, Floor Position = D6 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D5, Floor Position = D5 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D4, Floor Position = D4 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D3, Floor Position = D3 | 40 | 45 | 40 | 26 | 45 | 26
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D9, Floor Position = D9 | 44 | 47 | 44 | 44 | 47 | 44
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D8, Floor Position = D8 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D7, Floor Position = D7 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | D | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Free | 0 | 2 % | 0.030 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D1, Floor Position = D1 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D2, Floor Position = D2 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D5, Floor Position = D5 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D6, Floor Position = D6 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D3, Floor Position = D3 | 40 | 45 | 40 | 26 | 45 | 26
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D4, Floor Position = D4 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D9, Floor Position = D9 | 44 | 47 | 44 | 44 | 47 | 44
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D8, Floor Position = D8 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Occupied | 10 | 98 % | 1.875 m² | Rack D7, Floor Position = D7 | 42 | 45 | 42 | 42 | 45 | 42
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | F | 10 | Free | 5 | 71 % | 1.414 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | F | 10 | Occupied | 5 | 29 % | 0.566 m² | ODF F2, Floor Position = F02 | 29 | 47 | 29 | 29 | 47 | 29
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | F | 10 | Occupied | 5 | 29 % | 0.566 m² | Rack F2A, Floor Position = F2A | 5 | 47 | 5 | 5 | 47 | 5
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | F | 10 | Occupied | 5 | 29 % | 0.566 m² | ODF F9, Floor Position = F09 | 3 | 47 | 3 | 3 | 47 | 3
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | F | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTK1 on Floor Ground Floor in Site CHESTER | 12200.50 W | 16875.00 W | 72 % | [6 empty] | Rack CTRTK1;DC SYS01, Floor Position = Temp Mig | 24 | 46 | 24 | 24 | 25 | 24