## Suite Line Capacity
Report generated for: | Room CTRTS1 on Floor Ground Floor in Site CHESTER POP
| Quantity | % of all area | Area
Total free sections: | 41/100 | 51 % | 12.552 m²
Total occupied sections: | 59/100 | 49 % | 11.984 m²
Total reserved sections: | 0/100 | 0 % | 0.000 m²
Total Lines Capability |  |  | 24.536 m²
Total Location Capability |  |  | 107.676 m²
Total Location Free Area |  |  | 95.511 m²
Total Location Occupied Area |  |  | 12.164 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | A | 8 | Free | 8 | 100 % | 2.640 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | A | 8 | Occupied | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | B | 8 | Free | 8 | 100 % | 2.640 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | B | 8 | Occupied | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | B | 8 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Free | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C2, Floor Position = C2 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C1, Floor Position = C1 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C3, Floor Position = C3 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C4, Floor Position = C4 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C6, Floor Position = C6 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C5, Floor Position = C5 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C7, Floor Position = C7 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C9, Floor Position = C9 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack C8, Floor Position = C8 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Free | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D2, Floor Position = D2 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D1, Floor Position = D1 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D3, Floor Position = D3 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D4, Floor Position = D4 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D6, Floor Position = D6 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D5, Floor Position = D5 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D7, Floor Position = D7 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D9, Floor Position = D9 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Occupied | 9 | 100 % | 1.822 m² | Rack D8, Floor Position = D8 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | D | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Free | 2 | 30 % | 0.681 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack E2, Floor Position = E2 | 44 | 47 | 44 | 44 | 47 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | ODF E01, Floor Position = E1 | 16 | 47 | 16 | 14 | 47 | 14
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack E4, Floor Position = E4 | 41 | 44 | 41 | 41 | 44 | 41
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack E3, Floor Position = E3 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack E5, Floor Position = E5 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack E7, Floor Position = E7 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack E6, Floor Position = E6 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Occupied | 8 | 70 % | 1.597 m² | Rack EF10, Floor Position = E10 | 5 | 33 | 4 | 4 | 33 | 3
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | E | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Free | 4 | 56 % | 1.266 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Occupied | 5 | 44 % | 1.013 m² | Rack E2, Floor Position = E2 | 44 | 47 | 44 | 44 | 47 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Occupied | 5 | 44 % | 1.013 m² | Rack F4, Floor Position = F4 | 42 | 44 | 42 | 27 | 44 | 27
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Occupied | 5 | 44 % | 1.013 m² | Rack F3, Floor Position = F3 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Occupied | 5 | 44 % | 1.013 m² | Rack F05, Floor Position = F5 | 37 | 44 | 37 | 21 | 44 | 21
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Occupied | 5 | 44 % | 1.013 m² | ODF CODF F06, Floor Position = F6 | 39 | 47 | 39 | 27 | 47 | 27
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | F | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Free | 4 | 56 % | 1.485 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Occupied | 5 | 44 % | 1.155 m² | Rack H2, Floor Position = G2 | 37 | 35 | 27 | 18 | 16 | 16
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Occupied | 5 | 44 % | 1.155 m² | ODF G03, Floor Position = G3 | 45 | 47 | 45 | 24 | 47 | 24
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Occupied | 5 | 44 % | 1.155 m² | Rack G05, Floor Position = G5 | 35 | 47 | 35 | 28 | 47 | 28
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Occupied | 5 | 44 % | 1.155 m² | Rack G8, Floor Position = G8 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Occupied | 5 | 44 % | 1.155 m² | Rack H10, Floor Position = H10 | 0 | 42 | 0 | 0 | 42 | 0
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | G | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Free | 4 | 45 % | 0.900 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Occupied | 6 | 55 % | 1.080 m² | Rack H2, Floor Position = G2 | 37 | 35 | 27 | 18 | 16 | 16
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Occupied | 6 | 55 % | 1.080 m² | Rack H03, Floor Position = H3 | 10 | 44 | 10 | 5 | 44 | 5
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Occupied | 6 | 55 % | 1.080 m² | Rack H04, Floor Position = H4 | 22 | 44 | 22 | 20 | 44 | 20
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Occupied | 6 | 55 % | 1.080 m² | Rack H05, Floor Position = H5 | 37 | 44 | 37 | 37 | 44 | 37
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Occupied | 6 | 55 % | 1.080 m² | Rack H8, Floor Position = H8 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Occupied | 6 | 55 % | 1.080 m² | Rack H10, Floor Position = H10 | 0 | 42 | 0 | 0 | 42 | 0
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Free | 0 | 19 % | 0.480 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I2, Floor Position = I2 | 34 | 47 | 34 | 25 | 47 | 25
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I/J 01, Floor Position = I1 | 23 | 43 | 21 | 13 | 25 | 13
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I4, Floor Position = I4 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I3, Floor Position = I3 | 44 | 47 | 44 | 44 | 47 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I5, Floor Position = I5 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I/J09, Floor Position = J9 | 31 | 47 | 31 | 27 | 47 | 27
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I7, Floor Position = I7 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I6, Floor Position = I6 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Occupied | 9 | 81 % | 1.995 m² | Rack I/J08, Floor Position = J8 | 18 | 43 | 17 | 11 | 38 | 11
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | I | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Free | 1 | 24 % | 0.480 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack I2, Floor Position = I2 | 34 | 47 | 34 | 25 | 47 | 25
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack I/J 01, Floor Position = I1 | 23 | 43 | 21 | 13 | 25 | 13
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack J4, Floor Position = J4 | 42 | 44 | 42 | 42 | 44 | 42
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack I3, Floor Position = I3 | 44 | 47 | 44 | 44 | 47 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack J5, Floor Position = J5 | 41 | 44 | 41 | 41 | 44 | 41
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack I/J09, Floor Position = J9 | 31 | 47 | 31 | 27 | 47 | 27
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack J7, Floor Position = J7 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Occupied | 8 | 76 % | 1.500 m² | Rack J6, Floor Position = J6 | 44 | 44 | 44 | 44 | 44 | 44
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | J | 9 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | K | 10 | Free | 10 | 100 % | 1.980 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | K | 10 | Occupied | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | K | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CTRTS1 on Floor Ground Floor in Site CHESTER POP | 15635.00 W | 18750.00 W | 83 % | [6 empty] | Rack DUMMY LOAD DU CAB, Floor Position = unset | 40 | 44 | 40 | 38 | 44 | 38