## Suite Line Capacity
Report generated for: | Room CYNTN2 on Floor Ground Floor in Site CROYDON
| Quantity | % of all area | Area
Total free sections: | 19/95 | 32 % | 6.710 m²
Total occupied sections: | 76/95 | 68 % | 14.588 m²
Total reserved sections: | 0/95 | 0 % | 0.000 m²
Total Lines Capability |  |  | 21.299 m²
Total Location Capability |  |  | 90.596 m²
Total Location Free Area |  |  | 76.007 m²
Total Location Occupied Area |  |  | 14.588 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Free | 1 | 4 % | 0.090 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A11, Floor Position = A11 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A10, Floor Position = A10 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A5, Floor Position = A5 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A9, Floor Position = A9 | 52 | 56 | 52 | 52 | 56 | 52
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A7, Floor Position = A7 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A8, Floor Position = A8 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A6, Floor Position = A6 | 41 | 46 | 41 | 41 | 46 | 41
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | ODF A02, Floor Position = A2 | 7 | 56 | 7 | 4 | 56 | 4
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A3, Floor Position = A3 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A4, Floor Position = A4 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | ODF A01, Floor Position = A1 | 3 | 56 | 3 | 2 | 56 | 2
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Occupied | 12 | 96 % | 2.205 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | A | 13 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | B | 10 | Free | 10 | 100 % | 2.295 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | B | 10 | Occupied | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | B | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Free | 0 | 11 % | 0.246 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C9, Floor Position = C9 | 42 | 42 | 42 | 42 | 42 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C8, Floor Position = C8 | 42 | 42 | 42 | 42 | 42 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C4, Floor Position = C4 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C7, Floor Position = C7 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C6, Floor Position = C6 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C5, Floor Position = C5 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C2, Floor Position = C2 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C3, Floor Position = C3 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C1, Floor Position = C1 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Occupied | 10 | 89 % | 1.950 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Free | 0 | 13 % | 0.291 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack C9, Floor Position = C9 | 42 | 42 | 42 | 42 | 42 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack C8, Floor Position = C8 | 42 | 42 | 42 | 42 | 42 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D7, Floor Position = D7 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D6, Floor Position = D6 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D5, Floor Position = D5 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D2, Floor Position = D2 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D3, Floor Position = D3 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D4, Floor Position = D4 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D1, Floor Position = D1 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Occupied | 10 | 87 % | 1.905 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | D | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Free | 0 | 6 % | 0.150 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E11, Floor Position = E11 | 13 | 28 | 8 | 8 | 22 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E12, Floor Position = E12 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E5, Floor Position = E5 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E9, Floor Position = E9 | 37 | 47 | 37 | 37 | 47 | 37
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E8, Floor Position = E8 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E7, Floor Position = E7 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E6, Floor Position = E6 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E2, Floor Position = E2 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E4, Floor Position = E4 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E3, Floor Position = E3 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E1, Floor Position = E1 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Occupied | 12 | 94 % | 2.235 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | E | 12 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Free | 0 | 23 % | 0.537 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack E11, Floor Position = E11 | 13 | 28 | 8 | 8 | 22 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F12, Floor Position = F12 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F8, Floor Position = F8 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F9, Floor Position = F9 | 43 | 46 | 43 | 43 | 46 | 43
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F7, Floor Position = F7 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F6, Floor Position = F6 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F5, Floor Position = F5 | 51 | 56 | 51 | 51 | 56 | 51
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F4, Floor Position = F4 | 51 | 56 | 51 | 51 | 56 | 51
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F3, Floor Position = F3 | 51 | 56 | 51 | 51 | 56 | 51
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F1, Floor Position = F1 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Occupied | 11 | 77 % | 1.836 m² | Rack F0, Floor Position = F0 | 5 | 47 | 5 | 5 | 47 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Free | 4 | 46 % | 0.990 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Occupied | 6 | 54 % | 1.170 m² | Rack G5, Floor Position = G5 | 42 | 47 | 42 | 42 | 47 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Occupied | 6 | 54 % | 1.170 m² | Rack G6, Floor Position = G6 | 45 | 48 | 45 | 45 | 48 | 45
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Occupied | 6 | 54 % | 1.170 m² | Rack G3, Floor Position = G3 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Occupied | 6 | 54 % | 1.170 m² | Rack G4, Floor Position = G4 | 42 | 47 | 42 | 42 | 47 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Occupied | 6 | 54 % | 1.170 m² | Rack G2, Floor Position = G2 | 17 | 42 | 17 | 7 | 42 | 7
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Occupied | 6 | 54 % | 1.170 m² | Rack G1, Floor Position = G1 | 43 | 46 | 43 | 43 | 46 | 43
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | G | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Free | 4 | 57 % | 1.650 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Occupied | 6 | 43 % | 1.230 m² | ODF H5, Floor Position = H5 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Occupied | 6 | 43 % | 1.230 m² | ODF H6, Floor Position = H6 | 47 | 47 | 47 | 47 | 47 | 47
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Occupied | 6 | 43 % | 1.230 m² | Rack H03, Floor Position = H3 | 9 | 56 | 9 | 4 | 56 | 4
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Occupied | 6 | 43 % | 1.230 m² | Rack H4, Floor Position = H4 | 53 | 56 | 53 | 53 | 56 | 53
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Occupied | 6 | 43 % | 1.230 m² | Rack G2, Floor Position = G2 | 17 | 42 | 17 | 7 | 42 | 7
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Occupied | 6 | 43 % | 1.230 m² | Rack H1, Floor Position = H1 | 43 | 46 | 43 | 43 | 46 | 43
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Free | 0 | 18 % | 0.460 m²
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J1, Floor Position = J01 | 5 | 47 | 5 | 5 | 47 | 5
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J2, Floor Position = J02 | 42 | 45 | 42 | 42 | 45 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J3, Floor Position = J03 | 42 | 45 | 42 | 42 | 45 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J4, Floor Position = J04 | 42 | 45 | 42 | 42 | 45 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | ODF J09, Floor Position = J09 | 17 | 45 | 17 | 10 | 45 | 10
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J8, Floor Position = J08 | 44 | 44 | 44 | 44 | 44 | 44
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J7, Floor Position = J07 | 43 | 46 | 43 | 43 | 46 | 43
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J6, Floor Position = J06 | 42 | 45 | 42 | 42 | 45 | 42
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Occupied | 9 | 82 % | 2.058 m² | Rack J05, Floor Position = unset | 6 | 45 | 6 | 1 | 45 | 1
Room CYNTN2 on Floor Ground Floor in Site CROYDON | 5200.00 W | 27000.00 W | 19 % | J | 9 | Reserved | 0 | 0 % | 0.000 m²