## Suite Line Capacity
Report generated for: | Room DBY on Floor Ground Floor in Site DERBY
| Quantity | % of all area | Area
Total free sections: | 24/107 | 27 % | 6.222 m²
Total occupied sections: | 83/107 | 73 % | 16.420 m²
Total reserved sections: | 0/107 | 0 % | 0.000 m²
Total Lines Capability |  |  | 22.642 m²
Total Location Capability |  |  | 117.658 m²
Total Location Free Area |  |  | 101.238 m²
Total Location Occupied Area |  |  | 16.420 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Free | 3 | 30 % | 0.553 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Occupied | 6 | 70 % | 1.318 m² | Rack A7, Floor Position = A7 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Occupied | 6 | 70 % | 1.318 m² | Rack A9, Floor Position = A9 | 45 | 54 | 45 | 43 | 54 | 43
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Occupied | 6 | 70 % | 1.318 m² | Rack A8, Floor Position = A8 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Occupied | 6 | 70 % | 1.318 m² | Rack A6, Floor Position = A6 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Occupied | 6 | 70 % | 1.318 m² | Rack A4, Floor Position = A4 | 52 | 54 | 52 | 52 | 54 | 52
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Occupied | 6 | 70 % | 1.318 m² | ODF A1, Floor Position = A1 | 41 | 54 | 41 | 24 | 54 | 24
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Free | 0 | 7 % | 0.126 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B6, Floor Position = B6 | 53 | 56 | 53 | 53 | 56 | 53
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B8, Floor Position = B8 | 53 | 56 | 53 | 53 | 56 | 53
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B9, Floor Position = B9 | 53 | 56 | 53 | 53 | 56 | 53
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B3, Floor Position = B3 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B5, Floor Position = B5 | 31 | 54 | 31 | 30 | 54 | 30
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B4, Floor Position = B4 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B1, Floor Position = B1 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B2, Floor Position = B2 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Occupied | 9 | 93 % | 1.575 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | C | 2 | Free | 0 | 30 % | 0.232 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | C | 2 | Occupied | 2 | 70 % | 0.540 m² | Rack C1, Floor Position = C1 | 43 | 43 | 43 | 43 | 43 | 43
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | C | 2 | Occupied | 2 | 70 % | 0.540 m² | Rack CD02, Floor Position = C2 | 28 | 33 | 28 | 20 | 33 | 20
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | C | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | CC | 8 | Free | 6 | 68 % | 1.164 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | CC | 8 | Occupied | 2 | 32 % | 0.540 m² | Rack CC3, Floor Position = CC3 | 53 | 56 | 53 | 53 | 56 | 53
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | CC | 8 | Occupied | 2 | 32 % | 0.540 m² | Rack CC1, Floor Position = CC1 | 40 | 42 | 40 | 40 | 42 | 40
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | CC | 8 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | D | 3 | Free | 0 | 15 % | 0.084 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | D | 3 | Occupied | 3 | 85 % | 0.495 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | D | 3 | Occupied | 3 | 85 % | 0.495 m² | Rack D1, Floor Position = D1 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | D | 3 | Occupied | 3 | 85 % | 0.495 m² | Rack CD02, Floor Position = C2 | 28 | 33 | 28 | 20 | 33 | 20
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | D | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | DD | 8 | Free | 6 | 68 % | 1.164 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | DD | 8 | Occupied | 2 | 32 % | 0.540 m² | Rack DD3, Floor Position = DD3 | 53 | 56 | 53 | 53 | 56 | 53
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | DD | 8 | Occupied | 2 | 32 % | 0.540 m² | Rack CC1, Floor Position = CC1 | 40 | 42 | 40 | 40 | 42 | 40
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | DD | 8 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | E | 4 | Free | 0 | 6 % | 0.059 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | E | 4 | Occupied | 4 | 94 % | 0.914 m² | Rack E1, Floor Position = E1 | 39 | 42 | 39 | 39 | 42 | 39
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | E | 4 | Occupied | 4 | 94 % | 0.914 m² | Rack E3, Floor Position = E3 | 33 | 35 | 33 | 33 | 35 | 33
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | E | 4 | Occupied | 4 | 94 % | 0.914 m² | Rack E2, Floor Position = E2 | 34 | 35 | 34 | 34 | 35 | 34
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | E | 4 | Occupied | 4 | 94 % | 0.914 m² | Rack E4, Floor Position = E4 | 35 | 35 | 35 | 35 | 35 | 35
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | E | 4 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | EE | 5 | Free | 3 | 72 % | 0.585 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | EE | 5 | Occupied | 2 | 28 % | 0.225 m² | Rack EE1, Floor Position = EE1 | 52 | 54 | 52 | 52 | 54 | 52
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | EE | 5 | Occupied | 2 | 28 % | 0.225 m² | Rack EE0, Floor Position = EE0 | 5 | 47 | 5 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | EE | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | F | 4 | Free | 0 | 4 % | 0.038 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | F | 4 | Occupied | 4 | 96 % | 0.936 m² | Rack E1, Floor Position = E1 | 39 | 42 | 39 | 39 | 42 | 39
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | F | 4 | Occupied | 4 | 96 % | 0.936 m² | Rack E3, Floor Position = E3 | 33 | 35 | 33 | 33 | 35 | 33
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | F | 4 | Occupied | 4 | 96 % | 0.936 m² | Rack E2, Floor Position = E2 | 34 | 35 | 34 | 34 | 35 | 34
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | F | 4 | Occupied | 4 | 96 % | 0.936 m² | Rack E4, Floor Position = E4 | 35 | 35 | 35 | 35 | 35 | 35
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | F | 4 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | G | 2 | Free | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | G | 2 | Occupied | 2 | 100 % | 0.223 m² | Rack H2, Floor Position = H2 | 42 | 42 | 42 | 42 | 42 | 42
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | G | 2 | Occupied | 2 | 100 % | 0.223 m² | Rack H1, Floor Position = H1 | 42 | 42 | 42 | 42 | 42 | 42
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | G | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | H | 2 | Free | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | H | 2 | Occupied | 2 | 100 % | 0.223 m² | Rack H2, Floor Position = H2 | 42 | 42 | 42 | 42 | 42 | 42
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | H | 2 | Occupied | 2 | 100 % | 0.223 m² | Rack H1, Floor Position = H1 | 42 | 42 | 42 | 42 | 42 | 42
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | H | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | J | 1 | Free | 0 | 33 % | 0.020 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | J | 1 | Occupied | 1 | 67 % | 0.040 m² | Rack J1, Floor Position = J1 | 2 | 4 | 2 | 2 | 4 | 2
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | J | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Free | 1 | 13 % | 0.156 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack K6, Floor Position = K6 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack K7, Floor Position = K7 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack K5, Floor Position = K5 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack K3, Floor Position = K3 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack K4, Floor Position = K4 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack K2, Floor Position = K2 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | K | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Free | 1 | 13 % | 0.156 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack L6, Floor Position = L6 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack L7, Floor Position = L7 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack L5, Floor Position = L5 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack L3, Floor Position = L3 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack L4, Floor Position = L4 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Occupied | 6 | 87 % | 1.014 m² | Rack L2, Floor Position = L2 | 54 | 54 | 54 | 54 | 54 | 54
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | L | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Free | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M6, Floor Position = M6 | 20 | 44 | 20 | 18 | 44 | 18
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M5, Floor Position = M5 | 52 | 54 | 52 | 52 | 54 | 52
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M1, Floor Position = M1 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M3, Floor Position = M3 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M4, Floor Position = M4 | 52 | 54 | 52 | 52 | 54 | 52
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M2, Floor Position = M2 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Occupied | 7 | 100 % | 1.125 m² | Rack M0, Floor Position = M0 | 5 | 47 | 5 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | M | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Free | 1 | 4 % | 0.045 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Occupied | 5 | 96 % | 1.080 m² | Rack N4, Floor Position = N4 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Occupied | 5 | 96 % | 1.080 m² | Rack N5, Floor Position = N5 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Occupied | 5 | 96 % | 1.080 m² | Rack N1, Floor Position = N1 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Occupied | 5 | 96 % | 1.080 m² | Rack N3, Floor Position = N3 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Occupied | 5 | 96 % | 1.080 m² | Rack N2, Floor Position = N2 | 51 | 54 | 51 | 51 | 54 | 51
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | N | 6 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | P | 5 | Free | 1 | 40 % | 0.574 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | P | 5 | Occupied | 4 | 60 % | 0.870 m² | ODF P00, Floor Position = P0 | 43 | 46 | 43 | 24 | 46 | 24
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | P | 5 | Occupied | 4 | 60 % | 0.870 m² | Rack P3, Floor Position = P3 | 36 | 45 | 36 | 35 | 45 | 35
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | P | 5 | Occupied | 4 | 60 % | 0.870 m² | Rack P2, Floor Position = P2 | 10 | 39 | 8 | 3 | 19 | 3
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | P | 5 | Occupied | 4 | 60 % | 0.870 m² | Rack P1, Floor Position = P1 | 5 | 47 | 5 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | P | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | Q | 5 | Free | 1 | 38 % | 0.540 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | Q | 5 | Occupied | 4 | 62 % | 0.900 m² | Rack Q04, Floor Position = Q4 | 18 | 47 | 18 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | Q | 5 | Occupied | 4 | 62 % | 0.900 m² | Rack P1, Floor Position = P1 | 5 | 47 | 5 | 5 | 47 | 5
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | Q | 5 | Occupied | 4 | 62 % | 0.900 m² | Rack P2, Floor Position = P2 | 10 | 39 | 8 | 3 | 19 | 3
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | Q | 5 | Occupied | 4 | 62 % | 0.900 m² | Rack Q3, Floor Position = Q3 | 9 | 44 | 9 | 7 | 44 | 7
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | Q | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | R | 5 | Free | 1 | 17 % | 0.180 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | R | 5 | Occupied | 4 | 83 % | 0.900 m² | Rack R5, Floor Position = R5 | 44 | 46 | 44 | 44 | 46 | 44
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | R | 5 | Occupied | 4 | 83 % | 0.900 m² | ODF CODF R04, Floor Position = R4 | 26 | 44 | 26 | 17 | 44 | 17
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | R | 5 | Occupied | 4 | 83 % | 0.900 m² | Rack SR02, Floor Position = R2 | 23 | 41 | 21 | 13 | 41 | 13
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | R | 5 | Occupied | 4 | 83 % | 0.900 m² | Rack SR03, Floor Position = R3 | 22 | 37 | 14 | 8 | 37 | 8
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | R | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Free | 0 | 23 % | 0.346 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Occupied | 6 | 77 % | 1.149 m² | Rack S7, Floor Position = S7 | 43 | 46 | 43 | 43 | 46 | 43
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Occupied | 6 | 77 % | 1.149 m² | Rack S6, Floor Position = S6 | 43 | 46 | 43 | 43 | 46 | 43
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Occupied | 6 | 77 % | 1.149 m² | Rack S4, Floor Position = S4 | 41 | 44 | 41 | 41 | 44 | 41
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Occupied | 6 | 77 % | 1.149 m² | Rack S5, Floor Position = S5 | 33 | 44 | 33 | 21 | 44 | 21
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Occupied | 6 | 77 % | 1.149 m² | Rack SR02, Floor Position = R2 | 23 | 41 | 21 | 13 | 41 | 13
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Occupied | 6 | 77 % | 1.149 m² | Rack SR03, Floor Position = R3 | 22 | 37 | 14 | 8 | 37 | 8
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | S | 6 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | T | 1 | Free | 0 | 20 % | 0.100 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | T | 1 | Occupied | 1 | 80 % | 0.400 m² | Rack T1, Floor Position = T1 | 16 | 37 | 15 | 4 | 19 | 4
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | T | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | U | 1 | Free | 0 | 20 % | 0.100 m²
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | U | 1 | Occupied | 1 | 80 % | 0.400 m² | Rack T1, Floor Position = T1 | 16 | 37 | 15 | 4 | 19 | 4
Room DBY on Floor Ground Floor in Site DERBY | 11555.00 W | 32250.00 W | 36 % | U | 1 | Reserved | 0 | 0 % | 0.000 m²