## Suite Line Capacity
Report generated for: | Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER
| Quantity | % of all area | Area
Total free sections: | 6/33 | 34 % | 2.297 m²
Total occupied sections: | 25/33 | 61 % | 4.040 m²
Total reserved sections: | 2/33 | 5 % | 0.330 m²
Total Lines Capability |  |  | 6.667 m²
Total Location Capability |  |  | 42.421 m²
Total Location Free Area |  |  | 37.221 m²
Total Location Occupied Area |  |  | 5.200 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | A | 2 | Free | 0 | 0 % | 0.001 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | A | 2 | Occupied | 2 | 100 % | 0.170 m² | Rack A1, Floor Position = A1 | 42 | 42 | 42 | 42 | 42 | 42
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | A | 2 | Occupied | 2 | 100 % | 0.170 m² | Rack A2, Floor Position = A2 | 42 | 42 | 42 | 42 | 42 | 42
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | A | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | B | 5 | Free | 1 | 40 % | 0.450 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | B | 5 | Occupied | 4 | 60 % | 0.675 m² | Rack B9, Floor Position = B9 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | B | 5 | Occupied | 4 | 60 % | 0.675 m² | Rack B8, Floor Position = B8 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | B | 5 | Occupied | 4 | 60 % | 0.675 m² | ODF B01, Floor Position = B1 | 25 | 47 | 25 | 16 | 47 | 16
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | B | 5 | Occupied | 4 | 60 % | 0.675 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | B | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | C | 5 | Free | 1 | 47 % | 0.525 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | C | 5 | Occupied | 4 | 53 % | 0.600 m² | Rack C5, Floor Position = C5 | 44 | 47 | 44 | 44 | 47 | 44
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | C | 5 | Occupied | 4 | 53 % | 0.600 m² | Rack C4, Floor Position = C4 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | C | 5 | Occupied | 4 | 53 % | 0.600 m² | Rack C1, Floor Position = C1 | 44 | 47 | 44 | 44 | 47 | 44
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | C | 5 | Occupied | 4 | 53 % | 0.600 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | C | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | D | 5 | Free | 2 | 55 % | 0.691 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | D | 5 | Occupied | 3 | 45 % | 0.570 m² | Rack D6, Floor Position = D6 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | D | 5 | Occupied | 3 | 45 % | 0.570 m² | Rack D03, Floor Position = D3 | 38 | 47 | 38 | 26 | 47 | 26
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | D | 5 | Occupied | 3 | 45 % | 0.570 m² | Rack D7, Floor Position = D7 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | D | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | E | 6 | Free | 0 | 21 % | 0.271 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | E | 6 | Occupied | 4 | 52 % | 0.660 m² | Rack E6, Floor Position = E6 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | E | 6 | Occupied | 4 | 52 % | 0.660 m² | Rack E4, Floor Position = E4 | 16 | 44 | 16 | 13 | 44 | 13
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | E | 6 | Occupied | 4 | 52 % | 0.660 m² | Rack E3, Floor Position = E3 | 24 | 44 | 24 | 22 | 44 | 22
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | E | 6 | Occupied | 4 | 52 % | 0.660 m² | Rack E7, Floor Position = E7 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | E | 6 | Reserved | 2 | 26 % | 0.330 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | F | 2 | Free | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | F | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack F4, Floor Position = F4 | 32 | 47 | 32 | 16 | 47 | 16
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | F | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack F3, Floor Position = F3 | 29 | 47 | 29 | 27 | 47 | 27
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | F | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | G | 3 | Free | 1 | 33 % | 0.180 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | G | 3 | Occupied | 2 | 67 % | 0.360 m² | Rack G1, Floor Position = G1 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | G | 3 | Occupied | 2 | 67 % | 0.360 m² | Rack G2, Floor Position = G2 | 29 | 47 | 29 | 22 | 47 | 22
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | G | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | H | 3 | Free | 1 | 33 % | 0.180 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | H | 3 | Occupied | 2 | 67 % | 0.360 m² | Rack G1, Floor Position = G1 | 47 | 47 | 47 | 47 | 47 | 47
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | H | 3 | Occupied | 2 | 67 % | 0.360 m² | Rack G2, Floor Position = G2 | 29 | 47 | 29 | 22 | 47 | 22
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | H | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | J | 1 | Free | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | J | 1 | Occupied | 1 | 100 % | 0.240 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | J | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | K | 1 | Free | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | K | 1 | Occupied | 1 | 100 % | 0.045 m² | Rack K1, Floor Position = K1 | 5 | 47 | 5 | 5 | 47 | 5
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | K | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | [6 empty] | Rack B02, Floor Position = B2 | 22 | 37 | 19 | 10 | 37 | 10
Room DGS on Floor Ground Floor in Site DOUGLAS REPEATER | 10281.00 W | 7500.00 W | 137 % | [6 empty] | Rack DGS;DC SYS01, Floor Position = Temp Mig | 21 | 46 | 21 | 20 | 25 | 20