## Suite Line Capacity
Report generated for: | Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP
| Quantity | % of all area | Area
Total free sections: | 2/25 | 10 % | 0.505 m²
Total occupied sections: | 23/25 | 90 % | 4.389 m²
Total reserved sections: | 0/25 | 0 % | 0.000 m²
Total Lines Capability |  |  | 4.894 m²
Total Location Capability |  |  | 36.000 m²
Total Location Free Area |  |  | 31.251 m²
Total Location Occupied Area |  |  | 4.749 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | A | 3 | Free | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | A | 3 | Occupied | 3 | 100 % | 0.810 m² | Rack A3, Floor Position = A3 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | A | 3 | Occupied | 3 | 100 % | 0.810 m² | Rack A2, Floor Position = A2 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | A | 3 | Occupied | 3 | 100 % | 0.810 m² | Rack A1, Floor Position = A1 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | A | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | B | 4 | Free | 2 | 45 % | 0.347 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | B | 4 | Occupied | 2 | 55 % | 0.420 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | B | 4 | Occupied | 2 | 55 % | 0.420 m² | Rack B01, Floor Position = B1 | 22 | 44 | 22 | 20 | 44 | 20
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | C | 4 | Free | 0 | 4 % | 0.032 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | C | 4 | Occupied | 4 | 96 % | 0.735 m² | ODF CODF C02, Floor Position = C2 | 42 | 44 | 42 | 24 | 44 | 24
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | C | 4 | Occupied | 4 | 96 % | 0.735 m² | Rack C3, Floor Position = C3 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | C | 4 | Occupied | 4 | 96 % | 0.735 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | C | 4 | Occupied | 4 | 96 % | 0.735 m² | Rack C1, Floor Position = C1 | 23 | 44 | 23 | 23 | 44 | 23
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | C | 4 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Free | 0 | 0 % | -0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack D5, Floor Position = D5 | 42 | 42 | 42 | 42 | 42 | 42
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack D2, Floor Position = D2 | 18 | 44 | 18 | 18 | 44 | 18
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack D3, Floor Position = D3 | 5 | 44 | 5 | 3 | 44 | 3
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack D4, Floor Position = D4 | 35 | 44 | 35 | 35 | 44 | 35
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack D01, Floor Position = D1 | 21 | 44 | 21 | 13 | 44 | 13
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Free | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack E05, Floor Position = E5 | 14 | 40 | 12 | 12 | 33 | 7
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack E3, Floor Position = E3 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack E4, Floor Position = E4 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack E2, Floor Position = E2 | 44 | 44 | 44 | 44 | 44 | 44
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack E1, Floor Position = E1 | 40 | 44 | 40 | 40 | 44 | 40
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Occupied | 6 | 100 % | 0.945 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | F | 1 | Free | 0 | 18 % | 0.060 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | F | 1 | Occupied | 1 | 82 % | 0.270 m² | ODF F01, Floor Position = F1 | 0 | 0 | 0 | 0 | 0 | 0
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | F | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | G | 1 | Free | 0 | 20 % | 0.066 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | G | 1 | Occupied | 1 | 80 % | 0.264 m² | ODF G01, Floor Position = G01 | 0 | 0 | 0 | 0 | 0 | 0
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | G | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DHMNU1 on Floor Ground Floor in Site DURHAM UNIVERSITY TAP | 8790.00 W | 11250.00 W | 78 % | [6 empty] | Rack DHMNU1;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 10 | 25 | 10