## Suite Line Capacity
Report generated for: | Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO
| Quantity | % of all area | Area
Total free sections: | 8/43 | 21 % | 1.910 m²
Total occupied sections: | 35/43 | 79 % | 7.403 m²
Total reserved sections: | 0/43 | 0 % | 0.000 m²
Total Lines Capability |  |  | 9.313 m²
Total Location Capability |  |  | 44.590 m²
Total Location Free Area |  |  | 36.827 m²
Total Location Occupied Area |  |  | 7.763 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Free | 1 | 11 % | 0.187 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A3, Floor Position = A03 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A1, Floor Position = A01 | 47 | 47 | 47 | 47 | 47 | 47
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A6, Floor Position = A06 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A5, Floor Position = A05 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A4, Floor Position = A04 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A8, Floor Position = A08 | 5 | 47 | 5 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Occupied | 7 | 89 % | 1.485 m² | Rack A7, Floor Position = A07 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Free | 2 | 22 % | 0.364 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | ODF BC0, Floor Position = B0 | 24 | 36 | 18 | 13 | 21 | 9
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | Rack B1, Floor Position = B1 | 43 | 47 | 43 | 43 | 47 | 43
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | Rack B5, Floor Position = B5 | 18 | 47 | 18 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | Rack B6, Floor Position = B6 | 25 | 47 | 25 | 13 | 47 | 13
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | Rack B8, Floor Position = B08 | 5 | 47 | 5 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | Rack B3, Floor Position = B3 | 47 | 47 | 47 | 47 | 47 | 47
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Occupied | 7 | 78 % | 1.304 m² | Rack B4, Floor Position = B4 | 45 | 47 | 45 | 45 | 47 | 45
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Free | 2 | 16 % | 0.274 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | ODF BC0, Floor Position = B0 | 24 | 36 | 18 | 13 | 21 | 9
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | Rack B1, Floor Position = B1 | 43 | 47 | 43 | 43 | 47 | 43
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | Rack C5, Floor Position = C5 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | Rack C06, Floor Position = C6 | 31 | 47 | 31 | 21 | 47 | 21
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | Rack C8, Floor Position = C08 | 5 | 47 | 5 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | Rack C3, Floor Position = C3 | 47 | 47 | 47 | 47 | 47 | 47
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Occupied | 7 | 84 % | 1.394 m² | Rack C4, Floor Position = C4 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Free | 2 | 25 % | 0.720 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Occupied | 6 | 75 % | 2.160 m² | Rack D7, Floor Position = D7 | 5 | 47 | 5 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Occupied | 6 | 75 % | 2.160 m² | Rack D5, Floor Position = D5 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Occupied | 6 | 75 % | 2.160 m² | Rack D4, Floor Position = D4 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Occupied | 6 | 75 % | 2.160 m² | Rack D1, Floor Position = D1 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Occupied | 6 | 75 % | 2.160 m² | Rack D2, Floor Position = D2 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Occupied | 6 | 75 % | 2.160 m² | Rack D3, Floor Position = D3 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | D | 8 | Reserved | 0 | 0 % | 0.000 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Free | 1 | 27 % | 0.348 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E6, Floor Position = E6 | 44 | 47 | 44 | 44 | 47 | 44
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E8, Floor Position = E08 | 5 | 47 | 5 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E5, Floor Position = E5 | 43 | 47 | 43 | 43 | 47 | 43
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E3, Floor Position = E3 | 38 | 47 | 38 | 38 | 47 | 38
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E4, Floor Position = E4 | 47 | 47 | 47 | 47 | 47 | 47
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Occupied | 7 | 73 % | 0.959 m² | Rack E01, Floor Position = E1 | 43 | 54 | 43 | 43 | 54 | 43
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | E | 8 | Reserved | 0 | 0 % | 0.000 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | F | 1 | Free | 0 | 15 % | 0.018 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | F | 1 | Occupied | 1 | 85 % | 0.100 m² | Rack F1, Floor Position = F1 | 5 | 47 | 5 | 5 | 47 | 5
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | F | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DLD on Floor Ground Floor in Site DUNDONALD HILL RADIO | 5066.00 W | 7500.00 W | 68 % | [6 empty] | Rack DLD;DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19