## Suite Line Capacity
Report generated for: | Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP
| Quantity | % of all area | Area
Total free sections: | 97/137 | 71 % | 20.622 m²
Total occupied sections: | 40/137 | 29 % | 8.297 m²
Total reserved sections: | 0/137 | 0 % | 0.000 m²
Total Lines Capability |  |  | 28.920 m²
Total Location Capability |  |  | 137.747 m²
Total Location Free Area |  |  | 129.089 m²
Total Location Occupied Area |  |  | 8.657 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | A | 12 | Free | 12 | 100 % | 3.210 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | A | 12 | Occupied | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | A | 12 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Free | 7 | 58 % | 1.872 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Occupied | 5 | 42 % | 1.337 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Occupied | 5 | 42 % | 1.337 m² | Rack B3, Floor Position = B3 | 36 | 47 | 36 | 35 | 47 | 35
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Occupied | 5 | 42 % | 1.337 m² | Rack B4, Floor Position = B4 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Occupied | 5 | 42 % | 1.337 m² | Rack AB01, Floor Position = B1 | 40 | 23 | 20 | 25 | 16 | 14
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Occupied | 5 | 42 % | 1.337 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | B | 12 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | C | 11 | Free | 7 | 63 % | 1.350 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | C | 11 | Occupied | 4 | 37 % | 0.810 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | C | 11 | Occupied | 4 | 37 % | 0.810 m² | ODF D01, Floor Position = D1 | 16 | 47 | 16 | 9 | 47 | 9
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | C | 11 | Occupied | 4 | 37 % | 0.810 m² | Rack C7, Floor Position = C7 | 44 | 47 | 44 | 44 | 47 | 44
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | C | 11 | Occupied | 4 | 37 % | 0.810 m² | Rack C5, Floor Position = C5 | 44 | 47 | 44 | 44 | 47 | 44
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | C | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | D | 11 | Free | 7 | 70 % | 1.890 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | D | 11 | Occupied | 4 | 30 % | 0.810 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | D | 11 | Occupied | 4 | 30 % | 0.810 m² | ODF D01, Floor Position = D1 | 16 | 47 | 16 | 9 | 47 | 9
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | D | 11 | Occupied | 4 | 30 % | 0.810 m² | Rack C7, Floor Position = C7 | 44 | 47 | 44 | 44 | 47 | 44
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | D | 11 | Occupied | 4 | 30 % | 0.810 m² | Rack D5, Floor Position = D5 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | D | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Free | 4 | 33 % | 0.720 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | Rack E2, Floor Position = E2 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | Rack E3, Floor Position = E3 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | Rack E4, Floor Position = E4 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | ODF CODF E06, Floor Position = E6 | 44 | 46 | 44 | 30 | 46 | 30
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Occupied | 7 | 67 % | 1.440 m² | ODF E05, Floor Position = E5 | 44 | 46 | 44 | 30 | 46 | 30
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | E | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Free | 4 | 44 % | 1.260 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F1, Floor Position = F1 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F03, Floor Position = F3 | 43 | 47 | 43 | 27 | 47 | 27
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F4, Floor Position = F4 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F07, Floor Position = F7 | 43 | 47 | 43 | 37 | 47 | 37
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F5, Floor Position = F5 | 25 | 47 | 25 | 19 | 47 | 19
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F6, Floor Position = F6 | 15 | 47 | 15 | 7 | 47 | 7
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Occupied | 8 | 56 % | 1.620 m² | Rack F08, Floor Position = F8 | 32 | 45 | 32 | 29 | 45 | 29
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | F | 12 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | G | 11 | Free | 7 | 64 % | 1.380 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | G | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack G1, Floor Position = G1 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | G | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack G3, Floor Position = G3 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | G | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack G2, Floor Position = G2 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | G | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack G4, Floor Position = G4 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | H | 11 | Free | 7 | 64 % | 1.380 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | H | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack H1, Floor Position = H1 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | H | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack H3, Floor Position = H3 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | H | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack H2, Floor Position = H2 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | H | 11 | Occupied | 4 | 36 % | 0.780 m² | Rack H4, Floor Position = H4 | 47 | 47 | 47 | 47 | 47 | 47
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | H | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | I | 12 | Free | 12 | 100 % | 2.160 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | I | 12 | Occupied | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | I | 12 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | J | 12 | Free | 12 | 100 % | 2.160 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | J | 12 | Occupied | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | J | 12 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | K | 11 | Free | 9 | 82 % | 1.620 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | K | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | K | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack L6, Floor Position = K6 | 24 | 42 | 24 | 21 | 42 | 21
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | K | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | L | 11 | Free | 9 | 82 % | 1.620 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | L | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | L | 11 | Occupied | 2 | 18 % | 0.360 m² | Rack L6, Floor Position = K6 | 24 | 42 | 24 | 21 | 42 | 21
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | L | 11 | Reserved | 0 | 0 % | 0.000 m²
Room DLNTC1 on Floor Ground Floor in Site DARLINGTON POP | 10090.00 W | 30000.00 W | 34 % | [6 empty] | Rack DLNTC1;DC SYS01, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18