## Suite Line Capacity
Report generated for: | Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM
| Quantity | % of all area | Area
Total free sections: | 2/16 | 30 % | 1.223 m²
Total occupied sections: | 14/16 | 70 % | 2.873 m²
Total reserved sections: | 0/16 | 0 % | 0.000 m²
Total Lines Capability |  |  | 4.096 m²
Total Location Capability |  |  | 14.400 m²
Total Location Free Area |  |  | 11.527 m²
Total Location Occupied Area |  |  | 2.873 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Free | 0 | 4 % | 0.045 m²
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | Rack A1, Floor Position = A01 | 44 | 47 | 44 | 44 | 47 | 44
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | Rack A5, Floor Position = A05 | 39 | 42 | 39 | 39 | 42 | 39
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | Rack A03, Floor Position = A03 | 8 | 45 | 8 | 3 | 45 | 3
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | Rack A04, Floor Position = A04 | 6 | 47 | 6 | 4 | 47 | 4
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | Rack A2, Floor Position = A02 | 44 | 47 | 44 | 44 | 47 | 44
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | ODF A06, Floor Position = A06 | 9 | 47 | 9 | 6 | 47 | 6
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Occupied | 7 | 96 % | 1.125 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | B | 3 | Free | 1 | 33 % | 0.360 m²
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | B | 3 | Occupied | 2 | 67 % | 0.720 m² | Rack B1, Floor Position = B1 | 17 | 40 | 15 | 8 | 39 | 6
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | B | 3 | Occupied | 2 | 67 % | 0.720 m² | Rack B2, Floor Position = B2 | 40 | 43 | 40 | 40 | 43 | 40
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | B | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Free | 1 | 44 % | 0.818 m²
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Occupied | 5 | 56 % | 1.028 m² | Rack C7, Floor Position = C7 | 22 | 46 | 22 | 22 | 25 | 22
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Occupied | 5 | 56 % | 1.028 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Occupied | 5 | 56 % | 1.028 m² | Rack C2, Floor Position = C2 | 20 | 44 | 20 | 18 | 44 | 18
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Occupied | 5 | 56 % | 1.028 m² | Rack C3, Floor Position = C3 | 44 | 47 | 44 | 44 | 47 | 44
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Occupied | 5 | 56 % | 1.028 m² | ODF C04, Floor Position = C4 | 37 | 47 | 37 | 19 | 47 | 19
Room DNFNP1 on Floor Ground Floor in Site DUNFERMLINE - PITREAVIE EAM | 11740.00 W | 5025.00 W | 234 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²