## Suite Line Capacity
Report generated for: | Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP
| Quantity | % of all area | Area
Total free sections: | 17/34 | 53 % | 3.674 m²
Total occupied sections: | 17/34 | 47 % | 3.210 m²
Total reserved sections: | 0/34 | 0 % | 0.000 m²
Total Lines Capability |  |  | 6.884 m²
Total Location Capability |  |  | 50.130 m²
Total Location Free Area |  |  | 46.560 m²
Total Location Occupied Area |  |  | 3.570 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Free | 1 | 17 % | 0.225 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Occupied | 6 | 83 % | 1.080 m² | Rack A7, Floor Position = A7 | 33 | 47 | 33 | 26 | 47 | 26
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Occupied | 6 | 83 % | 1.080 m² | Rack A5, Floor Position = A5 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Occupied | 6 | 83 % | 1.080 m² | Rack A4, Floor Position = A4 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Occupied | 6 | 83 % | 1.080 m² | Rack A6, Floor Position = A6 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Occupied | 6 | 83 % | 1.080 m² | Rack A3, Floor Position = A3 | 25 | 44 | 25 | 23 | 44 | 23
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Occupied | 6 | 83 % | 1.080 m² | Rack A2, Floor Position = A2 | 42 | 44 | 42 | 42 | 44 | 42
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Free | 1 | 28 % | 0.461 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Occupied | 6 | 72 % | 1.170 m² | Rack A7, Floor Position = A7 | 33 | 47 | 33 | 26 | 47 | 26
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Occupied | 6 | 72 % | 1.170 m² | Rack B5, Floor Position = B5 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Occupied | 6 | 72 % | 1.170 m² | Rack B4, Floor Position = B4 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Occupied | 6 | 72 % | 1.170 m² | Rack B6, Floor Position = B6 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Occupied | 6 | 72 % | 1.170 m² | ODF B1, Floor Position = B1 | 41 | 47 | 41 | 27 | 47 | 27
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Occupied | 6 | 72 % | 1.170 m² | Rack B2, Floor Position = B2 | 45 | 45 | 45 | 45 | 45 | 45
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | C | 3 | Free | 0 | 25 % | 0.195 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | C | 3 | Occupied | 3 | 75 % | 0.570 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | C | 3 | Occupied | 3 | 75 % | 0.570 m² | Rack C2, Floor Position = C2 | 47 | 47 | 47 | 47 | 47 | 47
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | C | 3 | Occupied | 3 | 75 % | 0.570 m² | Rack C4, Floor Position = C4 | 5 | 47 | 5 | 5 | 47 | 5
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | C | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | D | 3 | Free | 1 | 41 % | 0.273 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | D | 3 | Occupied | 2 | 59 % | 0.390 m² | Rack D1, Floor Position = D1 | 47 | 47 | 47 | 47 | 47 | 47
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | D | 3 | Occupied | 2 | 59 % | 0.390 m² | Rack D2, Floor Position = D2 | 47 | 47 | 47 | 47 | 47 | 47
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | D | 3 | Reserved | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | E | 7 | Free | 7 | 100 % | 1.260 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | E | 7 | Occupied | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | F | 7 | Free | 7 | 100 % | 1.260 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | F | 7 | Occupied | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | F | 7 | Reserved | 0 | 0 % | 0.000 m²
Room DVSTB1 on Floor Ground Floor in Site DEVIZES POP | 7443.00 W | 7500.00 W | 99 % | [6 empty] | Rack DVSTB1; DC SYS01, Floor Position = Temp Mig | 20 | 46 | 20 | 19 | 25 | 19