## Suite Line Capacity
Report generated for: | Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM
| Quantity | % of all area | Area
Total free sections: | 1/12 | 32 % | 1.094 m²
Total occupied sections: | 11/12 | 68 % | 2.290 m²
Total reserved sections: | 0/12 | 0 % | 0.000 m²
Total Lines Capability |  |  | 3.384 m²
Total Location Capability |  |  | 18.944 m²
Total Location Free Area |  |  | 16.294 m²
Total Location Occupied Area |  |  | 2.650 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Free | 0 | 42 % | 0.670 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Occupied | 5 | 58 % | 0.944 m² | Rack A1, Floor Position = A1 | 15 | 47 | 15 | 14 | 47 | 14
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Occupied | 5 | 58 % | 0.944 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Occupied | 5 | 58 % | 0.944 m² | Rack A3, Floor Position = A3 | 5 | 47 | 5 | 2 | 47 | 2
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Occupied | 5 | 58 % | 0.944 m² | Rack A2, Floor Position = A2 | 23 | 47 | 23 | 23 | 47 | 23
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Occupied | 5 | 58 % | 0.944 m² | Rack A4, Floor Position = A4 | 17 | 42 | 17 | 6 | 42 | 6
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | A | 5 | Reserved | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | B | 2 | Free | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | B | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack B2, Floor Position = B2 | 2 | 47 | 2 | 1 | 47 | 1
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | B | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack B3, Floor Position = B3 | 30 | 47 | 30 | 24 | 47 | 24
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | B | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | C | 2 | Free | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | C | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack C2, Floor Position = C2 | 26 | 47 | 26 | 25 | 47 | 25
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | C | 2 | Occupied | 2 | 100 % | 0.360 m² | Rack B3, Floor Position = B3 | 30 | 47 | 30 | 24 | 47 | 24
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | C | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | D | 1 | Free | 0 | 19 % | 0.064 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | D | 1 | Occupied | 1 | 81 % | 0.267 m² | ODF D1, Floor Position = D1 | 3 | 47 | 3 | 3 | 47 | 3
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | D | 1 | Reserved | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | E | 2 | Free | 1 | 50 % | 0.360 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | E | 2 | Occupied | 1 | 50 % | 0.360 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | E | 2 | Reserved | 0 | 0 % | 0.000 m²
Room DWLTM1 on Floor Ground Floor in Site MOUNT EAGLE EAM | 13873.40 W | 5200.00 W | 267 % | [6 empty] | Rack DWLTM1;DC SYS01, Floor Position = Temp Mig | 21 | 46 | 21 | 20 | 25 | 20