## Suite Line Capacity
Report generated for: | Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1
| Quantity | % of all area | Area
Total free sections: | 0/46 | 14 % | 1.379 m²
Total occupied sections: | 46/46 | 86 % | 8.498 m²
Total reserved sections: | 0/46 | 0 % | 0.000 m²
Total Lines Capability |  |  | 9.877 m²
Total Location Capability |  |  | 39.297 m²
Total Location Free Area |  |  | 30.799 m²
Total Location Occupied Area |  |  | 8.498 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Free | 0 | 39 % | 1.020 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A0, Floor Position = A0 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A8, Floor Position = A8 | 5 | 47 | 5 | 5 | 47 | 5
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A6, Floor Position = A6 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A5, Floor Position = A5 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A7, Floor Position = A7 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A2, Floor Position = A2 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A4, Floor Position = A4 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A3, Floor Position = A3 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Occupied | 9 | 61 % | 1.584 m² | Rack A1, Floor Position = A1 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | A | 9 | Reserved | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Free | 0 | 13 % | 0.213 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B8, Floor Position = B8 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B9, Floor Position = B9 | 5 | 47 | 5 | 5 | 47 | 5
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B6, Floor Position = B6 | 42 | 42 | 42 | 42 | 42 | 42
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B7, Floor Position = B7 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B5, Floor Position = B5 | 33 | 38 | 33 | 33 | 38 | 33
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B1, Floor Position = B1 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B3, Floor Position = B3 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B4, Floor Position = B4 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Occupied | 9 | 87 % | 1.473 m² | Rack B2, Floor Position = B2 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Free | 0 | 1 % | 0.017 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C8, Floor Position = C8 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C9, Floor Position = C9 | 5 | 47 | 5 | 5 | 47 | 5
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C6, Floor Position = C6 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C7, Floor Position = C7 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C5, Floor Position = C5 | 37 | 42 | 37 | 37 | 42 | 37
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | ODF C01, Floor Position = C1 | 6 | 34 | 6 | 6 | 34 | 6
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C3, Floor Position = C3 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C4, Floor Position = C4 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Occupied | 9 | 99 % | 1.442 m² | Rack C2, Floor Position = C2 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | C | 9 | Reserved | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Free | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | Rack D1, Floor Position = D1 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | ODF D02, Floor Position = D2 | 18 | 34 | 18 | 13 | 34 | 13
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | Rack D3, Floor Position = D3 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | Rack D5, Floor Position = D5 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | Rack D6, Floor Position = D6 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | Rack D7, Floor Position = D7 | 5 | 47 | 5 | 5 | 47 | 5
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Occupied | 7 | 100 % | 1.209 m² | Rack D4, Floor Position = D4 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | D | 7 | Reserved | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Free | 0 | 3 % | 0.039 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E1, Floor Position = E1 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E2, Floor Position = E2 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E3, Floor Position = E3 | 35 | 38 | 35 | 35 | 38 | 35
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E5, Floor Position = E5 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E6, Floor Position = E6 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E7, Floor Position = E7 | 5 | 47 | 5 | 5 | 47 | 5
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Occupied | 7 | 97 % | 1.170 m² | Rack E4, Floor Position = E4 | 38 | 38 | 38 | 38 | 38 | 38
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | E | 7 | Reserved | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | F | 4 | Free | 0 | 6 % | 0.090 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | F | 4 | Occupied | 4 | 94 % | 1.350 m² | Rack F01, Floor Position = F1 | 13 | 47 | 13 | 3 | 47 | 3
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | F | 4 | Occupied | 4 | 94 % | 1.350 m² | Rack F02, Floor Position = F2 | 20 | 47 | 20 | 17 | 47 | 17
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | F | 4 | Occupied | 4 | 94 % | 1.350 m² | ODF CODF F04, Floor Position = F4 | 19 | 47 | 19 | 10 | 47 | 10
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | F | 4 | Occupied | 4 | 94 % | 1.350 m² | Rack F03, Floor Position = F3 | 19 | 47 | 19 | 17 | 47 | 17
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | F | 4 | Reserved | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | G | 1 | Free | 0 | 0 % | 0.000 m²
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | G | 1 | Occupied | 1 | 100 % | 0.270 m² | ODF G01, Floor Position = G1 | 9 | 34 | 9 | 9 | 34 | 9
Room EDBCD1 on Floor Ground Floor in Site EDINBURGH CD1 | 6190.00 W | 7500.00 W | 83 % | G | 1 | Reserved | 0 | 0 % | 0.000 m²