## Suite Line Capacity
Report generated for: | Room EDBTN1 on Floor Basement in Site NORTON PARK
| Quantity | % of all area | Area
Total free sections: | 35/135 | 36 % | 14.216 m²
Total occupied sections: | 100/135 | 64 % | 25.504 m²
Total reserved sections: | 0/135 | 0 % | 0.000 m²
Total Lines Capability |  |  | 39.720 m²
Total Location Capability |  |  | 214.666 m²
Total Location Free Area |  |  | 188.442 m²
Total Location Occupied Area |  |  | 26.224 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Free | 2 | 42 % | 2.640 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack AB02, Floor Position = A2 | 34 | 37 | 27 | 15 | 15 | 7
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack A03, Floor Position = A3 | 39 | 11 | 6 | 21 | 5 | 3
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack AB05, Floor Position = A5 | 8 | 39 | 8 | 3 | 37 | 3
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack A/B07, Floor Position = A7 | 23 | 43 | 21 | 9 | 34 | 9
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack A08, Floor Position = A8 | 26 | 47 | 26 | 15 | 47 | 15
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack A12, Floor Position = A12 | 32 | 47 | 32 | 31 | 47 | 31
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack A14, Floor Position = A14 | 33 | 47 | 33 | 24 | 47 | 24
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Occupied | 8 | 58 % | 3.660 m² | Rack AB15, Floor Position = A15 | 11 | 44 | 11 | 6 | 44 | 6
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | A | 10 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | AA | 1 | Free | 0 | 14 % | 0.060 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | AA | 1 | Occupied | 1 | 86 % | 0.360 m² | Rack AA11, Floor Position = AA11 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | AA | 1 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Free | 5 | 53 % | 1.920 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Occupied | 5 | 47 % | 1.680 m² | Rack B10, Floor Position = B10 | 14 | 47 | 14 | 9 | 47 | 9
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Occupied | 5 | 47 % | 1.680 m² | Rack B08, Floor Position = B8 | 19 | 47 | 19 | 5 | 47 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Occupied | 5 | 47 % | 1.680 m² | Rack B12, Floor Position = B12 | 15 | 47 | 15 | 10 | 47 | 10
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Occupied | 5 | 47 % | 1.680 m² | Rack AB15, Floor Position = A15 | 11 | 44 | 11 | 6 | 44 | 6
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Occupied | 5 | 47 % | 1.680 m² | Rack B14, Floor Position = B14 | 38 | 47 | 38 | 38 | 47 | 38
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | B | 10 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Free | 9 | 63 % | 1.710 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Occupied | 5 | 37 % | 0.990 m² | Rack C1, Floor Position = C1 | 47 | 47 | 47 | 47 | 47 | 47
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Occupied | 5 | 37 % | 0.990 m² | Rack C13, Floor Position = C13 | 8 | 47 | 8 | 2 | 47 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Occupied | 5 | 37 % | 0.990 m² | Rack C12, Floor Position = C12 | 22 | 47 | 22 | 17 | 47 | 17
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Occupied | 5 | 37 % | 0.990 m² | Rack C15, Floor Position = C15 | 2 | 44 | 2 | 2 | 44 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Occupied | 5 | 37 % | 0.990 m² | Rack C14, Floor Position = C14 | 8 | 47 | 8 | 2 | 47 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | C | 14 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Free | 8 | 74 % | 3.330 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Occupied | 6 | 26 % | 1.170 m² | Rack D1, Floor Position = D1 | 47 | 47 | 47 | 47 | 47 | 47
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Occupied | 6 | 26 % | 1.170 m² | Rack D13, Floor Position = D13 | 6 | 42 | 6 | 2 | 42 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Occupied | 6 | 26 % | 1.170 m² | Rack D11, Floor Position = D11 | 42 | 47 | 42 | 23 | 47 | 23
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Occupied | 6 | 26 % | 1.170 m² | Rack D12, Floor Position = D12 | 12 | 42 | 12 | 6 | 42 | 6
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Occupied | 6 | 26 % | 1.170 m² | Rack C15, Floor Position = C15 | 2 | 44 | 2 | 2 | 44 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Occupied | 6 | 26 % | 1.170 m² | Rack D14, Floor Position = D14 | 6 | 42 | 6 | 2 | 42 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | D | 14 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Free | 0 | 1 % | 0.030 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E2, Floor Position = E2 | 37 | 42 | 37 | 37 | 42 | 37
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E1, Floor Position = E1 | 39 | 42 | 39 | 39 | 42 | 39
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E0, Floor Position = E0 | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | ODF E04, Floor Position = E4 | 14 | 42 | 14 | 7 | 42 | 7
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E3, Floor Position = E3 | 37 | 42 | 37 | 37 | 42 | 37
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | ODF E10, Floor Position = E10 | 0 | 47 | 0 | 0 | 47 | 0
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E07, Floor Position = E7 | 12 | 45 | 12 | 7 | 45 | 7
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E6, Floor Position = E6 | 39 | 42 | 39 | 39 | 42 | 39
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E5, Floor Position = E5 | 2 | 44 | 2 | 2 | 44 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E9, Floor Position = E9 | 17 | 45 | 17 | 9 | 45 | 9
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | Rack E8, Floor Position = E8 | 15 | 45 | 15 | 7 | 45 | 7
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Occupied | 12 | 99 % | 2.715 m² | ODF E11, Floor Position = E11 | 42 | 42 | 42 | 42 | 42 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | E | 12 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Free | 1 | 11 % | 0.300 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E2, Floor Position = E2 | 37 | 42 | 37 | 37 | 42 | 37
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E1, Floor Position = E1 | 39 | 42 | 39 | 39 | 42 | 39
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack F0, Floor Position = F0 | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | ODF F04, Floor Position = F4 | 6 | 42 | 6 | 4 | 42 | 4
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E3, Floor Position = E3 | 37 | 42 | 37 | 37 | 42 | 37
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | ODF F10, Floor Position = F10 | 40 | 42 | 40 | 34 | 42 | 34
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E07, Floor Position = E7 | 12 | 45 | 12 | 7 | 45 | 7
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E6, Floor Position = E6 | 39 | 42 | 39 | 39 | 42 | 39
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E5, Floor Position = E5 | 2 | 44 | 2 | 2 | 44 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E9, Floor Position = E9 | 17 | 45 | 17 | 9 | 45 | 9
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Occupied | 11 | 89 % | 2.445 m² | Rack E8, Floor Position = E8 | 15 | 45 | 15 | 7 | 45 | 7
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | F | 12 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Free | 1 | 11 % | 0.315 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G3, Floor Position = G3 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G1, Floor Position = G1 | 42 | 47 | 42 | 42 | 47 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G0, Floor Position = G0 | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G2, Floor Position = G2 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G05, Floor Position = G5 | 41 | 47 | 41 | 26 | 47 | 26
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G4, Floor Position = G4 | 43 | 47 | 43 | 43 | 47 | 43
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G6, Floor Position = G6 | 47 | 47 | 47 | 47 | 47 | 47
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | ODF G11, Floor Position = G11 | 42 | 42 | 42 | 42 | 42 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G7a, Floor Position = G7a | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G7, Floor Position = G7 | 28 | 47 | 28 | 10 | 47 | 10
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G9, Floor Position = G9 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G8, Floor Position = G8 | 19 | 47 | 19 | 8 | 47 | 8
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | Rack G10, Floor Position = G10 | 42 | 47 | 42 | 42 | 47 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Occupied | 14 | 89 % | 2.430 m² | ODF CODF G12, Floor Position = G12 | 2 | 47 | 2 | 2 | 47 | 2
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | G | 15 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Free | 0 | 10 % | 0.270 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H3, Floor Position = H3 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack G1, Floor Position = G1 | 42 | 47 | 42 | 42 | 47 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H0, Floor Position = H0 | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H2, Floor Position = H2 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H5, Floor Position = H5 | 42 | 47 | 42 | 42 | 47 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H4, Floor Position = H4 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack G6, Floor Position = G6 | 47 | 47 | 47 | 47 | 47 | 47
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H6a, Floor Position = H6a | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | ODF H11, Floor Position = H11 | 2 | 47 | 2 | 1 | 47 | 1
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack G7, Floor Position = G7 | 28 | 47 | 28 | 10 | 47 | 10
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H7a, Floor Position = H7a | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack H9, Floor Position = H9 | 44 | 47 | 44 | 44 | 47 | 44
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack G8, Floor Position = G8 | 19 | 47 | 19 | 8 | 47 | 8
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | Rack G10, Floor Position = G10 | 42 | 47 | 42 | 42 | 47 | 42
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Occupied | 15 | 90 % | 2.475 m² | ODF H12, Floor Position = H12 | 37 | 47 | 37 | 28 | 47 | 28
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | H | 15 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Free | 3 | 26 % | 1.425 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack J2, Floor Position = J2 | 36 | 26 | 15 | 35 | 26 | 14
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack J1, Floor Position = J1 | 21 | 47 | 21 | 21 | 47 | 21
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack J0, Floor Position = J0 | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack J04, Floor Position = J4 | 28 | 47 | 28 | 10 | 47 | 10
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack JK07, Floor Position = J7 | 25 | 33 | 23 | 13 | 33 | 13
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack J6, Floor Position = J6 | 36 | 29 | 27 | 33 | 14 | 14
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack JK09, Floor Position = J9 | 13 | 34 | 11 | 5 | 34 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack JK08, Floor Position = J8 | 27 | 32 | 21 | 12 | 32 | 12
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack JK10, Floor Position = J10 | 12 | 34 | 12 | 8 | 34 | 8
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Occupied | 10 | 74 % | 4.065 m² | Rack J11, Floor Position = J11 | 19 | 47 | 19 | 11 | 47 | 11
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | J | 13 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Free | 6 | 51 % | 1.855 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack J2, Floor Position = J2 | 36 | 26 | 15 | 35 | 26 | 14
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack J1, Floor Position = J1 | 21 | 47 | 21 | 21 | 47 | 21
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack K0, Floor Position = K0 | 5 | 42 | 5 | 5 | 42 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack JK07, Floor Position = J7 | 25 | 33 | 23 | 13 | 33 | 13
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack J6, Floor Position = J6 | 36 | 29 | 27 | 33 | 14 | 14
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack JK08, Floor Position = J8 | 27 | 32 | 21 | 12 | 32 | 12
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Occupied | 7 | 49 % | 1.805 m² | Rack JK09, Floor Position = J9 | 13 | 34 | 11 | 5 | 34 | 5
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | K | 13 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | X | 3 | Free | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | X | 3 | Occupied | 3 | 100 % | 0.690 m² | ODF X03, Floor Position = X3 | 22 | 47 | 22 | 20 | 47 | 20
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | X | 3 | Occupied | 3 | 100 % | 0.690 m² | Rack X1, Floor Position = X1 | 16 | 47 | 16 | 6 | 47 | 6
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | X | 3 | Occupied | 3 | 100 % | 0.690 m² | Rack XY02, Floor Position = X2 | 3 | 47 | 3 | 3 | 47 | 3
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | X | 3 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | Y | 3 | Free | 0 | 26 % | 0.360 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | Y | 3 | Occupied | 3 | 74 % | 1.020 m² | Rack Y3, Floor Position = Y3 | 15 | 47 | 15 | 15 | 47 | 15
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | Y | 3 | Occupied | 3 | 74 % | 1.020 m² | Rack X1, Floor Position = X1 | 16 | 47 | 16 | 6 | 47 | 6
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | Y | 3 | Occupied | 3 | 74 % | 1.020 m² | Rack XY02, Floor Position = X2 | 3 | 47 | 3 | 3 | 47 | 3
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | Y | 3 | Reserved | 0 | 0 % | 0.000 m²
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | [6 empty] | Rack EDBTN1;DC SYSA, Floor Position = Temp Mig | 17 | 46 | 17 | 16 | 25 | 16
Room EDBTN1 on Floor Basement in Site NORTON PARK | 146426.50 W | 67500.00 W | 217 % | [6 empty] | Rack EDBTN1;DC SYSB, Floor Position = Temp Mig | 17 | 46 | 17 | 16 | 25 | 16