## Suite Line Capacity
Report generated for: | Room EXRN03 on Floor Ground Floor in Site EXETER TAN
| Quantity | % of all area | Area
Total free sections: | 41/76 | 70 % | 21.628 m²
Total occupied sections: | 35/76 | 30 % | 9.105 m²
Total reserved sections: | 0/76 | 0 % | 0.000 m²
Total Lines Capability |  |  | 30.732 m²
Total Location Capability |  |  | 316.541 m²
Total Location Free Area |  |  | 306.716 m²
Total Location Occupied Area |  |  | 9.825 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | 1 | 1 | Free | 1 | 100 % | 0.388 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | 1 | 1 | Occupied | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | 1 | 1 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Free | 0 | 6 % | 0.075 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | ODF A01, Floor Position = A1 | 26 | 44 | 26 | 23 | 44 | 23
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | Rack A2, Floor Position = A2 | 41 | 44 | 41 | 41 | 44 | 41
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | Rack A3, Floor Position = A3 | 42 | 42 | 42 | 42 | 42 | 42
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | Rack A5, Floor Position = A5 | 44 | 47 | 44 | 44 | 47 | 44
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | Rack A4, Floor Position = A4 | 44 | 47 | 44 | 44 | 47 | 44
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Occupied | 7 | 94 % | 1.230 m² | Rack A6, Floor Position = A6 | 41 | 44 | 41 | 41 | 44 | 41
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | A | 7 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Free | 1 | 14 % | 0.180 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Occupied | 6 | 86 % | 1.125 m² | ODF B01, Floor Position = B1 | 26 | 44 | 26 | 23 | 44 | 23
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Occupied | 6 | 86 % | 1.125 m² | Rack B2, Floor Position = B2 | 47 | 47 | 47 | 47 | 47 | 47
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Occupied | 6 | 86 % | 1.125 m² | Rack A3, Floor Position = A3 | 42 | 42 | 42 | 42 | 42 | 42
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Occupied | 6 | 86 % | 1.125 m² | Rack B5, Floor Position = B5 | 39 | 44 | 39 | 39 | 44 | 39
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Occupied | 6 | 86 % | 1.125 m² | Rack A4, Floor Position = A4 | 44 | 47 | 44 | 44 | 47 | 44
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Occupied | 6 | 86 % | 1.125 m² | Rack B6, Floor Position = B6 | 41 | 44 | 41 | 41 | 44 | 41
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | B | 7 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | C | 13 | Free | 9 | 74 % | 2.253 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | C | 13 | Occupied | 4 | 26 % | 0.810 m² | ODF C2, Floor Position = C2 | 44 | 44 | 44 | 44 | 44 | 44
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | C | 13 | Occupied | 4 | 26 % | 0.810 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | C | 13 | Occupied | 4 | 26 % | 0.810 m² | Rack C5, Floor Position = C5 | 43 | 46 | 43 | 43 | 46 | 43
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | C | 13 | Occupied | 4 | 26 % | 0.810 m² | Rack C6, Floor Position = C6 | 27 | 44 | 27 | 25 | 44 | 25
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | C | 13 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | D | 13 | Free | 10 | 93 % | 8.560 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | D | 13 | Occupied | 3 | 7 % | 0.630 m² | ODF D2, Floor Position = D2 | 44 | 44 | 44 | 44 | 44 | 44
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | D | 13 | Occupied | 3 | 7 % | 0.630 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | D | 13 | Occupied | 3 | 7 % | 0.630 m² | Rack C5, Floor Position = C5 | 43 | 46 | 43 | 43 | 46 | 43
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | D | 13 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | G | 11 | Free | 10 | 93 % | 5.040 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | G | 11 | Occupied | 1 | 7 % | 0.360 m² | Rack G8, Floor Position = G8 | 0 | 47 | 0 | 0 | 47 | 0
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | G | 11 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | H | 11 | Free | 10 | 93 % | 5.040 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | H | 11 | Occupied | 1 | 7 % | 0.360 m² | Rack H8, Floor Position = H8 | 0 | 47 | 0 | 0 | 47 | 0
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | H | 11 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Free | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J1, Floor Position = J1 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J3, Floor Position = J3 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J4, Floor Position = J4 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J2, Floor Position = J2 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J5, Floor Position = J5 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack J6, Floor Position = J6 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | J | 6 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Free | 0 | 0 % | 0.001 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack K3, Floor Position = K3 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack K4, Floor Position = K4 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack K5, Floor Position = K5 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack K6, Floor Position = K6 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack K1, Floor Position = K1 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Occupied | 6 | 100 % | 2.160 m² | Rack K2, Floor Position = K2 | 36 | 38 | 36 | 36 | 38 | 36
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | K | 6 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | L | 1 | Free | 0 | 25 % | 0.090 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | L | 1 | Occupied | 1 | 75 % | 0.270 m² | ODF Amitie ODF - EXRN03, Floor Position = unset | 27 | 47 | 27 | 20 | 47 | 20
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | L | 1 | Reserved | 0 | 0 % | 0.000 m²
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | [6 empty] | Rack EXRN03-DCSYSa, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18
Room EXRN03 on Floor Ground Floor in Site EXETER TAN | 23171.00 W | 90000.00 W | 26 % | [6 empty] | Rack EXRN03-DCSYSb, Floor Position = Temp Mig | 19 | 46 | 19 | 18 | 25 | 18