## Suite Line Capacity
Report generated for: | Room FKE on Floor Ground Floor in Site FOLKESTONE TAN
| Quantity | % of all area | Area
Total free sections: | 21/94 | 35 % | 7.530 m²
Total occupied sections: | 73/94 | 65 % | 14.218 m²
Total reserved sections: | 0/94 | 0 % | 0.000 m²
Total Lines Capability |  |  | 21.748 m²
Total Location Capability |  |  | 85.397 m²
Total Location Free Area |  |  | 71.179 m²
Total Location Occupied Area |  |  | 14.218 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Free | 1 | 14 % | 0.225 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | Rack A0, Floor Position = A0 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | ODF A3, Floor Position = A3 | 43 | 55 | 43 | 33 | 55 | 33
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | ODF A1, Floor Position = A1 | 45 | 55 | 45 | 30 | 55 | 30
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | ODF A2, Floor Position = A2 | 37 | 55 | 37 | 20 | 55 | 20
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | Rack A5, Floor Position = A5 | 41 | 44 | 41 | 41 | 44 | 41
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | Rack A8, Floor Position = A8 | 55 | 55 | 55 | 55 | 55 | 55
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Occupied | 7 | 86 % | 1.440 m² | Rack A6, Floor Position = A6 | 41 | 44 | 41 | 41 | 44 | 41
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | A | 8 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | AB | 1 | Free | 0 | 25 % | 0.120 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | AB | 1 | Occupied | 1 | 75 % | 0.360 m² | Rack AB0, Floor Position = AB0 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | AB | 1 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Free | 2 | 17 % | 0.284 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B4, Floor Position = B4 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B2, Floor Position = B2 | 43 | 46 | 43 | 43 | 46 | 43
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B1, Floor Position = B1 | 43 | 46 | 43 | 43 | 46 | 43
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B5, Floor Position = B5 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B6, Floor Position = B6 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B8, Floor Position = B8 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Occupied | 7 | 83 % | 1.379 m² | Rack B7, Floor Position = B7 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | B | 9 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Free | 1 | 30 % | 1.036 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C1, Floor Position = C1 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C0, Floor Position = C0 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C3, Floor Position = C3 | 53 | 55 | 53 | 53 | 55 | 53
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C2, Floor Position = C2 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C6, Floor Position = C6 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C4, Floor Position = C4 | 53 | 55 | 53 | 53 | 55 | 53
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C5, Floor Position = C5 | 43 | 46 | 43 | 43 | 46 | 43
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C7, Floor Position = C7 | 51 | 54 | 51 | 51 | 54 | 51
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C8, Floor Position = C8 | 51 | 54 | 51 | 51 | 54 | 51
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C12, Floor Position = C12 | 10 | 47 | 10 | 8 | 47 | 8
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Occupied | 11 | 70 % | 2.385 m² | Rack C11, Floor Position = C11 | 31 | 44 | 31 | 31 | 44 | 31
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | C | 12 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Free | 4 | 49 % | 1.664 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D1, Floor Position = D1 | 53 | 55 | 53 | 53 | 55 | 53
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D0, Floor Position = D0 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D2, Floor Position = D2 | 53 | 55 | 53 | 53 | 55 | 53
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D3, Floor Position = D3 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | ODF D09, Floor Position = D9 | 44 | 46 | 44 | 27 | 46 | 27
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D10, Floor Position = D10 | 22 | 44 | 22 | 20 | 44 | 20
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D11, Floor Position = D11 | 23 | 44 | 23 | 20 | 44 | 20
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Occupied | 8 | 51 % | 1.755 m² | Rack D12, Floor Position = D12 | 35 | 45 | 35 | 34 | 45 | 34
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | D | 12 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Free | 2 | 28 % | 0.720 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E1, Floor Position = E1 | 42 | 42 | 42 | 42 | 42 | 42
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E3, Floor Position = E3 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E2, Floor Position = E2 | 42 | 42 | 42 | 42 | 42 | 42
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E4, Floor Position = E4 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E7, Floor Position = E7 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E6, Floor Position = E6 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E5, Floor Position = E5 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E8, Floor Position = E8 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Occupied | 9 | 72 % | 1.890 m² | Rack E9, Floor Position = E9 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | E | 11 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Free | 6 | 69 % | 1.800 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Occupied | 5 | 31 % | 0.810 m² | Rack E1, Floor Position = E1 | 42 | 42 | 42 | 42 | 42 | 42
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Occupied | 5 | 31 % | 0.810 m² | Rack F3, Floor Position = F3 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Occupied | 5 | 31 % | 0.810 m² | Rack E2, Floor Position = E2 | 42 | 42 | 42 | 42 | 42 | 42
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Occupied | 5 | 31 % | 0.810 m² | Rack F4, Floor Position = F4 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Occupied | 5 | 31 % | 0.810 m² | Rack F5, Floor Position = F5 | 54 | 54 | 54 | 54 | 54 | 54
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | F | 11 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Free | 3 | 21 % | 0.540 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G/H04, Floor Position = G4 | 8 | 45 | 8 | 3 | 45 | 3
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G1, Floor Position = G1 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G2, Floor Position = G2 | 39 | 42 | 39 | 39 | 42 | 39
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G3, Floor Position = G3 | 30 | 40 | 30 | 26 | 31 | 26
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G8, Floor Position = G8 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G9, Floor Position = G9 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G10, Floor Position = G10 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G11, Floor Position = G11 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G12, Floor Position = G12 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G13, Floor Position = G13 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Occupied | 12 | 79 % | 1.979 m² | Rack G14, Floor Position = G14 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | G | 15 | Reserved | 0 | 0 % | 0.000 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Free | 2 | 34 % | 1.141 m²
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack G/H04, Floor Position = G4 | 8 | 45 | 8 | 3 | 45 | 3
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H1, Floor Position = H1 | 52 | 55 | 52 | 52 | 55 | 52
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H0, Floor Position = H0 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack G2, Floor Position = G2 | 39 | 42 | 39 | 39 | 42 | 39
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack G3, Floor Position = G3 | 30 | 40 | 30 | 26 | 31 | 26
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H5, Floor Position = H5 | 35 | 45 | 35 | 31 | 45 | 31
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack G8, Floor Position = G8 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack G9, Floor Position = G9 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H10, Floor Position = H10 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H11, Floor Position = H11 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H12, Floor Position = H12 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H13, Floor Position = H13 | 44 | 47 | 44 | 44 | 47 | 44
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Occupied | 13 | 66 % | 2.220 m² | Rack H14, Floor Position = H14 | 5 | 47 | 5 | 5 | 47 | 5
Room FKE on Floor Ground Floor in Site FOLKESTONE TAN | 6475.00 W | 22500.00 W | 29 % | H | 15 | Reserved | 0 | 0 % | 0.000 m²