## Suite Line Capacity
Report generated for: | Room FMYN31 on Floor Ground Floor in Site FRIMLEY
| Quantity | % of all area | Area
Total free sections: | 21/41 | 48 % | 4.505 m²
Total occupied sections: | 20/41 | 52 % | 4.975 m²
Total reserved sections: | 0/41 | 0 % | 0.000 m²
Total Lines Capability |  |  | 9.480 m²
Total Location Capability |  |  | 54.696 m²
Total Location Free Area |  |  | 49.721 m²
Total Location Occupied Area |  |  | 4.975 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | A | 3 | Free | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | A | 3 | Occupied | 3 | 100 % | 1.080 m² | Rack A3, Floor Position = A03 | 47 | 47 | 47 | 47 | 47 | 47
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | A | 3 | Occupied | 3 | 100 % | 1.080 m² | Rack A2, Floor Position = A02 | 47 | 47 | 47 | 47 | 47 | 47
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | A | 3 | Occupied | 3 | 100 % | 1.080 m² | Rack FMYN31; DC SYS01, Floor Position = A01 | 23 | 46 | 23 | 23 | 25 | 23
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | A | 3 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Free | 1 | 18 % | 0.225 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Occupied | 5 | 82 % | 1.035 m² | Rack B05, Floor Position = B5 | 36 | 46 | 36 | 28 | 46 | 28
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Occupied | 5 | 82 % | 1.035 m² | ODF B7, Floor Position = B7 | 33 | 46 | 33 | 30 | 46 | 30
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Occupied | 5 | 82 % | 1.035 m² | Rack B4, Floor Position = B4 | 19 | 44 | 19 | 15 | 44 | 15
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Occupied | 5 | 82 % | 1.035 m² | Rack B/C02, Floor Position = B2 | 23 | 36 | 12 | 18 | 36 | 7
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Occupied | 5 | 82 % | 1.035 m² | Rack B1, Floor Position = B1 | 5 | 47 | 5 | 5 | 47 | 5
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | B | 6 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Free | 1 | 14 % | 0.180 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Occupied | 5 | 86 % | 1.080 m² | ODF C05, Floor Position = C5 | 44 | 46 | 44 | 30 | 46 | 30
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Occupied | 5 | 86 % | 1.080 m² | ODF CODF C07, Floor Position = C7 | 30 | 46 | 30 | 13 | 46 | 13
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack C4, Floor Position = C4 | 9 | 44 | 9 | 6 | 44 | 6
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack B/C02, Floor Position = B2 | 23 | 36 | 12 | 18 | 36 | 7
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Occupied | 5 | 86 % | 1.080 m² | Rack B1, Floor Position = B1 | 5 | 47 | 5 | 5 | 47 | 5
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | C | 6 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | D | 6 | Free | 2 | 42 % | 0.700 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | D | 6 | Occupied | 4 | 58 % | 0.980 m² | Rack DE05, Floor Position = D5 | 9 | 47 | 9 | 5 | 47 | 5
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | D | 6 | Occupied | 4 | 58 % | 0.980 m² | Rack D7, Floor Position = D7 | 43 | 36 | 36 | 36 | 35 | 35
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | D | 6 | Occupied | 4 | 58 % | 0.980 m² | Rack DE/06, Floor Position = D6 | 31 | 43 | 28 | 18 | 42 | 15
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | D | 6 | Occupied | 4 | 58 % | 0.980 m² | Rack D01, Floor Position = D1 | 22 | 46 | 22 | 16 | 46 | 16
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | D | 6 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | E | 6 | Free | 3 | 52 % | 0.880 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | E | 6 | Occupied | 3 | 48 % | 0.800 m² | Rack DE05, Floor Position = D5 | 9 | 47 | 9 | 5 | 47 | 5
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | E | 6 | Occupied | 3 | 48 % | 0.800 m² | Rack D7, Floor Position = D7 | 43 | 36 | 36 | 36 | 35 | 35
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | E | 6 | Occupied | 3 | 48 % | 0.800 m² | Rack DE/06, Floor Position = D6 | 31 | 43 | 28 | 18 | 42 | 15
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | E | 6 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | F | 5 | Free | 5 | 100 % | 0.900 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | F | 5 | Occupied | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | F | 5 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | G | 5 | Free | 5 | 100 % | 0.900 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | G | 5 | Occupied | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | G | 5 | Reserved | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | H | 4 | Free | 4 | 100 % | 0.720 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | H | 4 | Occupied | 0 | 0 % | 0.000 m²
Room FMYN31 on Floor Ground Floor in Site FRIMLEY | 12605.00 W | 11250.00 W | 112 % | H | 4 | Reserved | 0 | 0 % | 0.000 m²