## Suite Line Capacity
Report generated for: | Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS
| Quantity | % of all area | Area
Total free sections: | 0/10 | 10 % | 0.298 m²
Total occupied sections: | 10/10 | 90 % | 2.819 m²
Total reserved sections: | 0/10 | 0 % | 0.000 m²
Total Lines Capability |  |  | 3.117 m²
Total Location Capability |  |  | 28.872 m²
Total Location Free Area |  |  | 25.693 m²
Total Location Occupied Area |  |  | 3.179 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | A | 4 | Free | 0 | 0 % | 0.000 m²
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | A | 4 | Occupied | 4 | 100 % | 1.440 m² | Rack A1, Floor Position = A1 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | A | 4 | Occupied | 4 | 100 % | 1.440 m² | Rack A2, Floor Position = A2 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | A | 4 | Occupied | 4 | 100 % | 1.440 m² | Rack A3, Floor Position = A3 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | A | 4 | Occupied | 4 | 100 % | 1.440 m² | Rack A4, Floor Position = A4 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | A | 4 | Reserved | 0 | 0 % | 0.000 m²
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | B | 4 | Free | 0 | 18 % | 0.269 m²
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | B | 4 | Occupied | 4 | 82 % | 1.259 m² | Rack B1, Floor Position = B01 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | B | 4 | Occupied | 4 | 82 % | 1.259 m² | Rack B3, Floor Position = B03 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | B | 4 | Occupied | 4 | 82 % | 1.259 m² | Rack B2, Floor Position = B02 | 47 | 47 | 47 | 47 | 47 | 47
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | B | 4 | Occupied | 4 | 82 % | 1.259 m² | Rack B4, Floor Position = B04 | 31 | 44 | 31 | 31 | 44 | 31
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | B | 4 | Reserved | 0 | 0 % | 0.000 m²
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | C | 2 | Free | 0 | 19 % | 0.029 m²
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | C | 2 | Occupied | 2 | 81 % | 0.120 m² | Rack C2, Floor Position = C2 | 5 | 47 | 5 | 5 | 47 | 5
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | C | 2 | Occupied | 2 | 81 % | 0.120 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | C | 2 | Reserved | 0 | 0 % | 0.000 m²
Room FTATA1 on Floor Basement in Site S.S.E.T SITE - FORT AUGUSTUS | 409.00 W | 5000.00 W | 8 % | [6 empty] | Rack FTATA1; DC SYS01, Floor Position = Temp Mig | 21 | 46 | 21 | 20 | 25 | 20