## Suite Line Capacity
Report generated for: | Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER
| Quantity | % of all area | Area
Total free sections: | 54/204 | 43 % | 28.952 m²
Total occupied sections: | 150/204 | 57 % | 38.734 m²
Total reserved sections: | 0/204 | 0 % | 0.000 m²
Total Lines Capability |  |  | 67.686 m²
Total Location Capability |  |  | 317.393 m²
Total Location Free Area |  |  | 277.506 m²
Total Location Occupied Area |  |  | 39.886 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Free | 5 | 44 % | 7.232 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack AB30, Floor Position = A30 | 8 | 47 | 8 | 2 | 47 | 2
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A30a, Floor Position = A30a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A26, Floor Position = A26 | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A28, Floor Position = A28 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A27, Floor Position = A27 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A16, Floor Position = A16 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A17, Floor Position = A17 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack AB18, Floor Position = A18 | 6 | 33 | 5 | 4 | 33 | 4
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A15, Floor Position = A15 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A14, Floor Position = A14 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A16a, Floor Position = A16a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A12, Floor Position = A12 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A11, Floor Position = A11 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A10, Floor Position = A10 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A13, Floor Position = A13 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A7, Floor Position = A7 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A5, Floor Position = A5 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A6, Floor Position = A6 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A8, Floor Position = A8 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A9, Floor Position = A9 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A2, Floor Position = A2 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A1, Floor Position = A1 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A3, Floor Position = A3 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Occupied | 24 | 56 % | 9.229 m² | Rack A4, Floor Position = A4 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | A | 29 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Free | 6 | 32 % | 2.235 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack AB30, Floor Position = A30 | 8 | 47 | 8 | 2 | 47 | 2
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack B30a, Floor Position = B30a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A26, Floor Position = A26 | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A28, Floor Position = A28 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A27, Floor Position = A27 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack B16, Floor Position = B16 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack B17, Floor Position = B17 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A14, Floor Position = A14 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A15, Floor Position = A15 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack B16a, Floor Position = B16a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A12, Floor Position = A12 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A10, Floor Position = A10 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A11, Floor Position = A11 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A13, Floor Position = A13 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A7, Floor Position = A7 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A6, Floor Position = A6 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A5, Floor Position = A5 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A8, Floor Position = A8 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A9, Floor Position = A9 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A2, Floor Position = A2 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A1, Floor Position = A1 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A3, Floor Position = A3 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Occupied | 23 | 68 % | 4.830 m² | Rack A4, Floor Position = A4 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | B | 29 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Free | 15 | 72 % | 7.562 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | ODF C24, Floor Position = C24 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | ODF C23, Floor Position = C23 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C14a, Floor Position = D14a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C13, Floor Position = C13 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C12, Floor Position = C12 | 40 | 45 | 40 | 40 | 45 | 40
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C13a, Floor Position = C13a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C11, Floor Position = C11 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C5, Floor Position = C5 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C4, Floor Position = C4 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C4a, Floor Position = D4a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C2, Floor Position = C2 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Occupied | 12 | 28 % | 2.878 m² | Rack C1, Floor Position = C1 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | C | 27 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Free | 6 | 36 % | 3.733 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | ODF C24, Floor Position = C24 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | ODF D24, Floor Position = D24 | 0 | 47 | 0 | 0 | 47 | 0
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | ODF D23, Floor Position = D23 | 44 | 47 | 44 | 42 | 47 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | ODF C23, Floor Position = C23 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C22, Floor Position = C22 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C20, Floor Position = C20 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C19, Floor Position = C19 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C21, Floor Position = C21 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C18, Floor Position = C18 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C17, Floor Position = C17 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack D15, Floor Position = C15 | 35 | 45 | 35 | 35 | 45 | 35
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C14, Floor Position = C14 | 40 | 45 | 40 | 40 | 45 | 40
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C16, Floor Position = C16 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C14a, Floor Position = D14a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack D14a, Floor Position = D14a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C13, Floor Position = C13 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C12, Floor Position = C12 | 40 | 45 | 40 | 40 | 45 | 40
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack D13a, Floor Position = D13a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C11, Floor Position = C11 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C5, Floor Position = C5 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C4a, Floor Position = D4a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C4, Floor Position = C4 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C2, Floor Position = C2 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Occupied | 21 | 64 % | 6.707 m² | Rack C1, Floor Position = C1 | 45 | 45 | 45 | 45 | 45 | 45
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | D | 27 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Free | 4 | 24 % | 1.395 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E20, Floor Position = E20 | 33 | 33 | 33 | 33 | 33 | 33
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E19, Floor Position = E19 | 32 | 32 | 32 | 32 | 32 | 32
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E18, Floor Position = E18 | 31 | 31 | 31 | 31 | 31 | 31
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E16, Floor Position = E16 | 29 | 29 | 29 | 29 | 29 | 29
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E17, Floor Position = E17 | 30 | 30 | 30 | 30 | 30 | 30
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E13, Floor Position = E13 | 26 | 26 | 26 | 26 | 26 | 26
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E14, Floor Position = E14 | 27 | 27 | 27 | 27 | 27 | 27
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E15, Floor Position = E15 | 28 | 28 | 28 | 28 | 28 | 28
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E12, Floor Position = E12 | 25 | 25 | 25 | 25 | 25 | 25
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E11, Floor Position = E11 | 24 | 24 | 24 | 24 | 24 | 24
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E9, Floor Position = E9 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E10, Floor Position = E10 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E10a, Floor Position = E10a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E8, Floor Position = E8 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E6, Floor Position = E6 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E7, Floor Position = E7 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E4, Floor Position = E4 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E5, Floor Position = E5 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E3, Floor Position = E3 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E1, Floor Position = E1 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | E | 24 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Free | 4 | 24 % | 1.395 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E1, Floor Position = E1 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E6, Floor Position = E6 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E4, Floor Position = E4 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E5, Floor Position = E5 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E3, Floor Position = E3 | 43 | 45 | 43 | 43 | 45 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E8, Floor Position = E8 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E9, Floor Position = E9 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E7, Floor Position = E7 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack E10, Floor Position = E10 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F10a, Floor Position = F10a | 47 | 47 | 47 | 47 | 47 | 47
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F13, Floor Position = F13 | 36 | 36 | 36 | 36 | 36 | 36
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F12, Floor Position = F12 | 35 | 35 | 35 | 35 | 35 | 35
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F11, Floor Position = F11 | 34 | 34 | 34 | 34 | 34 | 34
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F14, Floor Position = F14 | 37 | 37 | 37 | 37 | 37 | 37
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F15, Floor Position = F15 | 38 | 38 | 38 | 38 | 38 | 38
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F20, Floor Position = F20 | 43 | 43 | 43 | 43 | 43 | 43
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F16, Floor Position = F16 | 39 | 39 | 39 | 39 | 39 | 39
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F17, Floor Position = F17 | 40 | 40 | 40 | 40 | 40 | 40
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F19, Floor Position = F19 | 42 | 42 | 42 | 42 | 42 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Occupied | 20 | 76 % | 4.365 m² | Rack F18, Floor Position = F18 | 41 | 41 | 41 | 41 | 41 | 41
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | F | 24 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Free | 6 | 49 % | 3.315 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | ODF G01, Floor Position = G1 | 0 | 47 | 0 | 0 | 47 | 0
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack G4, Floor Position = G4 | 31 | 45 | 31 | 22 | 45 | 22
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack H07, Floor Position = H7 | 25 | 44 | 25 | 19 | 44 | 19
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack GH05, Floor Position = H5 | 20 | 45 | 20 | 12 | 45 | 12
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack H06, Floor Position = H6 | 13 | 45 | 13 | 2 | 45 | 2
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | ODF G2, Floor Position = G2 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack H3, Floor Position = H3 | 7 | 45 | 7 | 3 | 45 | 3
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack H9a, Floor Position = H9a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack G8a, Floor Position = G8a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack G8, Floor Position = G8 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | ODF CODF G12, Floor Position = G12 | 23 | 47 | 23 | 10 | 47 | 10
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack G14, Floor Position = G14 | 22 | 47 | 22 | 12 | 47 | 12
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | ODF G10, Floor Position = G10 | 44 | 46 | 44 | 23 | 46 | 23
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | ODF G09, Floor Position = G9 | 45 | 47 | 45 | 24 | 47 | 24
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Occupied | 15 | 51 % | 3.405 m² | Rack G21, Floor Position = G21 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | G | 21 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Free | 8 | 41 % | 2.085 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | ODF H1, Floor Position = H1 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H4, Floor Position = H4 | 41 | 45 | 41 | 41 | 45 | 41
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H06, Floor Position = H6 | 13 | 45 | 13 | 2 | 45 | 2
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H07, Floor Position = H7 | 25 | 44 | 25 | 19 | 44 | 19
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack GH05, Floor Position = H5 | 20 | 45 | 20 | 12 | 45 | 12
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | ODF H2, Floor Position = H2 | 44 | 47 | 44 | 44 | 47 | 44
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H3, Floor Position = H3 | 7 | 45 | 7 | 3 | 45 | 3
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H9a, Floor Position = H9a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H8, Floor Position = H8 | 41 | 45 | 41 | 41 | 45 | 41
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H8a, Floor Position = H8a | 5 | 47 | 5 | 5 | 47 | 5
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H12, Floor Position = H12 | 38 | 44 | 38 | 37 | 44 | 37
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H11, Floor Position = H11 | 8 | 44 | 8 | 4 | 44 | 4
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H10, Floor Position = H10 | 5 | 44 | 5 | 1 | 44 | 1
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack H09, Floor Position = H9 | 21 | 44 | 21 | 18 | 44 | 18
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Occupied | 15 | 59 % | 2.955 m² | Rack G21, Floor Position = G21 | 42 | 45 | 42 | 42 | 45 | 42
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | H | 23 | Reserved | 0 | 0 % | 0.000 m²
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | [6 empty] | Rack G20, Floor Position = G20 | 36 | 45 | 36 | 36 | 45 | 36
Room GCRTB1 on Floor Ground Floor in Site GLOUCESTER | 50213.00 W | 45000.00 W | 112 % | [6 empty] | Rack GCRTB1;DC SYS01, Floor Position = Temp Mig | 18 | 46 | 18 | 17 | 25 | 17