## Suite Line Capacity
Report generated for: | Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1
| Quantity | % of all area | Area
Total free sections: | 72/314 | 56 % | 66.221 m²
Total occupied sections: | 242/314 | 44 % | 53.032 m²
Total reserved sections: | 0/314 | 0 % | 0.000 m²
Total Lines Capability |  |  | 119.253 m²
Total Location Capability |  |  | 377.529 m²
Total Location Free Area |  |  | 324.497 m²
Total Location Occupied Area |  |  | 53.032 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Free | 0 | 29 % | 0.652 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Occupied | 6 | 71 % | 1.599 m² | ODF A01, Floor Position = A01 | 20 | 56 | 20 | 8 | 56 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Occupied | 6 | 71 % | 1.599 m² | ODF A02, Floor Position = A02 | 20 | 56 | 20 | 10 | 56 | 10
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Occupied | 6 | 71 % | 1.599 m² | ODF A03, Floor Position = A03 | 19 | 56 | 19 | 12 | 56 | 12
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Occupied | 6 | 71 % | 1.599 m² | ODF A04, Floor Position = A04 | 36 | 56 | 36 | 20 | 56 | 20
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Occupied | 6 | 71 % | 1.599 m² | ODF A05, Floor Position = A05 | 34 | 56 | 34 | 18 | 56 | 18
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Occupied | 6 | 71 % | 1.599 m² | ODF A06, Floor Position = A06 | 49 | 56 | 49 | 46 | 56 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | A | 6 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AA | 9 | Free | 3 | 79 % | 9.099 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AA | 9 | Occupied | 6 | 21 % | 2.407 m² | Rack AA14, Floor Position = AA14 | 44 | 47 | 44 | 44 | 47 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AA | 9 | Occupied | 6 | 21 % | 2.407 m² | Rack AA12, Floor Position = AA12 | 44 | 47 | 44 | 44 | 47 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AA | 9 | Occupied | 6 | 21 % | 2.407 m² | Rack AA10, Floor Position = AA10 | 44 | 47 | 44 | 44 | 47 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AA | 9 | Occupied | 6 | 21 % | 2.407 m² | Rack AA1, Floor Position = AA01 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AA | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AB | 9 | Free | 9 | 100 % | 8.018 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AB | 9 | Occupied | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AB | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AC | 3 | Free | 2 | 84 % | 1.041 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AC | 3 | Occupied | 1 | 16 % | 0.192 m² | Rack AD3, Floor Position = AD03 | 26 | 29 | 26 | 26 | 29 | 26
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AC | 3 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AD | 3 | Free | 0 | 9 % | 0.105 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AD | 3 | Occupied | 3 | 91 % | 1.128 m² | Rack AD1, Floor Position = AD01 | 47 | 47 | 47 | 47 | 47 | 47
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AD | 3 | Occupied | 3 | 91 % | 1.128 m² | Rack AD2, Floor Position = AD02 | 40 | 40 | 40 | 40 | 40 | 40
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AD | 3 | Occupied | 3 | 91 % | 1.128 m² | Rack AD3, Floor Position = AD03 | 26 | 29 | 26 | 26 | 29 | 26
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AD | 3 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AE | 11 | Free | 9 | 85 % | 8.822 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AE | 11 | Occupied | 2 | 15 % | 1.506 m² | Rack AE0, Floor Position = unset | 0 | 47 | 0 | 0 | 47 | 0
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AE | 11 | Occupied | 2 | 15 % | 1.506 m² | Rack AE01, Floor Position = unset | 11 | 37 | 11 | 3 | 37 | 3
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AE | 11 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AF | 11 | Free | 10 | 93 % | 9.682 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AF | 11 | Occupied | 1 | 7 % | 0.720 m² | Rack AF0, Floor Position = AF00 | 0 | 47 | 0 | 0 | 47 | 0
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AF | 11 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AG | 11 | Free | 10 | 96 % | 8.239 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AG | 11 | Occupied | 1 | 4 % | 0.360 m² | Rack AG0, Floor Position = AG00 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AG | 11 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AH | 6 | Free | 6 | 100 % | 4.800 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AH | 6 | Occupied | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | AH | 6 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Free | 1 | 14 % | 0.281 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B2, Floor Position = B02 | 42 | 44 | 42 | 42 | 44 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B1, Floor Position = B01 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B0, Floor Position = B00 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B4, Floor Position = B04 | 42 | 44 | 42 | 42 | 44 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B3, Floor Position = B03 | 42 | 44 | 42 | 42 | 44 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B5, Floor Position = B05 | 42 | 44 | 42 | 42 | 44 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B6, Floor Position = B06 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B7, Floor Position = B07 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B8, Floor Position = B08 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B9, Floor Position = B09 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B10, Floor Position = B10 | 42 | 44 | 42 | 42 | 44 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Occupied | 12 | 86 % | 1.789 m² | Rack B12, Floor Position = B12 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | B | 13 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Free | 2 | 38 % | 0.788 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C1, Floor Position = C01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C0, Floor Position = C00 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C6, Floor Position = C06 | 45 | 47 | 45 | 45 | 47 | 45
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C8, Floor Position = C08 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C7, Floor Position = C07 | 41 | 46 | 41 | 41 | 46 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C9, Floor Position = C09 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C10, Floor Position = C10 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Occupied | 8 | 62 % | 1.303 m² | Rack C12, Floor Position = C12 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | C | 10 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Free | 1 | 48 % | 1.615 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D2, Floor Position = D02 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D0, Floor Position = D00 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D4, Floor Position = D04 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D3, Floor Position = D03 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D06, Floor Position = D06 | 22 | 46 | 22 | 16 | 46 | 16
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D8, Floor Position = D08 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D7, Floor Position = D07 | 14 | 56 | 14 | 8 | 56 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D9, Floor Position = D09 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D10, Floor Position = D10 | 51 | 56 | 51 | 51 | 56 | 51
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D11, Floor Position = D11 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Occupied | 11 | 52 % | 1.748 m² | Rack D12, Floor Position = D12 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | D | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Free | 1 | 19 % | 0.475 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E2, Floor Position = E02 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E1, Floor Position = E01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E0, Floor Position = E00 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E5, Floor Position = E05 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E3, Floor Position = E03 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E4, Floor Position = E04 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E7, Floor Position = E07 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E6, Floor Position = E06 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E8, Floor Position = E08 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E9, Floor Position = E09 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Occupied | 11 | 81 % | 1.980 m² | Rack E10, Floor Position = E10 | 42 | 46 | 42 | 35 | 46 | 35
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | E | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Free | 1 | 19 % | 0.411 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F2, Floor Position = F02 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F1, Floor Position = F01 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F0, Floor Position = F00 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F4, Floor Position = F04 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F3, Floor Position = F03 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F5, Floor Position = F05 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F6, Floor Position = F06 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F7, Floor Position = F07 | 52 | 56 | 52 | 52 | 56 | 52
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F8, Floor Position = F08 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F9, Floor Position = F09 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Occupied | 11 | 81 % | 1.787 m² | Rack F10, Floor Position = F10 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | F | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Free | 1 | 11 % | 0.249 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G1, Floor Position = G01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G0, Floor Position = G00 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G3, Floor Position = G03 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G2, Floor Position = G02 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G4, Floor Position = G04 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G05, Floor Position = G05 | 41 | 46 | 41 | 26 | 46 | 26
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G7, Floor Position = G07 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G8, Floor Position = G08 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G9, Floor Position = G09 | 52 | 56 | 52 | 52 | 56 | 52
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G11, Floor Position = G11 | 55 | 56 | 55 | 55 | 56 | 55
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Occupied | 11 | 89 % | 2.025 m² | Rack G10, Floor Position = G10 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | G | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Free | 0 | 3 % | 0.066 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H1, Floor Position = H01 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H2, Floor Position = H02 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H3, Floor Position = H03 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H6, Floor Position = H06 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H7, Floor Position = H07 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H4, Floor Position = H04 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H5, Floor Position = H05 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H8, Floor Position = H08 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H9, Floor Position = H09 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Occupied | 10 | 97 % | 2.108 m² | Rack H10, Floor Position = H10 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | H | 10 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Free | 0 | 6 % | 0.259 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH11, Floor Position = unset | 24 | 36 | 23 | 8 | 29 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH10, Floor Position = unset | 19 | 34 | 17 | 8 | 21 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH/JJ08, Floor Position = unset | 21 | 44 | 21 | 11 | 44 | 11
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH/JJ09, Floor Position = unset | 4 | 33 | 3 | 4 | 32 | 2
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH/JJ07, Floor Position = unset | 8 | 39 | 5 | 5 | 37 | 2
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH/JJ05, Floor Position = unset | 21 | 39 | 18 | 9 | 37 | 9
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH6, Floor Position = unset | 40 | 44 | 40 | 40 | 44 | 40
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH4, Floor Position = unset | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH3, Floor Position = unset | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Occupied | 10 | 94 % | 3.866 m² | Rack HH1, Floor Position = HH01 | 8 | 21 | 2 | 3 | 9 | 1
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | HH | 10 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | J | 8 | Free | 4 | 51 % | 1.113 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | J | 8 | Occupied | 4 | 49 % | 1.061 m² | ODF J01, Floor Position = J01 | 44 | 46 | 44 | 30 | 46 | 30
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | J | 8 | Occupied | 4 | 49 % | 1.061 m² | ODF CODF J04, Floor Position = J04 | 23 | 47 | 23 | 11 | 47 | 11
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | J | 8 | Occupied | 4 | 49 % | 1.061 m² | ODF J03, Floor Position = J03 | 44 | 46 | 44 | 30 | 46 | 30
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | J | 8 | Occupied | 4 | 49 % | 1.061 m² | ODF J02, Floor Position = J02 | 44 | 46 | 44 | 30 | 46 | 30
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | J | 8 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Free | 4 | 46 % | 1.899 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Occupied | 6 | 54 % | 2.226 m² | Rack HH11, Floor Position = unset | 24 | 36 | 23 | 8 | 29 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Occupied | 6 | 54 % | 2.226 m² | Rack HH10, Floor Position = unset | 19 | 34 | 17 | 8 | 21 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Occupied | 6 | 54 % | 2.226 m² | Rack HH/JJ09, Floor Position = unset | 4 | 33 | 3 | 4 | 32 | 2
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Occupied | 6 | 54 % | 2.226 m² | Rack HH/JJ07, Floor Position = unset | 8 | 39 | 5 | 5 | 37 | 2
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Occupied | 6 | 54 % | 2.226 m² | Rack HH/JJ05, Floor Position = unset | 21 | 39 | 18 | 9 | 37 | 9
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Occupied | 6 | 54 % | 2.226 m² | Rack HH1, Floor Position = HH01 | 8 | 21 | 2 | 3 | 9 | 1
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | JJ | 10 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Free | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K1, Floor Position = K01 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K4, Floor Position = K04 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K2, Floor Position = K02 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K3, Floor Position = K03 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K5, Floor Position = K05 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K6, Floor Position = K06 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K7, Floor Position = K07 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack K8, Floor Position = K08 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | K | 8 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Free | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L1, Floor Position = L01 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L4, Floor Position = L04 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L3, Floor Position = L03 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L2, Floor Position = L02 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L5, Floor Position = L05 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L6, Floor Position = L06 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L7, Floor Position = L07 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Occupied | 8 | 100 % | 2.141 m² | Rack L8, Floor Position = L08 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | L | 8 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Free | 1 | 12 % | 0.279 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M1, Floor Position = M01 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M4, Floor Position = M04 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M3, Floor Position = M03 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M2, Floor Position = M02 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M5, Floor Position = M05 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M6, Floor Position = M06 | 56 | 56 | 56 | 56 | 56 | 56
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M8, Floor Position = M08 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Occupied | 8 | 88 % | 2.065 m² | Rack M9, Floor Position = M09 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | M | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Free | 0 | 55 % | 1.301 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N1, Floor Position = N01 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N2, Floor Position = N02 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N6, Floor Position = N06 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N4, Floor Position = N04 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N3, Floor Position = N03 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N5, Floor Position = N05 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N8, Floor Position = N08 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N7, Floor Position = N07 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N9, Floor Position = N09 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N11, Floor Position = N11 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N10, Floor Position = N10 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Occupied | 12 | 45 % | 1.044 m² | Rack N12, Floor Position = N12 | 42 | 42 | 42 | 42 | 42 | 42
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | N | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Free | 0 | 19 % | 0.508 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P2, Floor Position = P02 | 22 | 44 | 22 | 19 | 44 | 19
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P1, Floor Position = P01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P0, Floor Position = P0 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P5, Floor Position = P05 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P04, Floor Position = P04 | 23 | 44 | 23 | 19 | 44 | 19
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P3, Floor Position = P03 | 12 | 44 | 12 | 8 | 44 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P6, Floor Position = P06 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P7, Floor Position = unset | 20 | 44 | 20 | 16 | 44 | 16
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P8, Floor Position = P08 | 21 | 44 | 21 | 19 | 44 | 19
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P10, Floor Position = P10 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Occupied | 11 | 81 % | 2.159 m² | Rack P9, Floor Position = P09 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | P | 11 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Free | 0 | 12 % | 0.318 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q2, Floor Position = Q02 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q0, Floor Position = Q0 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q1, Floor Position = Q01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q05, Floor Position = Q05 | 27 | 44 | 27 | 14 | 44 | 14
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q3, Floor Position = Q03 | 37 | 44 | 37 | 37 | 44 | 37
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q4, Floor Position = Q04 | 39 | 44 | 39 | 39 | 44 | 39
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q05A, Floor Position = Q5a | 23 | 47 | 23 | 16 | 47 | 16
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q6, Floor Position = Q06 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q7, Floor Position = Q07 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q8, Floor Position = Q08 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Occupied | 11 | 88 % | 2.391 m² | Rack Q10, Floor Position = Q10 | 24 | 44 | 24 | 22 | 44 | 22
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | Q | 11 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Free | 1 | 10 % | 0.219 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R1, Floor Position = R01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R0, Floor Position = R0 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R5, Floor Position = S05 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R3, Floor Position = S03 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R2, Floor Position = S02 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R4, Floor Position = S04 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R7, Floor Position = S07 | 44 | 46 | 44 | 44 | 46 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R6, Floor Position = S06 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack R8, Floor Position = S08 | 44 | 46 | 44 | 44 | 46 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack S10, Floor Position = R10 | 45 | 45 | 45 | 45 | 45 | 45
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Occupied | 11 | 90 % | 1.941 m² | Rack S11, Floor Position = R11 | 45 | 45 | 45 | 45 | 45 | 45
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | R | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Free | 3 | 27 % | 0.596 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack S0, Floor Position = S0 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack S1, Floor Position = S01 | 54 | 56 | 54 | 54 | 56 | 54
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R3, Floor Position = S03 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R4, Floor Position = S04 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R6, Floor Position = S06 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R7, Floor Position = S07 | 44 | 46 | 44 | 44 | 46 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R8, Floor Position = S08 | 44 | 46 | 44 | 44 | 46 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R5, Floor Position = S05 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Occupied | 9 | 73 % | 1.590 m² | Rack R2, Floor Position = S02 | 46 | 46 | 46 | 46 | 46 | 46
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | S | 12 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Free | 1 | 30 % | 0.709 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T1, Floor Position = T01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T0, Floor Position = U00 | 0 | 42 | 0 | 0 | 42 | 0
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T3, Floor Position = T03 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T2, Floor Position = T02 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T4, Floor Position = T04 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T5, Floor Position = T05 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T6, Floor Position = T06 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T7a, Floor Position = unset | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Occupied | 9 | 70 % | 1.667 m² | Rack T8, Floor Position = U08 | 44 | 47 | 44 | 44 | 47 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | T | 10 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Free | 0 | 11 % | 0.234 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U1, Floor Position = U01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack T0, Floor Position = U00 | 0 | 42 | 0 | 0 | 42 | 0
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U2, Floor Position = U02 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U3, Floor Position = U03 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U4, Floor Position = U04 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U5, Floor Position = U05 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U6, Floor Position = unset | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack T8, Floor Position = U08 | 44 | 47 | 44 | 44 | 47 | 44
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Occupied | 9 | 89 % | 1.901 m² | Rack U9, Floor Position = U09 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | U | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Free | 0 | 22 % | 0.562 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V1, Floor Position = V01 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V0, Floor Position = V0 | 5 | 47 | 5 | 5 | 47 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V4, Floor Position = V04 | 39 | 42 | 39 | 39 | 42 | 39
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V3, Floor Position = V03 | 17 | 26 | 10 | 6 | 7 | 3
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V2, Floor Position = V02 | 53 | 56 | 53 | 53 | 56 | 53
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V/W05, Floor Position = V05 | 14 | 43 | 13 | 11 | 25 | 11
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V6, Floor Position = V06 | 14 | 41 | 14 | 5 | 41 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V7, Floor Position = V07 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V/W08, Floor Position = V08 | 18 | 32 | 17 | 10 | 17 | 10
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Occupied | 10 | 78 % | 2.009 m² | Rack V9, Floor Position = V9 | 5 | 42 | 5 | 5 | 42 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | V | 10 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Free | 2 | 61 % | 1.579 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack W1, Floor Position = W01 | 31 | 46 | 31 | 26 | 46 | 26
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack W03, Floor Position = W03 | 17 | 45 | 17 | 10 | 45 | 10
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack W02, Floor Position = W02 | 25 | 45 | 25 | 14 | 45 | 14
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack V4, Floor Position = V04 | 39 | 42 | 39 | 39 | 42 | 39
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack V/W05, Floor Position = V05 | 14 | 43 | 13 | 11 | 25 | 11
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack V6, Floor Position = V06 | 14 | 41 | 14 | 5 | 41 | 5
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Occupied | 7 | 39 % | 0.992 m² | Rack V7, Floor Position = V07 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | W | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Free | 0 | 42 % | 1.763 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X00, Floor Position = X0 | 21 | 46 | 21 | 9 | 46 | 9
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X1, Floor Position = X1 | 10 | 44 | 10 | 8 | 44 | 8
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X3, Floor Position = X3 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X2, Floor Position = X2 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X4, Floor Position = X4 | 41 | 44 | 41 | 41 | 44 | 41
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X6, Floor Position = X6 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X5, Floor Position = X5 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X7, Floor Position = X7 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X8, Floor Position = X8 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X9, Floor Position = X9 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X10, Floor Position = X10 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X11, Floor Position = X11 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Occupied | 13 | 58 % | 2.462 m² | Rack X12, Floor Position = X12 | 43 | 46 | 43 | 43 | 46 | 43
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | X | 13 | Reserved | 0 | 0 % | 0.000 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | XX | 2 | Free | 0 | 43 % | 0.540 m²
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | XX | 2 | Occupied | 2 | 57 % | 0.720 m² | Rack XX03, Floor Position = XX3 | 19 | 39 | 13 | 8 | 36 | 2
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | XX | 2 | Occupied | 2 | 57 % | 0.720 m² | Rack XX01, Floor Position = XX1 | 18 | 39 | 12 | 5 | 39 | 4
Room GFDCD1 on Floor Ground Floor in Site GUILDFORD CD1 | 51929.00 W | 180000.00 W | 29 % | XX | 2 | Reserved | 0 | 0 % | 0.000 m²