## Suite Line Capacity
Report generated for: | Room GLWN07 on Floor Ground Floor in Site HILLINGTON
| Quantity | % of all area | Area
Total free sections: | 63/263 | 45 % | 39.913 m²
Total occupied sections: | 200/263 | 55 % | 49.721 m²
Total reserved sections: | 0/263 | 0 % | 0.000 m²
Total Lines Capability |  |  | 89.634 m²
Total Location Capability |  |  | 381.270 m²
Total Location Free Area |  |  | 330.829 m²
Total Location Occupied Area |  |  | 50.441 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Free | 2 | 39 % | 2.242 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack B18, Floor Position = B18 | 0 | 44 | 0 | 0 | 44 | 0
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack B19, Floor Position = B19 | 18 | 44 | 18 | 8 | 44 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack B14, Floor Position = B14 | 32 | 44 | 32 | 27 | 44 | 27
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack A17, Floor Position = A17 | 28 | 44 | 28 | 28 | 44 | 28
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack A10, Floor Position = A10 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack A9, Floor Position = A9 | 33 | 44 | 33 | 33 | 44 | 33
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack A7, Floor Position = A7 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack A8, Floor Position = A8 | 30 | 44 | 30 | 21 | 44 | 21
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | Rack A6, Floor Position = A6 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | ODF CODF A03, Floor Position = A3 | 6 | 47 | 6 | 4 | 47 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | ODF A02, Floor Position = A2 | 12 | 47 | 12 | 7 | 47 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Occupied | 12 | 61 % | 3.464 m² | ODF A01, Floor Position = A1 | 5 | 47 | 5 | 2 | 47 | 2
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | A | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | AA | 4 | Free | 1 | 50 % | 1.601 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | AA | 4 | Occupied | 3 | 50 % | 1.599 m² | Rack AA22, Floor Position = AA22 | 20 | 25 | 15 | 8 | 24 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | AA | 4 | Occupied | 3 | 50 % | 1.599 m² | Rack AA23, Floor Position = AA23 | 17 | 17 | 10 | 3 | 11 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | AA | 4 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Free | 3 | 25 % | 0.840 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack B18, Floor Position = B18 | 0 | 44 | 0 | 0 | 44 | 0
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack B19, Floor Position = B19 | 18 | 44 | 18 | 8 | 44 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | ODF B17, Floor Position = B17 | 17 | 47 | 17 | 7 | 47 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack A10, Floor Position = A10 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack A9, Floor Position = A9 | 33 | 44 | 33 | 33 | 44 | 33
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack A7, Floor Position = A7 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack A8, Floor Position = A8 | 30 | 44 | 30 | 21 | 44 | 21
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack A6, Floor Position = A6 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack B2, Floor Position = B2 | 21 | 44 | 21 | 18 | 44 | 18
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | ODF B04, Floor Position = B4 | 38 | 44 | 38 | 37 | 44 | 37
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack B3, Floor Position = B3 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Occupied | 12 | 75 % | 2.578 m² | Rack B1, Floor Position = B1 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | B | 15 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Free | 2 | 35 % | 3.160 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack CD29, Floor Position = C29 | 9 | 37 | 9 | 5 | 37 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C30, Floor Position = C30 | 4 | 36 | 4 | 1 | 36 | 1
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack CD26, Floor Position = C26 | 12 | 33 | 11 | 6 | 23 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack CD27, Floor Position = C27 | 9 | 37 | 9 | 6 | 37 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C23, Floor Position = C23 | 4 | 42 | 4 | 4 | 42 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack CD25, Floor Position = C25 | 12 | 33 | 11 | 6 | 23 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack CD22, Floor Position = C22 | 4 | 34 | 4 | 4 | 34 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C21, Floor Position = C21 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C11, Floor Position = C11 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C12, Floor Position = C12 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C13, Floor Position = C14 | 9 | 44 | 9 | 3 | 44 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C14, Floor Position = C14 | 21 | 44 | 21 | 15 | 44 | 15
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C9, Floor Position = C9 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C10, Floor Position = C10 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C8, Floor Position = C8 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C7, Floor Position = C7 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C2, Floor Position = C2 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C4, Floor Position = C4 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C5, Floor Position = C5 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Occupied | 20 | 65 % | 5.840 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | C | 22 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Free | 9 | 53 % | 2.880 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C21, Floor Position = C21 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | ODF D13, Floor Position = D13 | 45 | 47 | 45 | 24 | 47 | 24
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | ODF D14, Floor Position = D14 | 45 | 47 | 45 | 24 | 47 | 24
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C12, Floor Position = C12 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C11, Floor Position = C11 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C9, Floor Position = C9 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C10, Floor Position = C10 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C7, Floor Position = C7 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C8, Floor Position = C8 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack D2, Floor Position = D2 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack D4, Floor Position = D4 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack D5, Floor Position = D5 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Occupied | 13 | 47 % | 2.520 m² | Rack C1, Floor Position = C1 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | D | 22 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Free | 2 | 43 % | 4.426 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E30, Floor Position = E30 | 40 | 40 | 40 | 40 | 40 | 40
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E26, Floor Position = F26 | 0 | 47 | 0 | 0 | 47 | 0
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack EF27, Floor Position = E27 | 38 | 23 | 21 | 18 | 8 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E25, Floor Position = F25 | 0 | 47 | 0 | 0 | 47 | 0
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E21, Floor Position = E21 | 18 | 47 | 18 | 12 | 47 | 12
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E22, Floor Position = E22 | 14 | 47 | 14 | 6 | 47 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack EF19, Floor Position = E19 | 17 | 36 | 16 | 8 | 32 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack F16, Floor Position = E16 | 12 | 44 | 12 | 10 | 44 | 10
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E14, Floor Position = E14 | 6 | 44 | 6 | 1 | 44 | 1
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E13, Floor Position = E13 | 19 | 44 | 19 | 16 | 44 | 16
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E12, Floor Position = E12 | 23 | 44 | 23 | 20 | 44 | 20
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E11, Floor Position = E11 | 7 | 44 | 7 | 1 | 44 | 1
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E9, Floor Position = E9 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E10, Floor Position = E10 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E7, Floor Position = E7 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E8, Floor Position = E8 | 30 | 44 | 30 | 29 | 44 | 29
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E6, Floor Position = E6 | 6 | 46 | 6 | 4 | 46 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E2, Floor Position = E2 | 16 | 32 | 13 | 3 | 17 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E3, Floor Position = E3 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E5, Floor Position = E5 | 6 | 44 | 6 | 4 | 44 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Occupied | 21 | 57 % | 5.834 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | E | 23 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Free | 2 | 58 % | 6.543 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E30, Floor Position = E30 | 40 | 40 | 40 | 40 | 40 | 40
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E26, Floor Position = F26 | 0 | 47 | 0 | 0 | 47 | 0
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack EF27, Floor Position = E27 | 38 | 23 | 21 | 18 | 8 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E25, Floor Position = F25 | 0 | 47 | 0 | 0 | 47 | 0
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack F21, Floor Position = F21 | 20 | 47 | 20 | 4 | 47 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack F22, Floor Position = F22 | 11 | 47 | 11 | 4 | 47 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack EF19, Floor Position = E19 | 17 | 36 | 16 | 8 | 32 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack F16, Floor Position = E16 | 12 | 44 | 12 | 10 | 44 | 10
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | ODF F13, Floor Position = F13 | 45 | 47 | 45 | 24 | 47 | 24
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack F14, Floor Position = F14 | 24 | 44 | 24 | 23 | 44 | 23
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | ODF F11, Floor Position = F11 | 19 | 47 | 19 | 10 | 47 | 10
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E9, Floor Position = E9 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E10, Floor Position = E10 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E7, Floor Position = E7 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E8, Floor Position = E8 | 30 | 44 | 30 | 29 | 44 | 29
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E6, Floor Position = E6 | 6 | 46 | 6 | 4 | 46 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E2, Floor Position = E2 | 16 | 32 | 13 | 3 | 17 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack F3, Floor Position = F3 | 32 | 44 | 32 | 32 | 44 | 32
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E5, Floor Position = E5 | 6 | 44 | 6 | 4 | 44 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Occupied | 20 | 42 % | 4.797 m² | Rack E1, Floor Position = E1 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | F | 22 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Free | 7 | 49 % | 3.510 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | ODF G23, Floor Position = G23 | 40 | 47 | 40 | 19 | 47 | 19
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | ODF CODF G25, Floor Position = G25 | 14 | 47 | 14 | 6 | 47 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | ODF G22, Floor Position = G22 | 47 | 47 | 47 | 47 | 47 | 47
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | ODF G21, Floor Position = G21 | 37 | 47 | 37 | 19 | 47 | 19
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G15, Floor Position = G15 | 38 | 44 | 38 | 38 | 44 | 38
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack GH18, Floor Position = G18 | 9 | 46 | 9 | 5 | 46 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G20, Floor Position = G20 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | ODF G19, Floor Position = G19 | 47 | 47 | 47 | 47 | 47 | 47
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G17, Floor Position = G17 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G16, Floor Position = G16 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G13, Floor Position = G13 | 14 | 47 | 14 | 2 | 47 | 2
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G8, Floor Position = G8 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G3, Floor Position = G3 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G4, Floor Position = G4 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G2, Floor Position = G2 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Occupied | 16 | 51 % | 3.693 m² | Rack G1, Floor Position = G1 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | G | 23 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Free | 9 | 40 % | 2.144 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H22, Floor Position = H22 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H21, Floor Position = H21 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack GH18, Floor Position = G18 | 9 | 46 | 9 | 5 | 46 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H20, Floor Position = H20 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H19, Floor Position = H19 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H17, Floor Position = H17 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H16, Floor Position = H16 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H14, Floor Position = H14 | 42 | 44 | 42 | 42 | 44 | 42
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H15, Floor Position = H15 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H13, Floor Position = H13 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | ODF H11, Floor Position = H11 | 45 | 47 | 45 | 27 | 47 | 27
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H12, Floor Position = H12 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H2, Floor Position = H2 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Occupied | 14 | 60 % | 3.256 m² | Rack H1, Floor Position = H1 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | H | 23 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Free | 7 | 48 % | 5.190 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J21, Floor Position = J21 | 28 | 48 | 28 | 28 | 48 | 28
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack K24, Floor Position = K24 | 20 | 47 | 20 | 14 | 47 | 14
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J22, Floor Position = J22 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J20, Floor Position = J20 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J18, Floor Position = J18 | 34 | 42 | 34 | 34 | 42 | 34
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J19, Floor Position = J19 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J16, Floor Position = J16 | 13 | 46 | 13 | 6 | 46 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack K17, Floor Position = J17 | 14 | 22 | 2 | 5 | 18 | 1
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack K15, Floor Position = K15 | 18 | 48 | 18 | 6 | 48 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J13, Floor Position = J13 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack JK09, Floor Position = J9 | 19 | 28 | 6 | 11 | 21 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J/K10, Floor Position = J10 | 20 | 36 | 11 | 8 | 21 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J7, Floor Position = J7 | 32 | 44 | 32 | 26 | 44 | 26
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J8, Floor Position = J8 | 32 | 42 | 32 | 28 | 32 | 28
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J6, Floor Position = J6 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J2, Floor Position = J2 | 14 | 44 | 14 | 8 | 44 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J4, Floor Position = J4 | 11 | 44 | 11 | 7 | 44 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J5, Floor Position = J5 | 10 | 44 | 10 | 7 | 44 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J3, Floor Position = J3 | 13 | 44 | 13 | 7 | 44 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Occupied | 20 | 52 % | 5.610 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | J | 27 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Free | 8 | 49 % | 3.511 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K21, Floor Position = K21 | 12 | 44 | 12 | 9 | 44 | 9
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K24, Floor Position = K24 | 20 | 47 | 20 | 14 | 47 | 14
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K22, Floor Position = K22 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K20, Floor Position = K20 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J19, Floor Position = J19 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K18, Floor Position = K18 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K16, Floor Position = K16 | 24 | 45 | 24 | 10 | 45 | 10
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K17, Floor Position = J17 | 14 | 22 | 2 | 5 | 18 | 1
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack K15, Floor Position = K15 | 18 | 48 | 18 | 6 | 48 | 6
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack JK09, Floor Position = J9 | 19 | 28 | 6 | 11 | 21 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J/K10, Floor Position = J10 | 20 | 36 | 11 | 8 | 21 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J7, Floor Position = J7 | 32 | 44 | 32 | 26 | 44 | 26
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J8, Floor Position = J8 | 32 | 42 | 32 | 28 | 32 | 28
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J6, Floor Position = J6 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J2, Floor Position = J2 | 14 | 44 | 14 | 8 | 44 | 8
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J4, Floor Position = J4 | 11 | 44 | 11 | 7 | 44 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J5, Floor Position = J5 | 10 | 44 | 10 | 7 | 44 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J3, Floor Position = J3 | 13 | 44 | 13 | 7 | 44 | 7
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Occupied | 19 | 51 % | 3.689 m² | Rack J1, Floor Position = J1 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | K | 27 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Free | 5 | 34 % | 1.824 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L21, Floor Position = L21 | 37 | 44 | 37 | 37 | 44 | 37
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L20, Floor Position = L20 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L18, Floor Position = L18 | 10 | 39 | 10 | 5 | 39 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L16, Floor Position = L16 | 27 | 38 | 27 | 13 | 25 | 13
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L17, Floor Position = L17 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L15, Floor Position = L15 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L13, Floor Position = L13 | 23 | 40 | 23 | 9 | 40 | 9
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L14, Floor Position = L14 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L11, Floor Position = L11 | 11 | 40 | 11 | 4 | 40 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L5, Floor Position = L5 | 30 | 30 | 30 | 30 | 30 | 30
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L10, Floor Position = L10 | 40 | 40 | 40 | 40 | 40 | 40
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L9, Floor Position = L9 | 40 | 40 | 40 | 40 | 40 | 40
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L2, Floor Position = L2 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L4, Floor Position = L4 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L3, Floor Position = L3 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Occupied | 16 | 66 % | 3.480 m² | Rack L01, Floor Position = L1 | 30 | 44 | 30 | 16 | 44 | 16
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | L | 21 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Free | 6 | 38 % | 2.043 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L21, Floor Position = L21 | 37 | 44 | 37 | 37 | 44 | 37
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L20, Floor Position = L20 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L18, Floor Position = L18 | 10 | 39 | 10 | 5 | 39 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L16, Floor Position = L16 | 27 | 38 | 27 | 13 | 25 | 13
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L17, Floor Position = L17 | 41 | 44 | 41 | 41 | 44 | 41
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L15, Floor Position = L15 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L13, Floor Position = L13 | 23 | 40 | 23 | 9 | 40 | 9
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L14, Floor Position = L14 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L11, Floor Position = L11 | 11 | 40 | 11 | 4 | 40 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L5, Floor Position = L5 | 30 | 30 | 30 | 30 | 30 | 30
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L10, Floor Position = L10 | 40 | 40 | 40 | 40 | 40 | 40
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | Rack L9, Floor Position = L9 | 40 | 40 | 40 | 40 | 40 | 40
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | ODF M02, Floor Position = M2 | 6 | 47 | 6 | 3 | 47 | 3
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Occupied | 14 | 62 % | 3.360 m² | ODF M01, Floor Position = M1 | 7 | 47 | 7 | 4 | 47 | 4
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | M | 20 | Reserved | 0 | 0 % | 0.000 m²
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | [6 empty] | Rack GLWN07;DC SYS A, Floor Position = Temp Mig | 12 | 46 | 12 | 11 | 25 | 11
Room GLWN07 on Floor Ground Floor in Site HILLINGTON | 240227.55 W | 90000.00 W | 267 % | [6 empty] | Rack GLWN07;DC SYS B, Floor Position = Temp Mig | 12 | 46 | 12 | 11 | 25 | 11