## Suite Line Capacity
Report generated for: | Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP
| Quantity | % of all area | Area
Total free sections: | 119/188 | 65 % | 26.106 m²
Total occupied sections: | 69/188 | 35 % | 13.974 m²
Total reserved sections: | 0/188 | 0 % | 0.000 m²
Total Lines Capability |  |  | 40.080 m²
Total Location Capability |  |  | 225.205 m²
Total Location Free Area |  |  | 210.871 m²
Total Location Occupied Area |  |  | 14.334 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | A | 15 | Free | 14 | 93 % | 2.520 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | A | 15 | Occupied | 1 | 7 % | 0.180 m² | Rack A14, Floor Position = A14 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | A | 15 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | B | 15 | Free | 14 | 93 % | 2.520 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | B | 15 | Occupied | 1 | 7 % | 0.180 m² | Rack A14, Floor Position = A14 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | B | 15 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Free | 8 | 64 % | 1.725 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack C3, Floor Position = C3 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack C5, Floor Position = C5 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack C4, Floor Position = C4 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack C2, Floor Position = C2 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack C1, Floor Position = C1 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | C | 13 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Free | 8 | 64 % | 1.725 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack D3, Floor Position = D3 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack D5, Floor Position = D5 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack D4, Floor Position = D4 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack D2, Floor Position = D2 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Occupied | 5 | 36 % | 0.975 m² | Rack D1, Floor Position = D1 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | D | 13 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Free | 6 | 47 % | 1.238 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E03, Floor Position = E3 | 6 | 38 | 6 | 6 | 35 | 6
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E1, Floor Position = E1 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E2, Floor Position = E2 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E5, Floor Position = E5 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E6, Floor Position = E6 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E4, Floor Position = E4 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Occupied | 8 | 53 % | 1.415 m² | Rack E07, Floor Position = E7 | 24 | 45 | 24 | 22 | 45 | 22
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | E | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Free | 5 | 39 % | 1.086 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack E03, Floor Position = E3 | 6 | 38 | 6 | 6 | 35 | 6
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F1, Floor Position = F1 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack E0, Floor Position = E0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F2, Floor Position = F2 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F5, Floor Position = F5 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F4, Floor Position = F4 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F6, Floor Position = F6 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F08, Floor Position = F8 | 31 | 48 | 31 | 23 | 48 | 23
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Occupied | 9 | 61 % | 1.670 m² | Rack F07, Floor Position = F7 | 11 | 45 | 11 | 4 | 45 | 4
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | F | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Free | 2 | 38 % | 0.995 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | Rack GH06, Floor Position = G6 | 42 | 15 | 15 | 27 | 9 | 9
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | ODF G1, Floor Position = G1 | 4 | 42 | 4 | 4 | 42 | 4
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | ODF G2, Floor Position = G2 | 6 | 42 | 6 | 3 | 42 | 3
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | ODF G11, Floor Position = G11 | 5 | 45 | 5 | 5 | 45 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | Rack G8, Floor Position = G8 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Occupied | 7 | 62 % | 1.620 m² | ODF CODF G10, Floor Position = G10 | 22 | 47 | 22 | 9 | 47 | 9
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | G | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Free | 2 | 38 % | 0.979 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | Rack GH06, Floor Position = G6 | 42 | 15 | 15 | 27 | 9 | 9
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | ODF H1, Floor Position = H1 | 11 | 42 | 11 | 6 | 42 | 6
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | Rack G0, Floor Position = G0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | ODF H2, Floor Position = H2 | 2 | 42 | 2 | 2 | 42 | 2
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | ODF H11, Floor Position = H11 | 12 | 45 | 12 | 8 | 45 | 8
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | Rack H8, Floor Position = H8 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Occupied | 7 | 62 % | 1.602 m² | ODF H10, Floor Position = H10 | 40 | 42 | 40 | 21 | 42 | 21
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | H | 9 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | I | 15 | Free | 14 | 93 % | 2.520 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | I | 15 | Occupied | 1 | 7 % | 0.180 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | I | 15 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | J | 15 | Free | 14 | 93 % | 2.520 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | J | 15 | Occupied | 1 | 7 % | 0.180 m² | Rack J0, Floor Position = J0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | J | 15 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Free | 8 | 60 % | 1.830 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Occupied | 6 | 40 % | 1.208 m² | Rack K3, Floor Position = K3 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Occupied | 6 | 40 % | 1.208 m² | Rack K05, Floor Position = K5 | 13 | 33 | 7 | 5 | 26 | 3
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Occupied | 6 | 40 % | 1.208 m² | Rack K4, Floor Position = K4 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Occupied | 6 | 40 % | 1.208 m² | Rack K1, Floor Position = K1 | 40 | 44 | 39 | 33 | 38 | 33
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Occupied | 6 | 40 % | 1.208 m² | Rack K02, Floor Position = K2 | 32 | 47 | 32 | 16 | 47 | 16
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Occupied | 6 | 40 % | 1.208 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | K | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Free | 6 | 44 % | 1.328 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack K3, Floor Position = K3 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack K05, Floor Position = K5 | 13 | 33 | 7 | 5 | 26 | 3
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack L4, Floor Position = L4 | 42 | 42 | 42 | 42 | 42 | 42
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack K1, Floor Position = K1 | 40 | 44 | 39 | 33 | 38 | 33
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack K02, Floor Position = K2 | 32 | 47 | 32 | 16 | 47 | 16
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack K0, Floor Position = K0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack KL07, Floor Position = L07 | 9 | 38 | 8 | 2 | 38 | 2
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Occupied | 8 | 56 % | 1.710 m² | Rack KL6, Floor Position = K6 | 10 | 39 | 9 | 10 | 32 | 7
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | L | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Free | 9 | 78 % | 2.800 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Occupied | 5 | 22 % | 0.800 m² | Rack MN03, Floor Position = M3 | 18 | 43 | 16 | 9 | 43 | 9
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Occupied | 5 | 22 % | 0.800 m² | Rack NM04, Floor Position = M4 | 43 | 5 | 5 | 31 | 5 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Occupied | 5 | 22 % | 0.800 m² | Rack M1, Floor Position = M1 | 38 | 48 | 38 | 29 | 48 | 29
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Occupied | 5 | 22 % | 0.800 m² | Rack M0, Floor Position = M0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Occupied | 5 | 22 % | 0.800 m² | Rack M2, Floor Position = M2 | 17 | 46 | 16 | 9 | 38 | 8
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | M | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Free | 9 | 64 % | 2.320 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Occupied | 5 | 36 % | 1.280 m² | Rack MN03, Floor Position = M3 | 18 | 43 | 16 | 9 | 43 | 9
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Occupied | 5 | 36 % | 1.280 m² | Rack M1, Floor Position = M1 | 38 | 48 | 38 | 29 | 48 | 29
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Occupied | 5 | 36 % | 1.280 m² | Rack M2, Floor Position = M2 | 17 | 46 | 16 | 9 | 38 | 8
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Occupied | 5 | 36 % | 1.280 m² | Rack M0, Floor Position = M0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Occupied | 5 | 36 % | 1.280 m² | Rack NM04, Floor Position = M4 | 43 | 5 | 5 | 31 | 5 | 5
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | N | 14 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTO1 on Floor Ground Floor in Site GLASGOW POP | 36121.00 W | 22500.00 W | 161 % | [6 empty] | Rack GLWTO1;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15