## Suite Line Capacity
Report generated for: | Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP
| Quantity | % of all area | Area
Total free sections: | 5/174 | 26 % | 13.063 m²
Total occupied sections: | 169/174 | 74 % | 38.133 m²
Total reserved sections: | 0/174 | 0 % | 0.000 m²
Total Lines Capability |  |  | 51.196 m²
Total Location Capability |  |  | 208.080 m²
Total Location Free Area |  |  | 169.587 m²
Total Location Occupied Area |  |  | 38.493 m²
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line | [5 empty] | Rack description | Free rack units |  |  | Max free space in rack units
Location | Power Consumption | Cooling Capability | Utilized Cooling Capability [%] | Suite Line Name | Number of Sections |  | Number of Sections | % of all area | Area | Rack description | front | back | straight through | front | back | straight through
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Free | 0 | 5 % | 0.254 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A5, Floor Position = A5 | 42 | 47 | 42 | 42 | 47 | 42
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | ODF A55, Floor Position = A55 | 44 | 46 | 44 | 23 | 46 | 23
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | ODF A56, Floor Position = A56 | 25 | 46 | 25 | 14 | 46 | 14
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A3, Floor Position = A3 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A2, Floor Position = A2 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A4, Floor Position = A4 | 50 | 50 | 50 | 50 | 50 | 50
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A1, Floor Position = A1 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A0, Floor Position = A0 | 4 | 47 | 4 | 3 | 47 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A11, Floor Position = A11 | 21 | 50 | 21 | 15 | 50 | 15
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A12, Floor Position = A12 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A13, Floor Position = A13 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A10, Floor Position = A10 | 45 | 50 | 45 | 45 | 50 | 45
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A9, Floor Position = A9 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A7, Floor Position = A7 | 45 | 50 | 45 | 45 | 50 | 45
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack B6, Floor Position = A6 | 12 | 50 | 12 | 11 | 50 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A8, Floor Position = A8 | 34 | 50 | 34 | 29 | 50 | 29
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A6a, Floor Position = A6a | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | ODF A16, Floor Position = A16 | 1 | 42 | 1 | 1 | 42 | 1
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | ODF A17, Floor Position = A17 | 1 | 42 | 1 | 1 | 42 | 1
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A14, Floor Position = A14 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Occupied | 21 | 95 % | 4.448 m² | Rack A15, Floor Position = A15 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | A | 21 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Free | 0 | 5 % | 0.254 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B5, Floor Position = B5 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B55, Floor Position = B55 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | ODF B56, Floor Position = B56 | 38 | 47 | 38 | 21 | 47 | 21
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B3, Floor Position = B3 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B2, Floor Position = B2 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B04, Floor Position = B4 | 39 | 44 | 39 | 39 | 44 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A1, Floor Position = A1 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B0, Floor Position = B0 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A11, Floor Position = A11 | 21 | 50 | 21 | 15 | 50 | 15
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A12, Floor Position = A12 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A13, Floor Position = A13 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A10, Floor Position = A10 | 45 | 50 | 45 | 45 | 50 | 45
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B9, Floor Position = B9 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A7, Floor Position = A7 | 45 | 50 | 45 | 45 | 50 | 45
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B6, Floor Position = A6 | 12 | 50 | 12 | 11 | 50 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A8, Floor Position = A8 | 34 | 50 | 34 | 29 | 50 | 29
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack B6a, Floor Position = B6a | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | ODF B16, Floor Position = B16 | 1 | 47 | 1 | 1 | 47 | 1
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | ODF B17, Floor Position = B17 | 1 | 47 | 1 | 1 | 47 | 1
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A14, Floor Position = A14 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Occupied | 21 | 95 % | 4.452 m² | Rack A15, Floor Position = A15 | 46 | 50 | 46 | 46 | 50 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | B | 21 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Free | 0 | 43 % | 4.015 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C4, Floor Position = C4 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C1, Floor Position = C1 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C2, Floor Position = C2 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C3, Floor Position = C3 | 41 | 45 | 38 | 20 | 43 | 20
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C5, Floor Position = C5 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C6, Floor Position = C6 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C7, Floor Position = C7 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C0, Floor Position = C0 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C0a, Floor Position = C0a | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C11, Floor Position = C11 | 32 | 48 | 32 | 22 | 48 | 22
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C12, Floor Position = C12 | 43 | 48 | 43 | 43 | 48 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C13, Floor Position = C13 | 18 | 47 | 18 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C14, Floor Position = C14 | 20 | 48 | 20 | 5 | 48 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C15, Floor Position = C15 | 10 | 46 | 10 | 3 | 38 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C16, Floor Position = C16 | 25 | 48 | 25 | 11 | 48 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C17, Floor Position = C17 | 48 | 48 | 48 | 48 | 48 | 48
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C8, Floor Position = C8 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C9, Floor Position = C9 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C10, Floor Position = C10 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C11a, Floor Position = C11a | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C20, Floor Position = C20 | 15 | 37 | 6 | 13 | 27 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C18, Floor Position = C18 | 46 | 48 | 46 | 46 | 48 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C19, Floor Position = C19 | 43 | 48 | 43 | 43 | 48 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C22, Floor Position = C22 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack D22, Floor Position = D22 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Occupied | 25 | 57 % | 5.253 m² | Rack C21, Floor Position = C21 | 17 | 41 | 14 | 12 | 32 | 7
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | C | 25 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Free | 0 | 28 % | 1.743 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C4, Floor Position = C4 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack D2, Floor Position = D2 | 45 | 50 | 45 | 45 | 50 | 45
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack D1, Floor Position = D1 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C3, Floor Position = C3 | 41 | 45 | 38 | 20 | 43 | 20
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C6, Floor Position = C6 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C5, Floor Position = C5 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C7, Floor Position = C7 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack D0, Floor Position = D0 | 44 | 44 | 44 | 44 | 44 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack D0a, Floor Position = D0a | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C11, Floor Position = C11 | 32 | 48 | 32 | 22 | 48 | 22
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C13, Floor Position = C13 | 18 | 47 | 18 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C12, Floor Position = C12 | 43 | 48 | 43 | 43 | 48 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C14, Floor Position = C14 | 20 | 48 | 20 | 5 | 48 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C15, Floor Position = C15 | 10 | 46 | 10 | 3 | 38 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C16, Floor Position = C16 | 25 | 48 | 25 | 11 | 48 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C17, Floor Position = C17 | 48 | 48 | 48 | 48 | 48 | 48
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C8, Floor Position = C8 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C9, Floor Position = C9 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C10, Floor Position = C10 | 47 | 50 | 47 | 47 | 50 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C11a, Floor Position = C11a | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C20, Floor Position = C20 | 15 | 37 | 6 | 13 | 27 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C19, Floor Position = C19 | 43 | 48 | 43 | 43 | 48 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C18, Floor Position = C18 | 46 | 48 | 46 | 46 | 48 | 46
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack C21, Floor Position = C21 | 17 | 41 | 14 | 12 | 32 | 7
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Occupied | 25 | 72 % | 4.448 m² | Rack D22, Floor Position = D22 | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | D | 25 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Free | 0 | 33 % | 2.760 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E1, Floor Position = E1 | 47 | 47 | 47 | 47 | 47 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E6, Floor Position = E6 | 10 | 47 | 10 | 3 | 47 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E5, Floor Position = E5 | 15 | 47 | 15 | 7 | 47 | 7
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E07, Floor Position = E7 | 8 | 47 | 8 | 2 | 47 | 2
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E2, Floor Position = E2 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E3, Floor Position = E3 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E04, Floor Position = E4 | 25 | 47 | 25 | 7 | 47 | 7
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | ODF CODF E09, Floor Position = E9 | 16 | 47 | 16 | 11 | 47 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E8, Floor Position = E8 | 47 | 47 | 47 | 47 | 47 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E7a, Floor Position = E7a | 12 | 47 | 12 | 4 | 47 | 4
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F7b, Floor Position = F7b | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F12, Floor Position = F12 | 21 | 34 | 16 | 5 | 22 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F13, Floor Position = F13 | 21 | 35 | 17 | 5 | 22 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F14, Floor Position = F14 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F15, Floor Position = F15 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | ODF E10, Floor Position = E10 | 2 | 47 | 2 | 1 | 47 | 1
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack EF11, Floor Position = F11 | 30 | 18 | 11 | 13 | 6 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack E21, Floor Position = F21 | 26 | 21 | 5 | 16 | 17 | 2
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F18, Floor Position = F18 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F19, Floor Position = F19 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F20, Floor Position = F20 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F16, Floor Position = F16 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | Rack F17, Floor Position = F17 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Occupied | 24 | 67 % | 5.690 m² | ODF F22, Floor Position = F22 | 19 | 47 | 19 | 11 | 47 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | E | 24 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Free | 0 | 7 % | 0.360 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F1, Floor Position = F1 | 47 | 47 | 47 | 47 | 47 | 47
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F6, Floor Position = F6 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F5, Floor Position = F5 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F7, Floor Position = F7 | 24 | 44 | 24 | 20 | 44 | 20
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F3, Floor Position = F3 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F2, Floor Position = F2 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F4, Floor Position = F4 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F09, Floor Position = F9 | 12 | 46 | 12 | 4 | 46 | 4
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F8, Floor Position = F8 | 50 | 50 | 50 | 50 | 50 | 50
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F7a, Floor Position = F7a | 5 | 44 | 5 | 2 | 44 | 2
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F7b, Floor Position = F7b | 5 | 47 | 5 | 5 | 47 | 5
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F13, Floor Position = F13 | 21 | 35 | 17 | 5 | 22 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F12, Floor Position = F12 | 21 | 34 | 16 | 5 | 22 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F15, Floor Position = F15 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F14, Floor Position = F14 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | ODF F10, Floor Position = F10 | 1 | 47 | 1 | 1 | 47 | 1
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack EF11, Floor Position = F11 | 30 | 18 | 11 | 13 | 6 | 3
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack E21, Floor Position = F21 | 26 | 21 | 5 | 16 | 17 | 2
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F18, Floor Position = F18 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F20, Floor Position = F20 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F19, Floor Position = F19 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F16, Floor Position = F16 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | Rack F17, Floor Position = F17 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Occupied | 24 | 93 % | 4.710 m² | ODF F22, Floor Position = F22 | 19 | 47 | 19 | 11 | 47 | 11
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | F | 24 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Free | 2 | 18 % | 0.666 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack GH01A, Floor Position = G1a | 16 | 48 | 16 | 7 | 48 | 7
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack GH01E, Floor Position = G1e | 21 | 38 | 18 | 18 | 34 | 18
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G01C, Floor Position = G1c | 26 | 48 | 26 | 26 | 48 | 26
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G3, Floor Position = G3 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack GH01(F), Floor Position = G1 | 0 | 37 | 0 | 0 | 37 | 0
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G4, Floor Position = G4 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G6, Floor Position = G6 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G7, Floor Position = G7 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G5, Floor Position = G5 | 24 | 42 | 24 | 14 | 42 | 14
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G9, Floor Position = G9 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G10, Floor Position = G10 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G8, Floor Position = G8 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G13, Floor Position = G13 | 15 | 42 | 15 | 12 | 42 | 12
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Occupied | 14 | 82 % | 2.957 m² | Rack G12, Floor Position = G12 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | G | 16 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Free | 2 | 30 % | 2.555 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack GH01A, Floor Position = G1a | 16 | 48 | 16 | 7 | 48 | 7
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack GH01E, Floor Position = G1e | 21 | 38 | 18 | 18 | 34 | 18
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack H01C, Floor Position = H1c | 31 | 48 | 31 | 28 | 48 | 28
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack GH01(F), Floor Position = G1 | 0 | 37 | 0 | 0 | 37 | 0
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G3, Floor Position = G3 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G4, Floor Position = G4 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G5, Floor Position = G5 | 24 | 42 | 24 | 14 | 42 | 14
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G6, Floor Position = G6 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G7, Floor Position = G7 | 43 | 46 | 43 | 43 | 46 | 43
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G10, Floor Position = G10 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G8, Floor Position = G8 | 44 | 47 | 44 | 44 | 47 | 44
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G9, Floor Position = G9 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G12, Floor Position = G12 | 39 | 42 | 39 | 39 | 42 | 39
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Occupied | 14 | 70 % | 5.823 m² | Rack G13, Floor Position = G13 | 15 | 42 | 15 | 12 | 42 | 12
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | H | 16 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | J | 2 | Free | 1 | 56 % | 0.456 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | J | 2 | Occupied | 1 | 44 % | 0.353 m² | Rack J2, Floor Position = J2 | 29 | 32 | 29 | 29 | 32 | 29
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | J | 2 | Reserved | 0 | 0 % | 0.000 m²
Room GLWTW1 on Floor Ground Floor in Site NORTH WALLACE ST TAP | 104557.00 W | 63000.00 W | 166 % | [6 empty] | Rack GLWTW1;DC SYS01, Floor Position = Temp Mig | 16 | 46 | 16 | 15 | 25 | 15